Open Tender Notification

For

Rate Contract for DTR (Dry and Oil) Refurbishment at CESC, Kolkata

Tender Enquiry No.: PUR-52322 Dtd 13.10.2025,

Due Date for Bid Submission: 04/11/25 [18:00 Hrs.]

CESC Limited

Materials Department, 3rd Floor, 97 Park Street,

Kolkata, West Bengal - 700016

Contents

1.0	Event Information	4

1.1	Scope of work	4

1.3	Calendar of Events	5

2	Pre- Qualification Criteria	6

3	Evaluation Criteria	7

3.3	Price Basis	7

4	Contact Information	7

5	Submission of Bid Documents	8

5.3	Bid Submission	8

5.3.1	First Part: EMD	8

5.3.2	Second Part : Techno-Commercial Bid	9

5.3.3	Third Part: Price Bid	10

5.4	Signing of Bid Documents	10

5.5	Mandatory documents required along with the Bid	11

5.6	Deviation from Tender	11

6	Bid Related Details	11

6.3	Bid Prices	11

6.4	Bid Currencies	12

6.5	Period of Validity of Bids	12

6.6	Alternative Bids	12

6.7	Modifications and Withdrawal of Bids	12

7	Bid Opening & Evaluation	12

7.3	Bid Confidentiality	12

7.4	Bid Responsiveness:	12

7.4.1	Techno Commercial Clarifications	13

7.4.2	Right of Acceptance/Rejection	13

7.5	Price Bid Opening	13

8	Market Integrity	13

9	Supplier Confidentiality	14

10	Reverse Auctions	14

11	Award Decision	14

12	Order of Preference / Contradiction	14

13	Post Award Contract Administration	14

13.1 Special Conditions of Contract	14

13.2	Drawing Submission and Approval	17

13.3	Payment Terms	Error! Bookmark not defined.

14	Ethics	17

15	Specification and standards	17

16	General Condition of Contract	17

17	Safety Policy and Safety Terms & Conditions	17

ANNEXURE-I : Price Schedule (Sample Indictive)	18

ANNEXURE-II : Technical Specification	18

ANNEXURE III : Schedule of Deviations	20

ANNEXURE IV : Schedule of Commercial Specifications	21

ANNEXURE V : Checklist of all the documents to be submitted with the Bid	22

ANNEXURE VI : General Conditions of Contract	23

ANNEXURE VII : Safety Policy and Safety Terms & Conditions	23

ANNEXURE VIII : Scope of Work and SLA ---------------------------------------------------------------------------22

CESC Limited

CESC Limited (CESC), a power utility in private sector and a flagship company under RP-Sanjiv Goenka Group, is engaged in generation and distribution of electricity in and around Kolkata & Howrah to a consumer base of 38 lakh spread over an area of 567 sq km.

- Event Information

Bids are invited in Two Bid system from interested Bidders to establish a Rate Contract with two years validity as defined below:

| Tender Enquiry No. | Work Description | EMD (Rs.) * | Tender Fee inclusive of GST (Rs.) ** | Last Date and Time for Bid Submission |
| --- | --- | --- | --- | --- |
| PUR-52322 dtd 13.10.2025 | Rate Contract for Repair and Refurbishment of Distribution Transformer | NA | NA | 04/11/25 18:00 Hrs |

  - Scope of work

Bids are invited from interested Bidders to award Rate Contract (RC) for Repair and Refurbishment of Distribution Transformer with two years validity as mentioned below:

| Sl. No. | Item Description | UOM | Quantity |
| --- | --- | --- | --- |
| 1 | 315 kVA CU Wound Oil type DTR | EA | As per Requirement |
| 2 | 400 kVA CU Wound Oil type DTR | EA | As per Requirement |
| 3 | 400 kVA CU Wound Dry type DTR | EA | As per Requirement |
| 4 | 500 kVA CU Wound Dry type DTR | EA | As per Requirement |

Detailed scope as stipulated elsewhere in this tender document.

1.2 Availability of Tender Documents

The bidder can get primary information about the tender from the Newspaper advertisement. Tender documents can be downloaded from CESCs’ tender website: - www.cesc.co.in

To receive online bidding link, eligible and Interested bidder shall send an email to Package Owner (Ref. Clause 4.0 for details) attaching duly signed and stamped letter on Bidder's letterhead, with following details, expressing their intent to bid against above tender in following format:

| Sr No | Description | Bidder’s Response |
| --- | --- | --- |
| i) | Tender Enquiry No. |  |
| ii) | Description of materials / Works Tendered |  |
| iii) | Name and address of the bidding company |  |
| iv) | Name of the authorized contact person |  |
| v) | Contact No. of authorized person |  |
| vi) | E-mail Id |  |
| vii) | GST No. of bidder |  |
| viii) | MSME Certificate (if applicable) |  |

E-mail has to be sent to <chandra.sahoo@rpsg,in> with copy to <ushnish.basu@rpsg.in>

  - Calendar of Events

| (a) | Date of sale/ availability of tender documents from Website | 13.10.2025 |
| --- | --- | --- |
| (b) | Due Date of receipt of pre-bid queries by e-mail, if any | 18.10.2025 |
| (c) | Due Date of Posting Consolidated replies to all the pre-bid queries as received | 29.10.2025 |
| (d) | Due date and time of receipt of Bids | 04.11.2025 |

Note: In the event of last date specified for submission of bids and date of opening of bids is declared as a closed holiday for CESC’s office, the last date of submission of bids and date of opening of bids will be the day following working day at appointed times.

- Pre- Qualification Criteria

Technical Qualification Criteria:

- Bidder should have own transformer repairing workshop. An undertaking should be submitted in this regard.

- Bidder should have repaired at least 10 Nos. of minimum 250kVA, 11/0.4kV and above rating Oil type or Dry Type Distribution Transformer during the last 3 years. Copy of work order/completion certificate to be submitted in this regard.

- Bidder should have facilities to carry out all routine and acceptance test as per CESC technical specification & IS 1180 part 1. Undertaking in this regard should be submitted by Bidder.

Note: In case of Bidder not registered with CESC, factory inspection and evaluation shall be carried out to ascertain bidder’s capability and quality procedure. However, CESC reserves right to carry out factory inspection and evaluation for any bidder prior to technical qualification evaluation.

- Bidder should have performance certificates from at least 2 reputed companies for similar nature of work or higher rating of work experience. The work against these issued certificates should be completed in last five years from the date of bid submission. Performance certificate to be submitted in this regard.

Note: In case a Bidder/OEM has a previous association with CESC or RPSG Group Company for similar product or service, the performance feedback for that bidder by CESC or RPSG Group Company shall only be considered irrespective of performance certificate issued by any third organization.

Financial Qualification Criteria:

- Bidder should have average annual turnover of Rs. 5 Crores in any of the best three financial years from (FY 21-22, FY 22-23, FY 23-24 & FY 24-25). Audited balance sheet, profit and loss account and auditors report from the statutory auditors of the company required).

- Bidder must submit an undertaking confirming that they have not been blacklisted or debarred by any Central or State Government department, Electricity Utility, or PSU.

- Bidder must submit an undertaking confirming that no proceedings are pending against them under the Insolvency and Bankruptcy Code, 2016 (IBC).

- Bidder must submit an undertaking stating that no litigation is pending with CESC or its group/associate companies.

- Bidder must have a valid PAN No., GST Registration Number, in addition to other statutory compliances. The bidder must submit an undertaking that the bidder shall comply with all the statuary compliances as per the laws/rules etc. before the start of the supply/work. In case of MSME bidder, the bidder must submit a copy of MSME Certificate.

- Evaluation Criteria

- The bids will be evaluated technically and on qualifying criteria of tender terms and conditions.

- The bids will be evaluated commercially based on the overall all-inclusive lowest cost on the BoQ basis for each individual transformer rating, as calculated in the Schedule of Items [Annexure I]

NOTE: In case a new bidder is not registered with CESC, factory inspection and evaluation shall be carried out to ascertain bidder’s manufacturing capability and quality procedures. However, CESC reserves the right to carry out factory inspection and evaluation for any bidder prior to technical qualification.

In case a bidder is found as Disqualified in the factory evaluation, their bid shall not be evaluated any further and shall be summarily rejected. The decision of CESC shall be final and binding on the bidder in this regard.

Based on adverse experiences of RPSG group companies with BA, CESC reserves the right to disqualify the bidders during techno - commercial evaluation of the bid.

  - Price Basis

Prices quoted for various parts / components used for repair and refurbishment of the transformers would be FIRM and FOR destination basis anywhere in CESC except HV/LV Leg Coils.  The prices shall be valid till the completion of the contract.

Price variation will be as per below mentioned formula with base date i.e. 1st day of the previous month of floating of this tender enquiry. The price variation shall only be allowed upto the specified delivery period only. The bidder is required to quote prices with taxes separately.

The price variation of transformer oil and leg coils shall be governed as under:

For Copper wound

P = P0/100 (15 + 85 x PE/PE0)

P0 = Base price of HV/LV leg coils provided in the contract.

PE = Prices of ISS Grade Copper Bar as per IEEMA, one month prior to the due date of delivery of transformers.

PE0 = Prices of ISS Grade Copper bar as per IEEMA with base date i.e. 1st day of the previous month of floating of this tender enquiry, whichever is lower.

- Contact Information

All the bidders are requested to send their pre-bid queries (if any) against this tender through e-mail within the stipulated timelines. The consolidated reply to all the queries received shall be posted on website by the stipulated timelines as detailed in calendar of events.

Communication Details:

Package Owner:

Name:			Chandra Sekhar Sahoo

Contact No.:	 7894441407

E-Mail ID:		Chandra.sahoo@rpsg.in

DGM: Materials

Name:	Ushnish Basu

Contact No: 9830913143

E-Mail ID:		Ushnish.basu@rpsg.in

- Submission of Bid Documents

  - Bid Submission

Bidders are requested to submit their offer in line with this Tender document. All future correspondence regarding the tender, bid submission, bid submission date extension, Pre-bid query etc. shall be through CESC tender website/e-mail/E-procurement portal.

Bids shall be submitted in three parts:

    - First Part: EMD

EMD as applicable shall be submitted. The EMD shall be valid for 210 days from the due date of bid submission in the form of Bank Guarantee / Bank Draft / Bankers Pay Order (issued from a Scheduled Bank) online NEFT/ RTGS transfer favoring ‘CESC Limited’ payable at Kolkata. The EMD BG has to be strictly in the format as mentioned in General Condition of Contract, failing which it shall not be accepted by CESC and the bid as submitted shall be liable for rejection. A separate non-refundable tender fee of stipulated amount also needs to be transferred online through NEFT/ RTGS in case the tender document is downloaded from our website.

CESC Bank Details for transferring Tender Fee and EMD is as below:

Account Name:

Bank Name

Bank Account No.:

IFSC Code:

Note- EMD is preferred in form of Bank Guarantee and to be delivered at the following address. However, in view of present situation if Bidder is finding it difficult to submit BG for EMD amount, they can do online transfer of EMD amount in the above-mentioned Account and submit proof of the same as part of Bid Submission.

-In such case, Tender Fee and EMD should be strictly 2 separate transactions else bids shall be rejected.

-Return of EMD from Bank Account is non-standard practice and the same may take more time than return of EMD BG.

EMD Original Hard Copy shall be delivered at the following address in Envelope clearly indicating Tender Reference/ Enquiry Number, Name of Tender and Bidder Name

“EMD (Earnest Money Deposit)”

“RC for repair and Refurbishment of Distribution Transformer at CESC, Kolkata”

To,

Tender Owner Name & Contact No

CESC Limited

Materials Department, 3rd Floor, 97 Park Street,

Kolkata, West Bengal - 700016

The bidder shall furnish, as part of its bid, an EMD amounting as specified in the tender. The EMD is required to protect CESC against the risk of bidder’s conduct which would warrant forfeiture.

The EMD shall be denominated in any of the following form:

- Bank Guarantee in favor of CESC Limited payable at Kolkata.

- Online transfer/DD of requisite amount.

- Bank Guarantee valid for 210 days after due date of submission.

Ref. GCC for Format of Bank Guarantee

The EMD shall be forfeited in case:

- The bidder withdraws its bid during the period of specified bid validity.

Or

- The successful Bidder does not

- accept the Purchase Order, or

- furnish the required Performance Security Bank Guarantee

    - Second Part: Techno-Commercial Bid

Techno-Commercial bid shall contain the following documents. Absence of any of these may attract bid rejection:

- Index Stating Document name & Page No./Document No. in bid. As illustrated below:

| Sr No | Document | Page No/Document No |
| --- | --- | --- |
| 1 | Type test Reports | 3 |
| 2 | Schedule of Deviations | 8 |
| 3 | … | … |

- Requisite Documents for compliance to Qualification Criteria mentioned in Clause 2.0 and clause no. 1.5.

- Type Test Certificate* of same or higher rating.

- Acceptance of Specification as per Annexure II.

- Duly signed and stamped ‘No Deviation Certificate’ as per Annexure III on bidder’s letter head.

- Duly signed and stamped ‘No Deviation of Schedule of Commercial Specifications’ as per Annexure IV on bidder’s letter head.

- Duly filled in Annexure V and VI.

- Proper authorization letter / Power of Attorney to sign the tender on the behalf of bidder.

- Copy of PAN, GST registration (In case any of these documents is not available with the bidder, same to be explicitly mentioned in the ‘Schedule of Deviations’)

*The type tests specified in technical specifications should have been carried out within five years (unless otherwise explicitly stated) prior to the date of opening of technical bids and test reports are to be submitted along with the bids. If type tests carried out are not within the five years prior to the date of bidding, the bidder will arrange to carry out type tests specified, at his cost. The decision to accept/ reject such bids rests with CESC.

The technical bid shall be properly indexed and is to be submitted through E-mail to Chandra.sahoo@rpsg.in marked cc: Ushnish.basu@rpsg.in.   Hard Copy of Technical Bids need not be submitted unless specifically asked for.

    - Third Part: Price Bid

Price Bid shall contain only the price details and strictly in format as mentioned in Annexure I along with explicit break up of basic prices and Taxes & duties etc. In case any discrepancy is observed between the item description stated in Schedule of Items mentioned in the tender and the price bid submitted by the bidder, the item description as mentioned in the tender document (to the extent modified through Corrigendum issued if any) shall prevail. The price bids containing any deviations/conditions shall be liable to be rejected.

Price Bids have to be mandatorily submitted only through e-procurement portal of CESC. Bids submitted through any other form/ route shall not be admissible and may be liable for rejection. Separate link will be share to your registered mail id. Hard copy of Price Bid shall not be submitted.

The Bid prepared by the Bidder, and all correspondence and documents relating to the Bid exchanged by the Bidder and CESC, shall be written in the English Language. Any printed literature furnished by the Bidder may be written in another Language, provided that this literature is accompanied by an English translation, in which case, for purposes of interpretation of the Bid, the English translation shall govern.

  - Signing of Bid Documents

The bid must contain the name, residence and place of business of the person or persons making the bid and must be signed and sealed by the Bidder with his usual signature. The names of all persons signing should also be typed or printed below the signature.

The Bid being submitted must be signed by a person holding a Power of Attorney authorizing him to do so, certified copies of which shall be enclosed.

The Bid submitted on behalf of companies registered with the Indian Companies Act, for the time being in force, shall be signed by persons duly authorized to submit the Bid on behalf of the Company and shall be accompanied by certified true copies of the resolutions, extracts of Articles of Association, special or general Power of Attorney etc. to show clearly the title, authority and designation of persons signing the Bid on behalf of the Company. Satisfactory evidence of authority of the person signing on behalf of the Bidder shall be furnished with bid.

A bid by a person who affixes to his signature the word ‘President’, ‘Managing Director’, ‘Secretary’, ‘Agent’ or other designation without disclosing his principal will be rejected.

The Bidder’s name stated on the Proposal shall be the exact legal name of the firm.

  - Mandatory documents required along with the Bid

    - EMD of requisite value and validity

    - Tender Fee.

    - Requisite Documents for compliance to Qualification Criteria mentioned in Clause 1.7.

    - Acceptance of Specification, drawing with filled in GTP as per Annexure II.

    - Duly signed and stamped ‘Schedule of Deviations’ as per Annexure III on bidder’s letter head.

    - Duly signed and stamped ‘Schedule of Commercial Specifications’ as per Annexure IV on bidder’s letter head.

    - Duly filled in Annexure V and VI.

    - Proper authorization letter/ Power of Attorney to sign the tender on the behalf of bidder.

    - Copy of PAN, GST registration (In case any of these documents is not available with the bidder, same to be explicitly mentioned in the ‘Schedule of Deviations’)

Please note that in absence of any of the above documents (as applicable), the bid submitted by a bidder shall be liable for rejection.

  - Deviation from Tender

Normally, the deviations to tender terms are not admissible and the bids with deviation are liable for rejection. Hence, the bidders are advised to refrain from taking any deviations on this Tender. Still in case of any deviations, all such deviations shall be set out by the Bidders, clause by clause in the ‘Annexure III - Schedule of Deviations’ and same shall be submitted as a part of the Technical Bid.

- Bid Related Details

  - Bid Prices

Bidders need to quote for all items as per the Price schedule attached in Annexure I.  The bidder shall complete the appropriate Price Schedules included herein, stating the Unit Price for each item & total price with taxes, duties & freight up to destination at various CESCs’ sites. The all-inclusive prices offered shall be inclusive of all costs –Insurance, Transport, duties, taxes, levies paid or payable etc. during the execution of the supply/ work. Applicable GST to be specified clearly.

The quantity breaks up shown else-where other than Price Schedule may tentative. The bidder shall ascertain himself regarding material/service required for completeness of the entire work. Any items not indicated in the price schedule but which are required to complete the job as per the Technical Specifications/ Scope of Work/ SLA mentioned in the tender, shall be deemed to be included in prices quoted.

  - Bid Currencies

Prices shall be quoted in Indian Rupees Only unless otherwise stated explicitly.

  - Period of Validity of Bids

Bids shall remain valid for 180 days from the due date of submission of the bid.

Notwithstanding clause above, CESC may solicit the Bidder’s consent to an extension of the Period of Bid Validity. The request and responses thereto shall be made in writing.

  - Alternative Bids

Bidders shall submit Bids, which comply with the Bidding documents. Alternative bids will not be considered. The attention of Bidders is drawn to the provisions regarding the rejection of Bids in the terms and conditions, which are not substantially responsive to the requirements of the bidding documents.

  - Modifications and Withdrawal of Bids

The bidder is not allowed to modify or withdraw its bid after the Bid’s submission. The EMD as submitted along with the bid shall be liable for forfeiture in such event.

- Bid Opening & Evaluation

  - Bid Confidentiality

Information relating to the examination, clarification, evaluation and comparison of Bids and recommendations for the award of a contract shall not be disclosed to Bidders or any other persons not officially concerned with such process. Any effort by a Bidder to influence CESC in processing of Bids or award decisions may result in rejection of the Bidder's Bid.

  - Bid Responsiveness:

CESC will examine the Bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the Bids are in order & format as detailed elsewhere in this document. CESC may ask for submission of original documents in order to verify the documents submitted in support of qualification criteria.

Arithmetical errors will be rectified on the following basis: If there is a discrepancy between the unit price and the total price per item that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price per item will be corrected. If there is a discrepancy between the Total Amount and the sum of the total price per item, the sum of the total price per item shall prevail and the Total Amount will be corrected.

Prior to the detailed evaluation, CESC will determine the substantial responsiveness of each Bid to the Bidding Documents including production capability and acceptable quality of the Goods offered. A substantially responsive Bid is one, which conforms to all the terms and conditions of the Bidding Documents without material deviation. CESC reserves the right to reject non-responsive bids.

    - Techno Commercial Clarifications

Bidders need to ensure that the bids submitted by them are complete in all respects. To assist in the examination, evaluation and comparison of Bids, CESC may at its discretion, ask the Bidder for a clarification on its Bid for any deviations with respect to specifications and attempt will be made to bring all bids on a common footing. Any such clarification as sought shall have to be responded to bidder within two working days, post which the bids shall be liable to be rejected. All responses to requests for clarification shall be in writing and no change in the price or substance of the Bid shall be sought, offered or permitted owing to any clarifications sought.

    - Right of Acceptance/Rejection

Bids are liable for rejection in absence of following documents:

- EMD of requisite value and validity.

- Tender fee of requisite value.

- Price Bid as per the Price Schedule mentioned in Annexure I (BOQ)

- Necessary documents against compliance to Qualification Requirements mentioned in Clause 2.0 of this Tender Document.

- Filled in Schedule of Deviations as per Annexure III.

- Filled in Schedule of Commercial Specifications as per Annexure IV.

- Signed and filled in Specification and GTP as per Annexure II.

- Duly filled and signed Annexure V and VI.

- Receipt of Bid within the due date and time.

CESC reserves the right to accept/reject any or all the bids without assigning any reason thereof.

  - Price Bid Opening

Price Bids will be opened only for technically qualified bidders.

- Market Integrity

We have a fair and competitive marketplace. The rules for bidders are outlined in the General Condition of Contracts. Bidders must agree to these rules prior to participating. In addition to other remedies available, CESC reserves the right to exclude a bidder from participating in future markets due to the bidder’s violation of any of the rules or obligations contained in the General Condition of Contracts. A bidder who violates the market place rules or engages in behavior that disrupts the fair execution of the marketplace, may result in restriction of a bidder from further participation in the marketplace for a length of time, depending upon the seriousness of the violation. Examples of violations include, but are not limited to:

- Failure to honor prices submitted to the marketplace

- Breach of terms as published in TENDER / NIT

- Supplier Confidentiality

All information contained in this tender is confidential and shall not be disclosed, published or advertised in any manner without written authorization from CESC. This includes all bidding information submitted to the CESC. All tender documents remain the property of CESC and all suppliers are required to return these documents to CESC upon request. Suppliers who do not honor these confidentiality provisions will be excluded from participating in future bidding events.

- Reverse Auctions

CESC reserves the right to conduct the reverse auction for the products/ services being asked for in the tender. The terms and conditions for such reverse auction events shall be as per the Acceptance Form attached as Annexure VI of this document. The bidders along with the tender document shall mandatorily submit a duly signed copy of the Acceptance Form attached as Annexure VI as a token of acceptance for the same.

- Award Decision

CESC will award the contract to the successful bidder whose bid has been determined to be the lowest-evaluated responsive bid as per the Evaluation Criterion mentioned at Clause 3.0. The Cost for the said calculation shall be taken as the all-inclusive cost quoted by bidder in Annexure I (Schedule of Items) subject to any corrections required in line with Clause 7.2.1. The decision to place purchase order/LOI solely depends on CESC on bidder qualification & cost competitiveness across multiple lots, quality, delivery and bidder’s capacity, in addition to other factors that CESC may deem relevant.

CESC reserves the right to split the order quantity wise/Line item wise among multiple Bidders. All bidders are advised to quote their most competitive rates against each line item.

In case any supplier is found unsatisfactory during delivery process, the award will be cancelled and CESC reserves right to award contract to other suppliers who are found fit.

- Order of Preference / Contradiction

In case of contradiction in any part of various documents in tender, following shall prevail in order of preference:

- Schedule of Items – Price Bid (Annexure I)

- Technical Specifications/Scope of Work (Annexure II)

- Special Conditions of Contract (Clause 13.1)

- General Conditions of Contract (Annexure VII)

- Post Award Contract Administration

# 13.1 Special Conditions of Contract

- Rate Contract shall be issued to successful bidder with a validity of two year from the placement of the Contract. Release Order (RO) shall be placed as per the requirement of CESC.

- Rates for various parts / components shall remain firm and FOR destination basis anywhere in CESC except HV/LV Leg Coils throughout RC period.

Price variation will be as per below mentioned formula with base date i.e. 1st day of the previous month of floating of this tender enquiry. The price variation shall only be allowed upto the specified delivery period only. The bidder is required to quote prices with taxes separately.

The price variation of transformer oil and leg coils shall be governed as under:

For Copper wound

P = P0/100 (15 + 85 x PE/PE0)

P0 = Base price of HV/LV leg coils provided in the contract.

PE = Prices of ISS Grade Copper Bar as per IEEMA, one month prior to the due date of delivery of transformers.

PE0 = Prices of ISS Grade Copper bar as per IEEMA with base date i.e. 1st day of the previous month of floating of this tender enquiry, whichever is lower.

- Lifting, loading and unloading of DTRs at and from CESC stores is responsibility of vendor. The detailed address of CESC stores is mentioned below:

- RITCHIE TRANSFORMER GODOWN:

Address: 5, Ritchie Road, Kolkata-700019

Phone Number: 9903897975

Mail ID: ss.rtg@rpsg.in

- HOWRAH SOUTH TRANSFORMER GODOWN

Address: 190-194, G. T. Road, Shibpur, Howrah

Phone Number: 9903889640

Mail ID: ss.hstg@rpsg.in

- CHITPORE TRANSFORMER GODOWN

Address: 26/1&2, B.T ROAD, KOLKATA-700002

Phone Number: 9903895289

Mail ID: ss.ctg@rpsg.in

- RASHBEHARI TRANSFORMER GODOWN

Address: X-ing of EM Bypass & Rasbehari connector

GC73+535, Sector H, East Kolkata Twp,

Kolkata- 700107

Phone Number: 9163324051

Mail ID: ss.rbtg@rpsg.in

- ENTALLY TRANSFORMER GODOWN

Address: 17 Convent Lane, Kolkata-700015

Phone Number: 91633 13096

Mail ID: ss.etg@rpsg.in

- JADAVPUR SUBSTATION

Address: P-1/G, Russa Road (S), 1st Lane, Kol - 33, P.S. - Jadavpur

Phone Number: 8584873864

Mail ID: ss.jadavpore@rpsg.in

- The invoice for scrap material (based on joint verification) shall be created by CESC through Credit/Debit Note and the payment shall be released after deduction of Scrap value from Invoice raised on Material supplied and repair services provided.

- Performance Bank Guarantee:

PBG shall be submitted by bidder as per GCC within 15 days of issuance of Order. PBG applicable shall be 5% of contract value. PBG submitted, shall be released after completion of applicable guarantee period plus three months.

- Guarantee Period:

- The repaired/reconditioned transformers shall be guaranteed for a period of 24 months from the date of commissioning or 36 months from the date of receipt of transformers at CESC stores whichever is earlier.

- In case of core replacement, the guarantee period shall be 60 months from the date of commissioning or 36 months from the date of receipt of transformers at CESC stores whichever is earlier.

- For any failure of repaired/ reconditioned transformer during the guarantee period as a consequence of bad design, repair, or workmanship on the part of repair vendor, shall be rectified free of cost by the vendor.

- The failed transformer in Guarantee Period shall be lifted by the vendor within one week of intimation of failure by CESC and returned after repairs/ reconditioning within 60 days of date of lifting. No transportation cost or any other expenses also shall be paid or reimbursed by CESC to vendor for repairs of transformers failed in guarantee period.

- In case vendor fails to carry out for repairs/ reconditioning within stipulated time frame, CESC will be entitled to carry out the DT repairs/ reconditioning at vendor’s risks and CESC shall recover an equivalent amount plus 15% supervision charges from any of the bills of vendor or from submitted Bank Guarantee as compensatory charges.

- In case of rejection of transformers in final/stage inspection, the re-inspection cost shall be in BA's scope and the BA shall be responsible for all the arrangement to carry out the reinspection.

- Delivery Period:  The total time for repair & refurbishment of transformers is 60 calendar days from date of lifting of DTR from CESC Store.

- Payment Terms: On delivery of the materials in good condition and certification of acceptance by certified official, Associate shall submit the Bills. The payment shall be released within 90 days from the date of submission of error-free certified bills/ invoices.

- Liquidity Danage: The vendor shall be responsible for timely delivery of material as per the specified delivery schedule. In case of delay in supply, the vendor shall be liable to pay liquidated damages @ 0.5% of all-inclusive value of the delayed material for each week of delay or part thereof subject to a maximum of 5% plus applicable GST, beyond which CESC will be free to terminate the Purchase Order without any liability or compensation. Kindly refer GCC for complete details of LD clause.

- Inspection & Test Plan: It should be done as per the technical specifications. Vendor needs to submit acceptance on ITP as a part of the technical bid. All tests mentioned in the specifications are to be carried out under ITP. CESC shall inspect 100% of the DTs and reserves the rights to select at random sample of DTs for Inspection.

- In case the repairing cost is beyond the defined economic limits, same DT shall be declared “NON-REPAIRABLE” subjected to management approval. However, CESC may take decision to carry out DT repair over and above the defined Economic limit, considering the useful life of DT after repair and if net repairing cost is found justified. For such scenario it is required to take approval from GM/DGM(Substation).

- Lot size of Transformers issued to vendor will be determined by EIC of CESC.

- The performance of vendor against this contract shall be regularly monitored by CESC. CESC reserves the right to appropriately reduce/cancel the order quantity of DTs in case of unsatisfactory performance & undue delay.

- Any change in statutory taxes, duties and levies during the contract period shall be borne by respective CESC. However, in case of delay in supply owing to reasons not attributable to CESC, any increase in total liability shall be passed on the Bidder, whereas any benefits arising owing to such statutory variation in taxes and duties shall be passed on CESC.

- All other terms of General Conditions of Contract – CESC shall be applicable.

  - Drawing Submission and Approval

As per technical specification.

- Ethics

CESC lays emphasis on ethical practices across its entire domain. Bidder should ensure that they abide by all the ethical norms and practices and in no form either directly or indirectly be involved in unethical practice.

Any unethical practices whatsoever reported shall be delt with in most stringent way by CESC.

- Specification and standards

As per Annexure II

- General Condition of Contract

Any condition not mentioned above shall be applicable as per GCC attached as Annexure VI along with this tender.

- Safety Policy and Safety Terms & Conditions

# Annexure VII attached along with this tender.

# ANNEXURE-I: Price Schedule

# Table-1

| S. No. | Item Description | Qty. | UoM | Total All Inclusive Value (in Rs.) |
| --- | --- | --- | --- | --- |
| 1 | 315 kVA CU Wound Oil type DTR | 1 | EA | Comes from Table -2A (As Appexndix-1) |
| 2 | 400 kVA CU Wound Oil type DTR | 1 | EA | Comes from Table -2B (As Appexndix-2) |
| 3 | 400 kVA CU Wound Dry type DTR | 1 | EA | Comes from Table -2C (As Appexndix-3) |
| 4 | 500 kVA CU Wound Dry type DTR | 1 | EA | Comes from Table -2D (As Appexndix-4) |
|  | Total All Inclusive Cost as per BoQ (In Rs) |  |  |  |

Table-2A: Excel Sheet Attached Separately (As Appexndix-1)

Table-2B: Excel Sheet Attached Separately (As Appexndix-2)

Table-2C: Excel Sheet Attached Separately (As Appexndix-3)

Table-2D: Excel Sheet Attached Separately (As Appexndix-4)

NOTE:

- Prices shall be firm & FOR destination basis anywhere in CESC except HV/LV Leg Coils.

- The bids will be evaluated commercially based on the overall all-inclusive lowest cost on the BoQ basis for each individual transformer rating, as calculated in the Schedule of Items [Annexure I].

- The unit price to be entered in column “A” of above table is exclusive of GST.

- The quantity mentioned above is for evaluation purpose only and may vary during the execution.

- The bidders are advised to quote prices strictly in the above format. Failing to do so, bids are liable for rejection.

- The bidder must fill each and every column of the above format. Mentioning “extra/inclusive”/other conditions in any of the column may lead for rejection of the price bid.

- No cutting/ overwriting in the prices is permissible.

Seal of the Bidder:

Signature:

Name

# ANNEXURE-II: Technical Specification

Attached separately with Tender

# ANNEXURE III: Schedule of Deviations

Bidders are advised to refrain from taking any deviations on this TENDER. Still in case of any deviations, all such deviations from this tender document shall be set out by the Bidders, Clause by Clause in this schedule and submit the same as a part of the Technical Bid.

Unless specifically mentioned in this schedule, the bidder shall be deemed to confirm to the specifications/T&C etc.:

| S. No. | Clause No. | Tender Clause Details | Details of deviation with justifications |
| --- | --- | --- | --- |

Seal of the Bidder:

Signature:

Name:

# ANNEXURE IV: Schedule of Commercial Specifications

(The bidders shall mandatorily fill in this schedule and enclose it with the offer Part I: Technical Bid. In the absence of all these details, the offer may not be acceptable.)

S. No.	               Particulars												Remarks

- Prices firm or subject to variation								Firm / Variable

(If variable indicate the price variation

clause with the ceiling if applicable)

- Price Inclusive of transit insurance							Yes / No

- Delivery Clause acceptable                 				     		Yes / No

- Guarantee clause acceptable							     		Yes / No

- Terms of payment acceptable									Yes / No

- Performance Bank Guarantee Acceptable 			     		Yes / No

- Liquidated damages clause acceptable                     		Yes / No

- Validity (______days)					 						Yes / No

(From the date of opening of bid)

- Inspection during stage of manufacture						Yes / No

Seal of the Bidder:

Signature:

Name:

# ANNEXURE V: Checklist of all the documents to be submitted with the Bid

Bidder has to mandatorily fill in the checklist mentioned below:

| S. No. | Documents attached | Yes / No / Not Applicable |
| --- | --- | --- |
| 1 | EMD (if applicable) of required value |  |
| 2 | Tender Fee (if applicable) as mentioned in this tender |  |
| 3 | Signed copy of this tender as an unconditional acceptance |  |
| 5 | Duly filled schedule of commercial specifications (Annexure IV) |  |
| 6 | Sheet of commercial/technical deviation (if any) (Annexure III) |  |
| 7 | All documents required as per PQR and Technical bid requirement |  |
| 8 | Acknowledgement for Testing facilities (if available) (duly mentioned on bidder letter head) |  |
| 9 | List of Machine/tools with updated calibration certificates (if applicable) |  |
| 10 | Details of Type Tests if applicable (duly mentioned on bidder letter head) |  |
| 11 | All the relevant Type test certificates as per relevant IS/IEC (CPRI/ERDA/other certified agency) if applicable |  |
| 12 | Client Testimonial |  |
| 13 | Credit rating/solvency certificate |  |
| 14 | Undertaking regarding non blacklisting (On company letter head) |  |
| 15 | List of trained/untrained Manpower |  |

Seal of the Bidder:

Signature:

Name:

# ANNEXURE VI: General Conditions of Contract

Attached Separately with Tender

# ANNEXURE VII: Safety Policy and Safety Terms & Conditions

Attached Separately with Tender

# ANNEXURE VIII: Scope of Work and SLA

Attached Separately with Tender