TENDER NO. PUR:TN:52242   DATED 26.08.25

TENDER FOR CONDUCTING GPR (GROUND PENETRATING RADAR) SURVEY AT KONA EXPRESSWAY STRETCH.

CESC Limited (CESC), a power utility in private sector and a flagship company under RP-Sanjiv Goenka Group, is engaged in generation and distribution of electricity in and around Kolkata & Howrah to a consumer base of 34 lakh spread over an area of 567 sq km.

CESC LIMITED invites Bids for conducting GPR (Ground Penetrating Survey) across Kona Expressway in the stretch between 2nd Hooghly Bridge (Football Gate) and Santragachi Flyover (2.5 km stretch x 35 mtrs width) in order to identify underground utility assets in the above stretch and preparation of topographical survey and submission of reports.

CESC invites Bids in following two parts from Bidders within the deadline mentioned in the clause #2 below:

- Unpriced Techno-Commercial Bid

- Price Bid -Annexure-III

- SCOPE OF WORK:

Scope of work as mentioned under Section I- Annexure-II

- CALENDAR OF EVENTS

| (a) | Date of publishing of Tender document | 26.08.2025 |
| --- | --- | --- |
| (b) | Last date of receipt of pre-bid queries (if any) | 28.08.2025 |
| (c) | Response of Prebid Queries | 30.08.2025 |
| (d) | Last date and time of receipt of both technical and price bid | 02.09.2025 |

- DEVIATIONS FROM TENDER

Normally, the deviations to tender terms are not admissible and the bids with deviation are liable for rejection. Hence, the Bidders are advised to refrain from taking any deviations on this Tender. Still in case of any deviations, all such deviations shall be set out by the Bidders and same shall be submitted as a part of the Technical Bid. Deviation sheet enclosed as per Annexure-V.

- Bids shall not be accepted after the deadline date and time.

- No alteration in the form of the Bid or in the amount or any addition in the form of special stipulation will be permitted. If corrections be needed while filling in the Bid, the same shall be made by the Bidder with his dated signature.

- All pages of the Bid papers and other accompanying documents shall be initialled at the lower right-hand corner with ink only and signed where required by the Bidder or any person holding Power of Attorney authorizing him to sign on behalf of the Bidder before submission of the Bid.

- Bid, which is incomplete, obscure, or irregular or only for a part of the schedule, is liable for rejection and decision of CESC in this regard is final and conclusive.

- Technical Bid shall be submitted over email (saurav.ganguli@rpsg.in )

- PRE-QUALIFICATION CRITERIA

| Sr No | Parameter | CESC LIMITED Requirement | Documents to be submitted by Bidder |
| --- | --- | --- | --- |
| A | Technical Pre-Qualification Requirements |  |  |
| 1 | Technical Experience | Bidder should have minimum 3-years’ experience in similar jobs of conducting GPR Survey and should have executed a minimum cumulative contract with value equal to or more than Rs.10 Lakhs. during last three financial years Bidder should have technically qualified staff to carry out the above GPR job at site | Copy of work order / completion certificate to be submitted by Bidder. Detailed Organogram to be submitted by Bidder. |
| 2 | Technical Performance | Bidder should have Job Completion certificates/ Performance Certificates for at least three years satisfactory performance of similar GPR Survey jobs from minimum 2 reputed power utilities/public utilities PAN India basis. | Performance certificate and contact details of the client need to be submitted. In case the Bidder has a previous association with CESC or its group Companies for similar services, the performance feedback for that Bidder from User Group shall only be considered irrespective of performance certificates issued by any third organization. |
| B | Financial Pre-Qualification Requirements |  |  |
| 1 | Commercial Capability | The bidder should have Average Annual turnover of at least Rs. 1 Cr. for last 3 Financial Year (FY 21-22, FY 22-23 & FY 23-24.) | Certificate/ registration copy of the same to be submitted |
| 2 | Statutory Requirement | The Bidder should possess the following: Valid EPF Registration Certificate. Valid ESI Registration Certificate. Valid GST Registration Certificate. Valid PAN No. | Certificate/ registration copy of the same to be submitted |
| 3 | No Insolvency and No Bankruptcy | The Bidder has not been blacklisted/debarred by any central/state government institution/Electricity utilities and there are no pending proceedings against the Bidder under the Insolvency and Bankruptcy Code, 2016 (“IBC”). | Undertaking for both the points as mentioned need to be submitted in this regard |
| 4 | No Litigation | The Bidder shall should not have any Litigation pending with the CESC or its Group / Associates Companies. | Undertaking for both the points as mentioned need to be submitted in this regard |

- MANDATORY DOCUMENTS REQUIRED ALONG WITH THE BID

- Requisite Documents for compliance to Qualification Criteria mentioned in Clause # D).

- Duly signed and stamped ‘Schedule of Deviations’ as per Annexure V on Bidder’s letter head.

- Duly signed and stamped ‘Schedule of Commercial Specifications’ as per Annexure II on Bidder’s letter head.

- Proper authorization letter/ Power of Attorney to sign the tender on the behalf of Bidder.

- Copy of PAN, GST, PF and ESI Registration (In case any of these documents is not available with the Bidder, same to be explicitly mentioned in the ‘Schedule of Deviations’)

- PROCESS OF SUBMISSION OF TENDER:

Bids shall be submitted in 2 (Two) parts:

1st Part: “TECHNICAL BID” :

This part shall contain the techno-commercial particulars along with the following:

- A brief profile of the company stating the organizational pattern, Total manpower details, Office, and other facility etc.

- Credentials of carrying out similar job at other places.

- PF, ESI License details with validity date.

- The audited balance sheets of last three (03) fiscal years

- Net worth statements duly certified by Chartered Accountant has to be submitted for last 3 years.

- Documentary evidence in support of qualifying criteria.

- No Deviation Certificate as per the Annexure V – Schedule of Deviations

- Acceptance to Commercial Terms and Conditions viz Payment terms etc. as per the Annexure II – Schedule of Commercial Specifications.

- The Bidder shall submit all relevant GTP, Technical specification, MOC certificate,

Technical Bids to be mailed to saurav.ganguli@rpsg.in

2nd Part: “PRICE BID” with commercial terms & conditions shall be submitted considering the Scope of Work as per Annexure-II. Any price related information/discussion at the time of technical evaluation shall lead to bid disqualification. All price related communications to be done with authorised procurement department member only.

Bid shall be submitted only after complete understanding the tender terms & conditions and undersigned may kindly be contacted in case of queries in relation to the current tender. The Bid prepared by the Bidder, and all correspondence and documents relating to the Bid exchanged by the Bidder and the CESC LIMITED, shall be written in the English Language only.

Price Bid documents should be duly submitted as per “Price Schedule-Annexure-III” attached only.

Detailed Price Schedule ie. Price Summary Sheet should be duly filled up by the Bidder in all respect.

No deviations in the price schedule format provided shall be considered for evaluation.

Price Bid to be submitted in password protected format only to saurav.ganguli@rpsg.in

Password shall be sought from technically qualified Bidders and the same to be mailed to tender.cesc@rpsg.in only when asked from our end.

Bidder shall not mark any copies of the email containing the password to any of us.

Technical & Price Bid to be submitted vide e-mail, clearly mentioning the subject line as –

“PUR: TN: PUR:TN:52242    Dated 22.08.25 - Tender for Conducting GPR (Ground Penetrative Radar) based Survey at Kona Expressway”

- CONTACT INFORMATION

All the Bidders are requested to send their pre-bid queries (if any) against this tender through e-mail within the stipulated timelines. In case of any clarification, the Bidders may contact the following officials of CESC LIMITED:

For Technical Queries:

Mr Shamik Bhattacharya

Addl. Manager (Mains-HT Utility)

Email : shamik.bhattacharya@rpsg.in

Mob: 9163313905

For Commercial Queries:

Mr Saurav Ganguli

Dy. Manager (Materials)

E-mail : saurav.ganguli@rpsg.in

Mob: 9007170640

- EVALUATION CRITERIA

- The bids will be evaluated technically & commercially on the compliance to tender terms and conditions, proposed design, approach and methodology, etc.

- CESC may seek to have a detailed presentation from the bidder on approach methodology, design and capability as part of technical evaluation.

- Technical Bids must include the following details based on which the Bidders shall be evaluated.

- Shutdown/ necessary approval requirement from any Government Bodies must be clearly mentioned in the technical bid by the Bidder that is required for successful completion of the GPR Survey in all respects.

- The bids of technically qualified Bidders shall be evaluated commercially on the overall lowest responsive bid.

- Bidders are advised to quote their most competitive rates against each line item.

- Bidders have to provide breakup of the prices as quoted by them against line items “PRICE SCHEDULE”.

- Bidder have to mandatorily quote against each item as per “PRICE SCHEDULE” and strictly as per the defined format. Failing to do so, the bids are liable for rejection.

- AWARD DECISION

CESC LIMITED shall award the contract to the successful Bidder whose bid has been determined to be the lowest-evaluated responsive. The Cost for the said calculation shall be taken as the all-inclusive cost quoted by Bidder as “PRICE SCHEDULE”. The decision to place purchase order/LOI solely depends on CESC LIMITED on the cost competitiveness across quality of service and Bidder’s capacity, in addition to other factors that CESC LIMITED may deem relevant.

CESC LIMITED reserves all the rights to award the contract to one or more Bidders to meet the requirement or nullify the award decision without assigning any reason thereof.

In case any supplier is found unsatisfactory during the execution process, the award will be cancelled and CESC LIMITED reserves the right to award other suppliers who are found fit.

- VALIDITY OF BID

Offer shall be valid for at least 120 days from the date of submission.

- CONFIDENTIALITY AND NON-DISCLOSURE:

- In the event of a Contract with CESC LIMITED, Bidder shall agree (unless otherwise required by law) that it shall not disclose to any other person information classified as proprietary, sensitive, or confidential in nature.

- The obligations of confidentiality undertaken during the Contract shall continue for the term of the Contract and for a period of 1 (one) year following the termination of the agreement.

- WAIVER

The failure of either Party (CESC LIMITED/Bidder is herein referred as ‘Party in singular or “Parties” to denote both CESC LIMITED & Bidder to enforce at any time any of the provisions of this Contract, or to require at any time performance by the other Party of any of the provisions hereof, shall in no way be construed to be a waiver of such provisions, nor in any way to affect the validity of this Contract or any part hereof, or the right of either Party thereafter to enforce each and every provision.

Waiver by either Party of any default, breach or non-performance hereunder shall not constitute nor be construed as a waiver of any succeeding default, breach, or non-performance, whether of the same type or kind as before or not.

- INSTRUCTION TO BIDDER:

- CESC LIMITED may at his discretion, extend deadline for submission.

- Bidders are advised to study the bid document carefully. Submission of bids against the tender notice shall be deemed to have been done after careful study and examination of the procedure, terms and conditions stipulated in the bid documents with full understanding of its implications.

- CESC LIMITED reserves the right to cancel any or all the bids without assigning any reason thereof.

- Before Submission of the Bid, the Bidder is advised to fully familiarize himself with the site

conditions and job requirements etc.

- Bidders shall be fully responsible for providing all equipment, materials, system, and services etc.

- No deviation from the Technical Specification & Technical Conditions shall be acceptable unless permitted in writing by the Owner.

- Before Submission of the Bid, the Bidder is advised to fully familiarize himself with the site conditions, road connectivity, logistic aspects etc. The land for project shall be made available to the Bidder on 'as is where is' basis. It shall be the responsibility of the Bidder to arrange all inputs required for detailed engineering, design and execution. Bidders are, therefore, advised to visit the site before the GPR Survey, collect all necessary inputs and acquaint themselves with the topography, infrastructure etc. It shall be deemed that the Bidders have thus acquainted themselves with the site conditions.

- The Bid shall be prepared and submitted strictly in accordance with the instruction contained in these specifications and shall be complete in all respects. The interpolations, insertion, striking out and corrections made in the Bid offers should be duly initialled by the Bidder.

- In case the Bidder does not supply any of the required information at the time of Bid, necessary loading may be made by the Owner at its sole discretion while evaluating the prices of his offer without giving any further opportunity to supply or clarify the same. The Bidders are notified that in case the required information is not furnished in the specified proforma/schedules attached with the specification, the Owner shall not be responsible for any error in the evaluation of their Bids on this account. Further, failure to comply with this requirement may result in the rejection of the Bid at the discretion of the Owner.

- A set of technical, descriptive, and illustrative literature along with drawings must accompany each copy of the Bid so that a clear understanding of the equipment offered is obtained.

- Bidder shall adhere to the relevant safety norms for undertaking construction as specified in the scope of work.

- Bidder shall take all necessary permissions/licenses from any Government authorities, police, municipal authorities etc well in advance before start of the project.

- The Bidder shall take all necessary precautions related to safety and permissions well in advance so that the same does not hamper the successful completion of the contract in any aspect whatsoever.

- PRICE BASIS

Bidders are requested to provide total price along with the break-up detailing unit rates and quantities.

All Unit rates and amounts to be quoted mentioned in Section 1-Annexure-II of “Scope of Work “, shall remain FIRM including all taxes and duties, except GST during the entire tenure of the contract period. No other charges shall be payable extra beyond the above quoted rate.

In case of any statutory variation in the existing GST which is clearly indicated in price break up will only be considered with proper documentary evidence. However, any increase in existing GST rate, if applicable due to delay for reasons attributable to Vendor, shall have to be borne by Vendor

- PAYMENT TERMS:

The payment shall be released within 90 days from the date of receipt of CESC Engineer in Charge certified and error-free invoice after successful job completion from the bidder along with the supporting documents.

- LIQUIDATED DAMAGES

  - Time is Essence of the Contract.

  - The Bidder shall complete the entire Works covered under the Contract within time period specified below (Clause No. R) and any delay in completion will attract Liquidated Damages (LD).

  - The Bidder shall guarantee to complete all supply, construction, erection and commissioning and related activities within agreed completion date between CESC LIMITED & The Bidder.

  - In the event of failure by Bidder to meet the agreed completion date, Bidder shall pay to Owner, as Liquidated Damages a sum of 1(one)% of the Contract Price for per week of delay or part thereof subject to ceiling of 10 (ten) % of the Contract price.

  - CESC LIMITED reserves the right to deduct any applicable liquidated damages from payment due to the Bidder.

  - Payment or deduction of Liquidated Damages shall in no way relieve the Bidder from completing the Works and discharging it’s all other obligations under the Contract.

  - It is further agreed this Clause shall not constitute a waiver of any rights of Owner to damages and / or other remedies of Owner under the Contract or otherwise for Bidder’s improper performance or default in performance of any other aspect of the Contract.

- TIME OF COMPLETION:

The GPR Survey should be completed in all respects within 10 days of receipt of LOI/Work Order.

- MOBILIZATION OF EQUIPMENT:

The Bidder should mobilize all instruments fully within 2 days from the date of placement of work order or written instructions given. Mobilization ought to be made by adhering to relevant safety norms and shall include but not limited to the followings:

- INSURANCE REQUIREMENTS:

The Bidder shall take and maintain the following insurance policies at their own cost:

- Storage Insurance: For all equipment/materials stored at the site warehouse or open yard.

- Third-Party Liability Insurance: Covering injuries to third-party workers and damages to adjacent properties.

- Workmen Compensation Insurance: As per statutory requirements.

All policies must name the employer as co-insured and be submitted before the first dispatch.

- LOCAL ISSUES:

Bidder should maintain good rapport with the local people during the work, so that the job can be completed smoothly. All the incidental expenses on account of any local issues are to be borne by the Bidder.

- SAFETY TERMS & CONDITION:

Bidder shall follow the standard safety guidelines provided by CESC LIMITED.

It is to be distinctly understood that Bidder shall have to strictly follow such guidelines during execution of their work As per Annexure VI enclosed.

- STOPPAGE OF WORK:

If at any time the Owner decides to abandon or reduce the scope of work for any reason whatsoever the payment shall be made according to the reduced scope of work and the Bidder shall not be eligible for any claim regarding payment of compensation.

- GENERAL:

- CESC shall not be responsible for misplacement or late receipt of Bid Documents.

- Bid Documents are not transferable

- CESC reserves the right to reject the proposal of any or all Bidders’ without assigning any reasons whatsoever.

- CESC reserves the right to exclude and/or include any line item at later stages as per the requirement for completion and timely execution of the GPR Survey. Hence bidders are requested to quote their best rate in each line item.

- CESC reserves the right to conduct the reverse auction and/or negotiation for the products/ services being asked for in the tender.

- Bidder shall adhere the OEM/Manufactures of individual equipment specified by CESC. Deviation may lead to disqualification unless specifically approved by CESC’s authorized personnel.

- CESC reserves the right to cancel or withdraw the bidding process at any time during the process without assigning any reasons and shall bear no liability consequent upon such a decision.

- CESC reserves the right to split the job to multiple Bidders for best techno-commercial benefit & delivery/completion schedule.

- In the event of any ambiguity / conflict / discrepancy / inconsistency / repugnance in any clause amongst Tender document and Scope of Work, the said clause or terms shall be interpreted as per precedence order of respective clause mentioned in the Tender document and Scope of Work.

- OBLIGATIONS OF THE BIDDER:

- Bidders ought to be well acquainted and aware of the local conditions and factors through strict surveillance/monitoring, which may have any effect on rendering of services.

- Bidder shall have contingency backup of manpower and equipment as per exigencies.

- Besides conditions as mentioned above, Bidder shall undertake to appoint a nodal person for monitoring activities related to quality, safety, and time adherence of jobs. He would work as the co-coordinating person with CESC LIMITED.

- Bidder shall maintain proper documentation as required in the job scope and further advised by CESC LIMITED.

- They shall comply with all applicable labour Laws/ model standing orders and other statutory provisions as applicable and fully observe all safety Rules and Regulations. It shall be their responsibility to ensure all related safety measures.

- Bidder shall strictly adhere to all applicable environmental norms and avoid any violation of the same.

- Bidder shall be directed to disburse prevailing Minimum Wages, as in force and revised from time to time, in accordance with the Minimum Wages Act to all the guarding personnel.

- Comprehensive & appropriate insurance policies must be arranged by Bidder in respect of all risks involved in execution of this Work Order, covering liabilities related to third party as well as Bidder’s own staff and Bidder shall keep CESC LIMITED indemnified against all eventualities in the matter. Bidder will cover their employees under ESIC/ Mediclaim/WC and for third party liabilities Bidder will take maximum one-month service charges liability; it would be decided after joint inquiry.

- COMPLIANCE OF LABOUR LAWS:

- Bidder shall pay wages to his personnel, which shall not be less than those prescribed under the Minimum Wages Act, 1948 and subsequent amendments (if any).

- Bidder shall pay wages to his personnel without any deductions of any kind except those specified by the Central Government or as permissible under the Payment of Wages Act, 1936 and subsequent amendments (if any).

- Bidder shall comply with all relevant provisions of Employees’ Provident Funds and Miscellaneous Provisions Act, 1952, the Employees’ State Insurance Act, 1948 and the regulations made thereunder.

- Bidder shall also be responsible for and shall pay full compensation to his personnel, payable against injury/accident on duty under the Workmen’s Compensation Act, 1923 and amendments thereto. Under no circumstances, CESC LIMITED shall be liable for any payment on such account to the BIDDER’s personnel. Bidder shall keep CESC LIMITED indemnified against the same and from all proceedings in respect thereof.

- In every case in which by virtue the provisions of Section 12 (1) of the Workmen Compensation Act, 1923, CESC LIMITED becomes obliged to pay compensation to a personnel engaged by the bidder, CESC LIMITED shall recover from the bidder, the amount of compensation so paid, and without prejudice to the rights of CESC LIMITED under Section 12 (2) of the said Act, CESC LIMITED shall be at liberty to recover such amount or any part thereof by deducting the same from any sum due to bidder whether under the concerned Contract or otherwise or as a debt payable by the bidder.

- Bidder shall comply with and must ensure that all its personnel shall comply with all applicable laws and ordinances and all orders, rules and regulations issued by the State of West Bengal from time to time.  In the event of non-compliance, Bidder shall take prompt corrective measures and shall keep CESC LIMITED indemnified against any loss that may arise against CESC LIMITED in this regard.

- Bidder shall ensure full compliance of above (‘a’ to ‘f’) and CESC LIMITED shall not be responsible for any violation of the above by the bidder.

- GOVERNING LAW AND JURISDICTION:

The Contract will be governed, construed, and interpreted in accordance with the laws of India. The Courts at Kolkata, West Bengal shall have the exclusive jurisdiction in respect of all matters pertaining to this Contract.

- ASSIGNMENT AND SUBLETTING OF CONTRACT:

Bidder shall not assign this Contract wholly or in part, without first obtaining the written consent of CESC LIMITED. Such subletting shall not relieve it from any obligation, duty or responsibility under the Contract and it shall be and shall remain exclusively responsible to CESC LIMITED, with full responsibility on BIDDER for all acts, omissions, and defaults of the Sub-vendor(s).

- INDEMNIFICATION

Bidder shall indemnify, defend, and hold harmless CESC LIMITED and all of their directors, officers, employees, agents and representatives, from and against any claim, demand, cause of action, liability, loss or expense arising:

                - By reason of Bidder’s and / or its Sub-vendor’s (or their directors, employees etc.) failure to comply with any law, ordinance, regulation, rule, or order, or with the Contract. This includes, but is not limited to, fines or penalties by government authorities and claims arising from bidder’s / Sub-vendor’s failure to pay taxes, wages and alike.

                - CESC LIMITED shall be entitled to retain from payments otherwise due to bidder such amounts as shall reasonably be considered necessary to satisfy any claims, suits or liens for damages that fall within bidder 's indemnity obligations under this Clause, until such claims suits or liens have been settled and satisfactory evidence to that effect has been substantiated to CESC LIMITED.

- RISK PURCHASE:

In case of default or failure by the Bidder to carry out any supplies, work, replace and/or rectify any defective item of work despite follow up by CESC LIMITED, CESC LIMITED may employ and pay other persons or agencies to carry out the so referred supplies / works and all actual additional costs (over and above the agreed Contract issued to the first Bidder) which CESC LIMITED will incur / will have to incur in order to get the supply or job executed plus 20% of the additional costs for referred supplies / works towards CESC LIMITED’s administrative charges and expenses thereof, consequent thereon and incidental thereto shall be to the account of the Bidder and such costs and expenses etc. shall be recovered from the Bidder’s Performance Bank Guarantee/pending payments etc.

- GRAFTS AND COMMISSION:

Any graft, commission, gift or advantage given, promised or offered by or on behalf of bidder’s or its partner, agent, officers, director, employee or servant or any one on his or their behalf in relation to obtaining or to the execution of this or any other Contract with CESC LIMITED, shall, in addition to any criminal liability which it may incur, subject to the cancellation of this and all other Contracts and also to payment of any loss or damage to CESC LIMITED resulting from any such cancellation. CESC LIMITED shall then be entitled to deduct the amounts so payable from any money otherwise due to bidder under the Contract.

- NO PARTNERSHIP OR AGENCY:

Nothing in the Contract shall be deemed to constitute a joint venture or partnership between the Parties and the Parties acknowledge and agree that a principal-to-principal relationship exists between the Parties.

- FORCE MAJURE

In case of any dispute or difference the parties shall endeavor to resolve the same through conciliatory and amicable measures within 15 Days failing which the matter may be referred by either party for resolution by the sole arbitrator to be appointed mutually by both the parties. The arbitral proceedings shall be conducted in accordance with Arbitration and Conciliation Act 1996 and the place of arbitration shall be in Kolkata. The language to be used at proceedings shall be English and the award of the arbitrator shall be final and binding on the parties. The parties shall bear their respective costs of arbitration. The Bidder shall continue to discharge its arbitration proceedings unless otherwise directed in writing by CESC LIMITED or suspended by the arbitrator. Further, CESC LIMITED shall continue making such payments as may be found due and payable to the Bidder for such works.

If any questions, disputes or differences of any kind whatsoever shall arise between the Owner and the Bidder , arising out of the Contract for the performance of the Works whether during the progress of the Works or after its completion or whether before or after the termination, abandonment or breach of the Contract, it shall, in the first place, be referred to and settled by the Owner, who, within a period of 30 (thirty) days after being requested to do so, shall give written notice of his decision to the Bidder.

Save as hereinafter provided, such decision in respect of every matter so referred shall be final and binding upon the parties and shall forthwith be given effect to by the Bidder who shall comply with all such decisions, with all due diligence, whether he requires conciliation and/or arbitration as hereinafter provided or not.

If after the Owner has given written notice of his decision to the Bidder and no claim to conciliation and/ or arbitration has been communicated to him by the Bidder within 30 (thirty) days from the receipt of such notice, the said decision shall become final and binding on the Bidder.

In the event of the Owner failing to notify his decision, as aforesaid, within 30 (thirty) days after being requested, or in the event of the Bidder being dissatisfied with any such decision, or within 30 (thirty) days after the expiry of the first mentioned period of 30 (thirty) days, as the case may be, either party may require that the matters in dispute be referred to arbitration as hereinafter provided.

Subject to as specified in this Clause, all disputes or differences in respect of which the decision, if any, of the Owner has not become final or binding as aforesaid, shall be settled by arbitration, under and in accordance with the provisions of The Arbitration and Conciliation Act, 1996 or any statutory modification, in the manner hereinafter provided. The venue of arbitration shall be Kolkata, India.

The arbitration shall be conducted by a sole arbitrator, appointed by mutual consent of the Parties. The arbitrator shall not be an employee or retired employee of the owner. The arbitrator shall be required to disclose in the writing the existence of any relationship or interest of any kind which is likely to give rise to justifiable doubts as to his neutrality. He shall also be required to disclose any circumstances which are likely to affect his ability to devote sufficient time to the arbitration and complete the arbitration within the specified period.

The decision of the sole arbitrator shall be final and binding upon the parties.

During settlement of disputes and arbitration proceedings, both parties shall be obliged to carry out their respective obligations under the Contract.

Parties agree that the party invoking arbitration shall specify all disputes to be referred to arbitration at the time of invocation of arbitration and not thereafter.

Further, according to Arbitration and Conciliation (Amendment) Act, 2015, Section 29A, the Tribunal shall ensure speedy completion of Arbitration proceedings and pass the award within a period of twelve months from the date when the arbitral tribunal enters upon the reference. However, the parties may extend such period for a further period not exceeding six months.

- TERMINATION OF CONTRACT:

Event of the Bidder’s Default - Each of the following Events shall constitute an Event of The Bidder’s Default:

- This Contract may be terminated by either Party with the consent of the other Party at any point of time during subsistence of the Contract by serving 30 (thirty) days’ prior written notice.

- Each Party shall fulfil its obligation and duties, that are stated to survive termination or are to be carried out after termination or owed by a Party at the time of or as a result of such termination.

- CESC LIMITED reserves the right to suspend and reinstate execution of the whole or any part of the Works without invalidating the provisions of the Contract. Orders for suspension or reinstatement of the Works shall be issued to the Bidder in writing.

- CESC LIMITED reserves the right to terminate the Contract by giving 30 (thirty) days’ prior written notice to the Bidder, even without assigning any reason whatsoever, and the Contract shall be terminated on expiry of the said notice period.

- Upon the occurrence of any of the Event of Bidder's Default, as defined hereunder, CESC LIMITED shall be at liberty to serve 30 (thirty) days’ prior written notice specifying them Event(s) of Bidder’s Default and if such Event(s) of Default is/are not rectified /remedied within 30 days from the date of such notice, to the full satisfaction of the CESC LIMITED, the Contract shall be terminated on expiry of the notice period.

Event of Bidder’s Default - Each of the following Events shall constitute an Event of Bidder’s Default:

                - The failure by the Bidder to perform any obligation under the Contract.

                - The failure by the Bidder to provide services as per the specifications, scope of work and Contract terms & conditions

                - The failure on part of Bidder to resolve IR issues of its employees resulting into inability to provide services to CESC LIMITED

                - The failure on part of the Bidder to comply with SLAs, Guidelines as per Electricity Act-2003, CEA, and statutory compliances

                - Any Bankruptcy or insolvency of the Bidder

                - Failure on the part of the Bidder to maintain the Performance Bank Guarantee in full force and effect in accordance with the Contract

- CESC LIMITED may, at any time, withdraw the suspension of performance of the Works as to all or part of the suspended Works by written notice to Bidder and Bidder shall resume diligent performance of the works for which the suspension is withdrawn on the specified effective date of withdrawal.

- Bidder shall not be entitled to any prospective profits or any damages because of such suspensions or withdrawals of suspension.

- If Bidder’s performance is found to be unsatisfactory, CESC LIMITED reserves the right to terminate this Work Order, at any time during the above-mentioned period, by serving a notice of one month.

- If suspension continues for more than 180 (One Hundred Eighty) days, unless such suspension is:

                - By reason(s) of the default or failure on the part of the bidder

                - Is necessary for the proper execution of the Works or

                - Is for reason(s) of whether affecting the safety or quality of the work(s)

The reasons for the suspension stated by CESC LIMITED in any notice of suspension as aforesaid shall be final and binding upon the Bidder, the parties shall review and decide on further course of action for the Contract.

- DISPUTE RESOLUTION AND ARBITRATION:

The Contract shall be governed by and construed in accordance with the laws of India. In the event of any dispute or difference between the Parties arising out of the Contract including the interpretation of the terms thereof, the Parties shall attempt to resolve the dispute in good faith through senior level negotiations.  In case any such dispute or difference is not amicably resolved within forty-five days of such referral, it shall be referred for arbitration to an arbitral tribunal comprising of a sole Arbitrator in accordance with the provisions of the Arbitration and Conciliation Act 1996 or any statutory amendment, modification or re-enactment thereof as may be in force at the material point of time of reference of the disputes.  The sole Arbitrator shall adopt a fast-track procedure mandated under the provisions of the Act.  The Arbitrator shall give a reasoned award which shall be binding upon the Parties.  The place of arbitration shall be Kolkata, West Bengal and the language of the arbitration shall be English.

During settlement of disputes and pendency of the arbitration proceedings, both Parties shall be obliged to carry out their respective obligations under the Contract.

- CONDUCT OF BIDDER’S STAFF

If any of the employees of the Bidder, in opinion of CESC LIMITED Officials, is guilty of any misconduct or incompetence or negligence, then if so directed by CESC LIMITED, the Bidder shall at once remove such employees and replace him by a qualified and competent substitute. The Bidder shall submit/intimate all records of the field staff to the nearest police station and acknowledgement thereof to CESC LIMITED, to avoid any mis-happenings. The Id-card will be issued only after furnishing a list of persons duly acknowledged by the police station.

- CORRESPONDENCE

All correspondence pertaining to this work order in respect of any clarification required on the terms and conditions, etc. should be addressed to the Chief Operating Officer, CESC LIMITED at our Corporate Office at Kolkata

- COMPLIANCE OF LABOUR LEGISLATION

- The Bidder shall pay wages to his personnel, which shall comply those prescribed under the Payment of Wages Act 1936 and Minimum Wages Act, 1948, The Payment of Bonus Act 1965 etc. and subsequent amendments.

- The Bidder shall pay wages to his personnel without any deductions of any kind except those specified by the Central Government or as permissible under the Payment of Wages Act, 1936.

- The Bidder shall comply with all relevant provisions of Employees’ Provident Funds and Miscellaneous Provisions Act, 1952, the Employees’ State Insurance Act, 1948 (in ESI Implemented area), The Employees Compensation act 1923 (in non-ESI implemented area), Contract Labour (R&A) Act 1970, or any other applicable Act and the regulations made thereunder.

- The Bidder shall also be responsible for and shall pay full compensation to his personnel, payable against injury/accident on duty under the Workmen’s Compensation Act, 1923 and amendments thereto without waiting for claim amount. Under no circumstances, CESC LIMITED shall be liable for any payment on such account to the Bidder’s personnel. The Bidder shall keep CESC LIMITED indemnified against the same and from all proceedings in respect thereof.

- The Bidder is required to get separate code under the provision of EPF and ESI Acts, if not already taken and deposit the employer’s contribution along with employee subscription, as per rule and submit copy of challans at the time of claiming payment, failing which an amount equivalent to employer’s contribution and employee’s subscription shall be deducted from each of Bidder’s bill and deposited with the concerned authorities. The Bidder shall be solely responsible for any consequences arising out of breach of any legislation.

- In every case in which by virtue the provisions of Section 12 (1) of the Workmen Compensation Act, 1923, CESC LIMITED becomes obliged to pay compensation to a personnel engaged by the Bidder, CESC LIMITED shall recover from the Bidder the amount of compensation so paid, and without prejudice to the rights of CESC LIMITED under Section 12 (2) of the said Act, CESC LIMITED shall be at liberty to recover such amount or any part thereof by deducting the same from any sum due from CESC LIMITED to the Bidder whether under the concerned Contract or otherwise or as a debt payable by the Bidder.

- The Bidder shall comply with and must ensure that all its personnel shall comply with all applicable laws and ordinances and all orders, rules and regulations issued by the State of West Bengal from time to time.  In the event of non-compliance, the Bidder shall take prompt corrective measures and shall keep CESC LIMITED indemnified against any loss that may arise against CESC LIMITED in this regard.

- The Bidder shall ensure full compliance of above (‘a’ to ‘g’) and CESC LIMITED shall not be responsible for any violation of the above by the Bidder.

- REPRESENTATIONS AND WARRANTIES:

- The Bidder shall represent and warrant CESC LIMITED that it possesses all licenses, permits, clearances, approvals registrations to operate and maintain the system as per scope.

- The Bidder shall represent and warrant CESC LIMITED that is has complied with all the eligibility criteria and conditions and further undertakes to comply and fulfil the resource requirements from time to time.

- The Bidder shall further undertake and assure CESC LIMITED that it shall utilize its complete skills, capacity and expertise towards successful job execution adhering to safety norms and environmental measures, to the complete satisfaction of CESC LIMITED.

- INSURANCE

- Appropriate insurance policies must be arranged by the Bidder towards successful execution of this work order in appropriate fashion covering related risks, third party liabilities and those relating to its staff.

- It will be the responsibility of the Bidder to maintain all necessary insurance coverage to the extent both in time and amount to take care of all its liabilities either direct or indirect, in pursuance of the Contract.

- CESC LIMITED will not be responsible for any claim/demand arising out of any action/inaction attributable to its personnel. The Bidder shall keep CESC LIMITED indemnified against the same and from all proceedings in respect thereof.

- The Bidder will take insurance cover for the material issued to it from issuance till installation/commissioning including transit cum storage cum erection.

- LIABILITY FOR ACCIDENT AND DAMAGES

The Bidder shall indemnify, defend and hold and keep CESC LIMITED indemnified from all liabilities resulting out of this work order and act of Bidder’s employees, workmen, representatives, agents, etc. or for non-compliance with the applicable laws and regulations of the government and local authorities, not obtaining the relevant license and permits etc. for execution of the work order.

- INDEMNITY:

- The Bidder shall indemnify, defend and hold harmless CESC LIMITED and all of their directors, officers, employees, agents and representatives, from and against any claim, demand, cause of action, liability, loss or expense arising:

- By reason of Bidder’s and / or its Sub-vendor (or their Directors, employees etc.) failure to comply with any law, ordinance, regulation, rule or order, or with the Contract. This includes, but is not limited to, fines or penalties by government authorities and claims arising from Bidder’s failure to pay taxes, wages and alike.

- CESC LIMITED shall be entitled to retain from payments otherwise due to the Bidder such amounts as shall reasonably be considered necessary to satisfy any claims, suits or liens for damages that fall within Bidder’s indemnity obligations under this Clause, until such claims suits or liens have been settled and satisfactory evidence to that effect has been furnished to CESC LIMITED.

- DUTIES & RESPONSIBILITIES OF THE BIDDER

- The Bidder shall carry out all related jobs pertaining to the GPR Survey operations at site as per the defined and specified scope of work complying with IS Standards & in accordance with the directives and instructions of CESC LIMITED engineers.

- The supervisors shall be equipped with mobile handsets for communication with engineers of CESC LIMITED. All field staff should be provided with compatible mobile handsets for job allocation & communication by the Bidder at its cost.

- The Bidder shall ensure competent supervision so that the assigned work is carried out in accordance with the provisions of all statutory rules/guidelines as well as safety precautions specified by CESC LIMITED.

- The Bidder shall make all arrangements for tools, tackles, related equipment and safety devices to be used by his personnel in course of discharging their work. The requisite transport arrangement for the Bidder’s crew for commuting within CESC shall be ensured by the Bidder.

- The personnel deployed shall strictly adhere to the instructions issued by the engineers of CESC LIMITED from time to time in the interest of providing the best standard of service.

- The Bidder shall maintain and regularly update records, Reports and allied documents pertaining to CESC LIMITED’s requirements in such formats as specified by CESC LIMITED and produce the same on demand.

- The Bidder shall submit periodic MIS reports to CESC LIMITED for various jobs undertaken by them at intervals to be specified by CESC LIMITED.

- At all points of time, the Bidder shall ensure that his personnel shall work under the overall supervision of CESC LIMITED’s engineers, who shall have to be kept informed of the activities undertaken and the progress of the work at all times.

- Where necessary, the Bidder shall intimate CESC LIMITED engineers to take necessary shut downs before commencement of any work on live lines. In the event of The Bidder’s failure to inform CESC LIMITED and in the event of any accident / casualty / legality thereof, the same shall be the sole liability and responsibility of the concerned The Bidder only.

- The personnel employed by the Bidder shall always be the employee of the Bidder and their working hours, rates of compensation and all other related matters concerning their employment shall be determined by the Bidder.

- The Bidder shall be responsible for managing the local site conditions/environment & should make itself acquainted with the same.

- The Bidder shall be liable / responsible in any manner, for any claims, demands etc. of his personnel and not involve CESC LIMITED in any manner in respect of such claims & demands. For any matter not resolved by the Bidder & which is escalated to CESC LIMITED management, the Bidder will be liable to comply with the directions of CESC LIMITED management.

- The Bidder shall ensure that his personnel follow the proper code of conduct and ethical practices in their dealings with all stakeholders. Under no circumstances, the personnel engaged shall indulge in any activity of improper or dishonest nature or take any action that may result in financial loss, reputation or otherwise to CESC LIMITED.

- In cases where the Bidder’s personnel are found not adequately qualified or found to be involved in improper / dishonest activities, the Bidder shall arrange for his removal forthwith and provide another qualified / trained personnel towards his replacement within a maximum time period of 24 hours with intimation to CESC LIMITED.

- Where necessary, the Bidder’s personnel shall also have to execute job beyond the operating area of CESC LIMITED as per directions to be issued by CESC LIMITED engineers.

- The Bidder’s employee will not be allowed overtime without written permission from CESC LIMITED Engineer.

- It will be the responsibility of the Bidder to obtain necessary licenses, statutory permissions/approvals for performance of its services