TENDER NO. CESC/MAT/CONST/GRD/08 DATED 14/10/2025

TENDER FOR GENERAL CIVIL REPAIR JOBS AT VARIOUS ESTABLISHMENTS OF CESC IN AND AROUND KOLKATA.

- Introduction:

CESC Limited (CESC), a power utility in private sector and a flagship company under RP-Sanjiv Goenka Group, is engaged in generation (Coal based thermal power plant Budge Budge Generating Station (750 MW) & Southern Generating Station (135 MW)) and distribution of electricity in and around Kolkata to a consumer base of 37 lakh spread over an area of 567 sq km.

CESC Limited invites bids from reputed and experienced Bidders for General Civil Repair Jobs at Various Establishments of CESC in and around Kolkata.

- Important Dates / Bid Schedule:

| Sl No | Description | Date & Time |
| --- | --- | --- |
|  | Date of detailed bid documents available in website | 21/10/2025 24:00 Hr |
|  | Last date of receipt of pre-bid queries (if any) | 22/10/2025 17.00 Hr |
|  | Response of Prebid Queries | 25/10/2025 17.00 Hr |
|  | Last date of Pre-Qualification Bids submission | 27/10/2025 17.00 Hr. |
|  | Last date for Submission of Bid, i.e., both Technical-Commercial & Price Bids along with EMD | 04/11/2025 17:00 Hr |

- Minimum Qualifying Requirements (Pre-qualification criteria):

- The company should have a minimum annual turnover of Rs. 100 Lacs (Rs. 1 crores) in at least two out of the last three Commercial years ending March 2025. Audited Balance Sheet and Profit & Loss statement must be submitted.

- The company must have completed during last 3 years similar projects, out of which at least one project must be worth of Rs. 0.5 crore OR 2 projects of Rs.0.25 crore each. Supporting documents in this connection must be submitted (Order copy & Completion Certificate/Final bill Document).

- The company should also submit a profile of completed and ongoing projects for last 5 Years along with the Order Copy and Completion Certificate. Verification of the same by the representatives of CESC may be facilitated, if required.

The following documents shall have to be submitted along with PQC document.

- Copies of original document defining constitution of legal status, date of establishment and principal place of business. Any company / consortium of companies should be registered under the Companies Act, 1956 and engaged in their respective business for at least the last five years.

- A brief profile of the company stating the organizational hierarchy, total manpower details, offices, and other available infrastructure.

All the above qualifications shall have to be accompanied by supporting documents.

- Pre-Qualification Bid Submission:

Pre-Qualification Bids with supporting documents in Prescribed Format (Annexure I & II) are to be submitted to the Email id: sangram.singha@rpsg.in as a .pdf file positively within 27 October 2025 17:00 Hr

- Bid (Tender) Documents:

Subject to fulfilment of the Pre-Qualifying Requirements mentioned above, the complete set of Bid (Tender) documents shall be issued to the qualified Bidders for subsequent submission of Techno-Commercial Bid.

- General:

- CESC reserves the right to assess the capability/qualifications of the Bidder and/or its sub-contractors to satisfactorily perform the Contract. During such assessment the Bidder may inter alia be required to demonstrate experience of completion of works of similar nature mentioned above.	
 
CESC reserves the right to verify all or any of the above.	
	
CESC reserves the right to seek further documentary evidences from Bidders and/or its sub-contractors in support of fulfilment of the pre-qualification criteria, as above, and refuse to pre-qualify or issue tender bid documents at CESC’s discretion without assigning any reason.

- Subject to CESC being satisfied about the Bidder’s capability to execute the work in totality, the above conditions may be relaxed at its discretion.

- CESC reserves the right to cancel/withdraw the Invitation for Bids without assigning any reasons and shall bear no liability whatsoever consequent upon such decision.

- CESC reserves the right to reject the proposal of any or all Bidders without assigning any reasons whatsoever.

- CESC reserves the right to split the order on multiple bidders based on capabilities / commercials.

- Scope of Work:

Following are the jobs to be executed under the tender, details as follows:

| Sl. No. | Job Description | Location | Completion Time |
| --- | --- | --- | --- |
| i) | General Repair and Decoration work of Park Lane Substation | Park Lane Substation 2, Park Lane, Kolkata-700016. | 3 Months |
| ii) | General Repair and Decoration work of Garden Reach Distribution Station | Garden Reach Distribution Station | 3 Months |
| iii) | General Repair and Decoration work of Belur Receiving Station | Belur Receiving Station 211, Girish Ghosh Road, Belur, Howrah. | 2 Months |
| iv) | General Repair and Decoration work of Jadavpur Distribution Station | Jadavpur Distribution Station K. S. Roy T.B. Hospital Compound, Kolkata-700032 | 2 Months |
| v) | Life extension of the station building by chemical treatment and structural strengthening of Kutighat Distribution Station | Kutighat Distribution Station 28, Jheel Road, Kolkata - 700 002 | 3 Months |
| vi) | Life extension of the station building by chemical treatment and structural strengthening of Dhakuria Distribution Station. | Dhakuria Distribution Station C I T Scheme LXXII, Plot No. 22, 23, 24, Dhakuria, P.S. – Jadavpur Kolkata- 700031 | 3 Months |

The brief scope of work is as below:

- General Repair and Decoration work of Park Lane Substation

Scope of work:

- Internal: (Control Room & Ground Floor Switch floor)

  - Repair: Through plaster repairing at ceiling and wall including checking/repairing windows.

  - Painting:  Applying Synthetic enamel paint at wall and ceiling after proper surface preparation

  - Window: M.S windows to be replaced with aluminum windows.

- External:

  - Repair:   Repairing the cracks, beams at exterior wall surface and chajja repairing work. Damaged rainwater pipes to be replaced with new PVC pipes.

  - Painting:   Exterior weather coat paint on external wall after necessary repair and plastering.

- Boundary Wall and outdoor area:

  - Wall:     Patch plaster repairing of boundary wall & Renewal of damaged portion.

  - Gates:       Repair and painting to Gates.

  - Pavement: Damaged pavement (PCC floor & Paver Block) to be repaired  (d) Cover Slab: Replacing the damaged cover slabs.

- General Repair and Decoration work of Garden Reach Distribution Station

Scope of work:

- Thorough repair of building elements, treatment of dump patches as [per the instruction of Engineer In Charge.

- Painting of the Building and structure on the internal and external faces.

- Compliance to the Quality control measures of the Construction Dept. as per the approved QAP.

- Compliance to the Safety Rules, Regulations and Guidelines.

- Regular Housekeeping, cleanliness and compliance to the ISO.

- General Repair and Decoration work of Belur Receiving Station

Scope of work:

I) Internal:

(a) Painting:  	Acrylic Emulsion paint at wall for control room Synthetic enamel paint at the structural member of GIS Room

White wash at walls & Ceiling for stairs & Gr floor room,

(b) Repairing: 	Miscellaneous Civil works including ceiling & wall repairing,

Repairing of cable trench if any.

II) External:

(a) Painting:  	Exterior weather coat paint over approved primer for Receiving Building.

Synthetic enamel paint at the structural member

(b) Repairing: 	Exterior building wall, chajja repairing Thoroughly.

III) Boundary Wall and outdoor area:

(a)	Painting:  	Exterior weather shield paint on external wall.

(b)	Repairing:  	Patch plastering and repairing of damaged area thoroughly,

Dismantling & construction of boundary wall near toilet block

Refixing of paver block at the damaged area.

- General Repair and Decoration work of Jadavpur Distribution Station

Scope of work:

I) Internal:

(a) Painting:  	Synthetic enamel paint at walls & Ceiling for GIS Building,

Distemper painting at walls & Ceiling for AIS Building (Gr Floor),

Painting inside Cable trench.

(b) Repairing:	Miscellaneous Civil works including ceiling & wall repairing (Gr Floor),

Repairing of cable trench.

II) External:

(a) Painting:  	Exterior weather coat paint over approved primer for GIS & AIS Building.

(b) Repairing: 	Exterior building wall, chajja repairing Thoroughly.

III) Boundary Wall and outdoor area:

- Painting:  		Exterior weather shield paint on external wall.

- Repairing:  		Patch plastering and repairing of damaged area thoroughly,

Refixing of paver block at the damaged area.

- Main Gate: 		Repairing, painting and name inscription on main gate as per Standard CESC norms.

- Life extension of the station building by chemical treatment and structural strengthening of Kutighat Distribution Station

Scope of work:

- External:

  - Knocking down damaged plaster from wall, chajja or any other projected part of building.

  - Plastering:  Renewal of plaster after removal of damaged one. Using Sika rust off, Rust Top, Sika Latex & Hibond etc as per site requirements.

  - Painting: 	 	A) Exterior weather coat paint on external wall over a coat of suitable exterior primer. B) Synthetic enamel painting on MS structure & wooden surface over a coat of primer (d) Renewal of Rainwater pipes.

- Building Internal:

  - Scrapping:  Through scrapping for removal of existing paint layer from wall and ceiling.

  - Knocking down damaged plaster from wall, chajja or any other projected part of building.

  - Plastering:  Renewal of plaster after removal of damaged one. Using Sika rust off, Rust Top, Sika Latex & Hibond etc as per site requirements.

  - Birla putty:  	Applying a layer of Birla putty to wall and ceiling

  - Painting: 	 	For Switch room -Synthetic enamel (Brilliant White) paint at walls and ceiling over a coat of primer.

  - Protecting of all equipment, machine & furniture during painting work

- Boundary Wall, Entrance Gate and Security Room:

  - Painting:  Exterior weather coat paint on wall over a coat of suitable primer and Synthetic enamel painting on IRC net fencing.

  - Renewal of damaged paver block and PCC flooring.

  - Entrance Gates: 	Renewal of Damaged Gate as per standard, including

Inscription of Station details.

- Life extension of the station building by chemical treatment and structural strengthening of Dhakuria Distribution Station.

Scope of work

- External:

  - Knocking down damaged plaster from wall, chajja or any other projected part of building.

  - Plastering:  Renewal of plaster after removal of damaged one. Using Sika rust off, Rust Top, Sika Latex & Hibond etc as per site requirements.

  - Painting: 	 	A) Exterior weather coat paint on external wall over a coat of suitable exterior primer. B) Synthetic enamel painting on MS structure & wooden surface over a coat of primer (d) Renewal of Rainwater pipes.

- Building Internal:

  - Scrapping:  Through scrapping for removal of existing paint layer from wall and ceiling.

  - Knocking down damaged plaster from wall, chajja or any other projected part of building.

  - Plastering:  Renewal of plaster after removal of damaged one. Using Sika rust off, Rust Top, Sika Latex & Hibond etc as per site requirements.

  - Birla putty:  	Applying a layer of Birla putty to wall and ceiling

  - Painting: 	 	For Switch room -Synthetic enamel (Brilliant White) paint at walls and ceiling over a coat of primer.

  - Protecting of all equipment, machine & furniture during painting work

- Boundary Wall, Entrance Gate and Security Room:

  - Painting:  Exterior weather coat paint on wall over a coat of suitable primer and Synthetic enamel painting on IRC net fencing.

  - Renewal of damaged paver block and PCC flooring.

  - Entrance Gates: 	Renewal of Damaged Gate as per standard, including

Inscription of Station details.

- Earnest Money Deposit (EMD):

The bidders are required to furnish a Demand Draft / RTGS of INR 1.0 Lakhs (INR One Lakhs only) from any scheduled bank as EMD, which is to be submitted at the address mentioned below.

EMD shall be forfeited if bidder withdraw the price after submission, declined to accept the Work Order at quoted/agreed rates and /or fails to start/execute the job after getting the Order.

EMD shall be converted to interest free Security Deposit for the successful bidder to whom Work Order is issued. The same shall be released after successful completion of the work & on submission of performance bank guarantee.

BIDS WITHOUT EMD WILL NOT BE ACCEPTED.

- Submission of Bid

Bids shall be submitted in 2 (Two) parts:

1st Part: “TECHNICAL-COMMERCIAL UNPRICED BID”:

This part shall contain the techno-commercial particulars along with the following:

- Soft copy of the EMD. The original copy needs to be submitted to our office.

- A brief profile of the company stating the organizational pattern, Total manpower details, Office, and other facility etc. as per Annexure I (Attached).

- Credentials of carrying out similar job at other places as per clause 3 along with Documentary evidence in support of qualifying criteria.

- PF, ESI License details with validity date.

- The audited balance sheets of last three (03) fiscal years

- Net worth statements duly certified by Chartered Accountant has to be submitted for last 3 years.

- Duly sighed & stamped Scope of Work

- No Deviation Certificate / Schedule of Deviations

- Acceptance to Commercial Terms and Conditions as mentioned in the Tender.

Technical Bids to be mailed to sangram.singha@rpsg.in and sabina.cherian@rpsg.in.

2nd Part: “PRICE BID” shall be submitted considering the Scope of Work as per Section-I (BOQ).

Any price related information/discussion at the time of technical evaluation shall lead to bid disqualification. All price related communications to be done with authorized procurement department member only.

Bid shall be submitted only after complete understanding the tender terms & conditions and undersigned may kindly be contacted in case of queries in relation to the current tender. The Bid prepared by the Bidder, and all correspondence and documents relating to the Bid exchanged by the Bidder and CESC LIMITED, shall be written in the English Language only.

Upon fulfilment of the pre-qualification criteria, the price bid shall be eligible for submission of Price Bid. The Price Bid must be submitted online through the CESC E-Tendering system/CJMS Portal only. A separate link will be shared to the qualified vendors for submission of the Price Bid. Price Bids must not be sent via email or in hard copy. Any such submission will render your bid liable for rejection.

Interested Bidder should collect the Link & Login details of CESC E-Tendering System before 28.10.2025 against submission copy of PAN & GST.

  - The last date and time of submission of the Bid Document is November 4, 2025 (by 05.00 p.m.).

  - Bids shall not be accepted after the deadline date and time.

  - Scan copy of all pages of the Bid papers and other accompanying documents shall be initialled at the lower right-hand corner with ink only and signed where required by the Bidder or any person holding Power of Attorney authorizing him to sign on behalf of the Bidder before submission of the Bid and submitted as Technical Bid.

  - Bid, which is incomplete, obscure or irregular or only for a part of the schedule, is liable for rejection.

  - Bid shall be submitted only after complete understanding of the tender terms & conditions and undersigned may be contacted in case of queries in relation to the current tender.

  - Contact Information:

All the Bidders are requested to send their pre-bid queries (if any) against this tender through e-mail within the stipulated timelines. In case of any clarification, the Bidders may contact the following officials of CESC LIMITED:

Sangram Singha

Addl. Manager (Purchase)

CESC Limited

97 Park Street, 3rd Floor,

Mobile: 9163377068

Email: sangram.singha@rpsg.in

- Validity of Bid

Offer shall be valid for at least 60 (sixty) days from the date of submission.

- Price Basis

All Unit rates to be quoted shall be all-inclusive and firm, including all taxes and duties, except GST. No other charges shall be payable extra beyond the above quoted rate.

The price shall remain FIRM till the completion of the entire scope of work and no escalation/additional cost shall be entertained on any account including delay, detention or restricted working hours.

Any work not written in the item description but required to be executed to perform the scheduled items, must be carried out at no extra cost to CESC Ltd. or unless it is mentioned in writing along with the tender.

In case of any statutory variation in the existing GST which is clearly indicated in price break up will only be considered with proper documentary evidence. However, any increase in existing GST rate, if applicable due to delay for reasons attributable to Vendor, shall have to be borne by Vendor

- Terms of Payment:

    - The payment against bills shall be made in 90 (Ninety) days after certification by the concerned authorities of CESC Limited. subject to deductions, if any, on account of contractual adjustments/penalties and statutory requirements.

    - Running Payment: During progress of work, payments shall be made as warranted to the tune of 90% of the value of the work executed and materials delivered/erected at site against bills to be submitted by the Contractor and certified by the concerned authorities of CESC Limited.

    - Final Payment: Final payment of the balance 10% shall be made after successful handing over and furnishing of warranty bond of equivalent amount.  The payment of such bill(s) (to be certified by concerned authorities of CESC Limited) shall be made in 90 (ninety) days on submission of warranty bond to CESC Ltd.

- Time of Completion:

All work under this Work Order should be completed in all respects within the completion time mentioned against each job as above from the date of Site clearance given by user. Procurement of bought out items shall be scheduled accordingly to complete the job in time.

The work must be carried out during working hours as per availability of front / beyond working hours as per availability of front / all holidays / Sunday in accordance with the instruction of Engineer-In-Charge.

A separate “BAR CHART” for each part showing various stages of work starting from Date of Contract till completion of work & Equipment proposed to be deployed shall be submitted along with the tender. A list of plant & equipment available with the Contractor along with details of manpower shall also be furnished.

- Liquidated Damages

  - Time is Essence of the Contract

  - Contractor shall complete the entire Works covered under the Contract within time period specified as above (Clause No. 10) and any delay in completion will attract Liquidated Damages (LD) as per LD Clause mentioned below

  - Contractor guarantees that the date of completion of Works mentioned in the Contract is firm and final delivery date for completion of Works. It is agreed the actual damages and loss which Owner would incur because of Contractor’s failure to complete the Works by such date would be impracticable and infeasible to determine and that the sum of 0.5 (half of one) % of Contract Price per week is a reasonable and fair estimate of the damages and loss which Owner would suffer for each such week by which Contractor is late in completing said Works

  - It is therefore agreed that in the event of such failure by Contractor, Contractor shall pay to Owner, as Liquidated Damages (and not as penalty) a sum of 0.5(half of one) % of the Contract Price for a delay of each week or part thereof subject to ceiling of 5 (five) % of the Contract price

  - Payment or deduction of Liquidated Damages shall in no way relieve the Contractor from completing the Works and discharging it’s all other obligations under the Contract

  - It is further agreed this Clause shall not constitute a waiver of any rights of Owner to damages and / or other remedies of Owner under the Contract or otherwise for Contractor’s improper performance or default in performance of any other aspect of the Contract

However, any delay, due to the Owner failing to provide necessary information and/or access to site, shall not be to the Contractor’s account & the Completion schedule shall be adjusted accordingly.

- Mobilization of Equipment:

The Contractor should mobilize himself fully within 07 days from the date of placement of work order or written instructions given. Mobilization shall include but not limited to the followings:

All tools and tackles (Mechanical & Electrical) should have proper identification marks and valid certificates, wherever applicable (certificate expiry date should be clearly marked by paint on tools and tackles), copies of which should be submitted along with the offer. CESC reserves the right to check (re-test thru certified part/s – the charges have to be borne by vendors) or reject any such tools and tackles, if found unsafe.

Contractor shall make adequate arrangements of mechanized material lifting and handling tools (such as, hydra, chain blocks, slings, D-shackles etc.) and should ensure continuous and round the clock availability in healthy condition of these equipment to avoid any disruption/difficulty in work.

All such lifting tackles should be of appropriate ratings, tested and certified as per statutes and may be subjected to on-site load test if deemed necessary. Photo-Copies of valid test certificates for all tools and tackles are to be submitted to Safety Department-BBGS at least four days before commencement of job. CESC reserves the right to check and reject any such tools and tackles, if found unsafe.

- Arrangement of Facilities:

  - Water and Electricity at one point shall be provided by the owner at free of cost. However, distribution of the same is under the scope of the contractor for smooth functioning of the work and expenditure on this account is deemed to be included in his quoted rates.

  - Illumination within working area shall be done by CESC / BBGS. However, prior intimation with work schedule and working time to be submitted by the contractor.

- Defect liability Period:

The Works executed by you shall be guaranteed for any defect/ shortfall in materials and workmanship for a period of 12 months from the date of commissioning.

Within this period, you shall be liable to repair / replace, as per Good Engineering Practice and/or as may be mutually settled between the Purchaser and the Contractor, to make good the shortfall / defect to the satisfaction of and at no extra cost to the Purchaser.

- Warranty:

The Works executed by the Contractor shall be guaranteed for any defect/ shortfall in materials and workmanship for a period of 24 months from the date of commissioning. For latent defects, the Contractor’s liability as mentioned in GCC shall remain till the end of 5 years from the date of completion of Warranty Period.

- Warranty Bond:

Warranty Bond, as per the prescribed format (As per Section IV), shall be valid till end of Warranty period and the same shall be extended by the Contractor, if the warranty is extended due to some reason.

- Local Issues:

Contractor should maintain good rapport with the local people during the work, so that the job can be completed smoothly. All the incidental expenses on account of any local issues are to be borne by the Contractor.

- General Condition of Contract (GCC): As per section II

- Safety Terms & Condition: As per Section III

- Bank Guarantee Formats: As per Section IV

- Specification: As per Section V

- QAP & Test Plan: As per Section VI

- Specification List: As per Section VII

- No Deviation Sheet: As per Section VIII

- Stoppage of Work:

If at any time the Purchaser decides to abandon or reduce the scope of work for any reason whatsoever the payment shall be made according to the reduced scope of work and the contractor shall not be eligible for any claim regarding payment of compensation.

- Termination of Contract:

If at any point of time during the term of this contract, Contractor fails to perform as per terms & condition of the contract or fail to achieve the above milestone as per time span specified above, CESC shall have the right to terminate the Contract by giving 3 days’ notice to you. You shall de-mobilise the site and remove all materials from site within 15 days from the date of termination letter at your cost. Any materials remaining at site beyond this date shall be disposed off from our end, without any further reference, and the costs so incurred by us for such disposal shall be recovered from your final bill.

- Other Terms & Conditions

- General Conditions

- CESC shall not be responsible for misplacement or delayed receipt of Bid Documents.

- Bid Documents are non-transferable.

- CESC reserves the right to reject any or all proposals without assigning any reason whatsoever.

- CESC is not bound to accept the lowest offer and reserves the right to accept any offer in the best interest of the Company.

- CESC reserves the right to cancel or withdraw the bidding process at any stage without assigning any reason and shall bear no liability for such a decision.

- Post bid evaluation, CESC reserves the right to negotiate the price with any or all bidders.

- CESC reserves the right to split the job among multiple bidders to achieve the best techno-commercial outcome and ensure timely completion.

- Material Specifications

- Cement used shall be Portland Slag Cement (IS: 455) or Portland Pozzolana Cement (IS: 1489) from approved brands: ACC / Ambuja / Lafarge / Ultratech.

- Steel used shall be Fe-500 grade as per relevant IS codes from approved brands: TATA / SAIL / RINL.

- Contractor Eligibility & Site Preparation

- Bidders must have executed similar work in the last 3 years.

- Site visit is mandatory prior to bidding to assess actual working conditions.

- Mobilization & Execution

- Contractor shall mobilize all required manpower, equipment, and infrastructure within the stipulated time in coordination with plant authorities.

- All jobs must be executed in parallel with adequate deployment of supervisors and skilled workers.

- Only double-layer M.S. scaffolding is permitted; bamboo scaffolding is strictly prohibited.

- Quoted rates shall be inclusive of all delays, detentions, and restricted working hours.

- Materials, Tools & Equipment

- All coating materials shall be from reputed manufacturers, preferably of the same brand.

- Chemicals shall conform to manufacturer specifications or as directed by the Engineer-in-Charge (EIC).

- Contractor shall arrange all tools and equipment required for surface preparation, painting, and electrical works (excluding power supply).

- Planning, Reporting & Quality Assurance

- A detailed work schedule (Bar Chart) shall be submitted post award.

- Daily progress reports must be submitted in the prescribed format.

- Work shall be executed as per approved QAP under supervision of a qualified quality engineer.

- Each stage of work must be approved by EIC before proceeding. Paint batch numbers and dates must be recorded.

- Maintain all documentation for ISO 9001, 14001, and 45001 compliances.

- Execution Conditions

- Work shall be carried out while the unit is operational, without affecting power generation.

- All workers must possess valid gate passes and permits.

- Subcontracting is not permitted without prior written approval.

- Safety & Compliance

- Contractor shall provide all PPE, safety harnesses, and nets. All safety gear must be approved by plant safety.

- A competent safety supervisor must be deployed at site.

- Non-compliance with safety norms may attract penalties up to 5% of contract value.

- Conduct regular Tool Box meetings and adhere to the 39-point safety checklist.

- All lifting tools and electrical equipment must be certified and approved by plant safety.

- All workers must be covered under valid medical insurance.

- Details as per section V attached.

- Site Management & Cleanliness

- Waste materials, including empty containers, must be disposed of as per instructions. Final payment is subject to site clearance.

- All scrap and debris must be removed to designated areas before final billing.

- Daily housekeeping must be ensured, including cleaning of floors and staircases.

- All equipment, unused materials, and tools must be removed within 48 hours of work completion, failing which a penalty up to 5% of order value may be levied.

- Nameplates, indicators, and instruments must be protected during painting.

- Paint estimation and mixing must be done based on actual area and requirement.

- Maintain daily records of cleaning, paint thickness, and batch details for verification.

- Other Conditions

- No extra claims shall be entertained beyond the agreed scope of work.

- No post-bid clarifications regarding site conditions shall be entertained.

- No financial adjustments shall be made due to lack of site knowledge.

- Contractor shall clear vegetation and jungle growth within the battery limit as required.

- All survey work, if required, shall be carried out using the latest instruments.

------- xxx -------

Annexure I

Company Profile

| 1. | Name of the organization |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2. | Contact Details | Postal Address |  |  |  |
|  |  | Contact Person |  |  |  |
|  |  | Telephone nos. |  |  |  |
|  |  | Email id |  |  |  |
| 3. | Year of establishment (Proof of Incorporation to be submitted) |  |  |  |  |
| 4. | Status of the firm (Endorse copy) |  |  | Proprietary / Partnership / Pvt. Ltd / Public |  |
| 5. | Name of Directors / Partners / Proprietor |  |  | i) ii) iii) |  |
| 6. | Statutory Regulations/License |  |  | Trade license, PAN, GST, P/F, ESI, etc. (MENTION DETAILS – INDIVIDUALLY WITH SUPPORTING DOCUMENTS) - Trade license – - GST- - P/F- - ESI – |  |
| 7. | Manpower Strength (attach PF/ESI statement for last year) |  |  | Complete organization chart with no. of employees in each segment (supervisor, highly skilled, skilled, semi-skilled, un-skilled) needs to be furnished |  |
| 8. | Annual Turnover (Rs. Crores) for last 3 years (attach Profit & Loss accounts and Balance Sheet) |  |  | i) ii) iii) |  |
| 9. | Please mention if the bidder is having any litigation of any of the projects in last 5 years. |  |  |  |

*  Supporting documents needs to be submitted against all the above points.

SIGNATURE	 ___________________________

NAME		 ___________________________

DESIGNATION	____________________________

COMPANY SEAL	 ___________________________

DATE 		 ___________________________

Annexure – II

NAME OF THE BIDDER:

| Sl No | Name of Client and location | Details of Job carried out | Order Value (INR Lakh) | Order date |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |

SIGNATURE	 ___________________________

NAME		 ___________________________

DESIGNATION	____________________________

COMPANY SEAL	 ___________________________

DATE 		 ___________________________

NOTE:

- The claimed experience shall be supported by documentary evidence i.e. Work Orders, Completion Certificates, etc.