TENDER NO. MPSL:DF:TN:068   DATED 27.05.25

TENDER FOR O&M AND CAPEX JOBS

AT MALEGAON POWER SUPPLY LIMITED (MPSL)

Malegaon Power Supply Limited (herein referred as “MPSL”) a Distribution Franchisee situated at Nasik District of Maharashtra, wholly owned subsidiary of CESC Limited, Kolkata, invites Bid for Providing Services for O&M and Capex Jobs at Distribution franchise area of Malegaon Power Supply Limited (MPSL), based on the Scope of work and terms & conditions as detailed hereunder.

Open Tenders are invited from the interested bidders for a Rate Contract to be valid for 3 years as furnished below:

- CALENDAR OF EVENTS

| (a) | Date of detailed bid documents available in website | 27.05.2025 |
| --- | --- | --- |
| (b) | Last date of receipt of pre-bid queries (if any) | 03.06.2025 |
| (c) | Response of Prebid Queries | 06.06.2025 |
| (d) | Last date and time of receipt of both Technical & Price Bids | 17.06.2025 |

- DEVIATIONS FROM TENDER

Normally, the deviations to tender terms are not admissible and the bids with deviation are liable for rejection. Hence, the bidders are advised to refrain from taking any deviations on this Tender. Still in case of any deviations, all such deviations shall be set out by the Bidders and same shall be submitted as a part of the Technical Bid.

- PRE-QUALIFICATION CRITERIA

| Sr No | Parameter | MPSL Requirement | Documents to be submitted by Bidder |
| --- | --- | --- | --- |
| A | Technical Pre-Qualification Requirements |  |  |
| 1 | Technical Experience | Bidder should have experience in Providing Maintenance Services / AMC works for 11 kV & 33kV level in any power distribution utility during last 3 years and should have executed cumulative contract with value equal to or more than Rs. 10 Cr. during last three financial years. | Copy of work order / completion certificate to be submitted in this regard. |
| 2 | Technical Experience | Bidder should have successfully completed 11kV & 33 kV or higher Electrical Distribution project works of cumulative Value of Rs 5 Crs. in last three financial years. |  |
| 3 | Technical Performance | Bidder should have Performance Certificates for at least two years satisfactory performance from minimum 1 reputed utility for O&M works of 11 kV & 33 kV level. | Performance certificate and contact details of the client need to be submitted. In case the bidder has a previous association with CESC or its group Companies for similar services, the performance feedback for that bidder from User Group shall only be considered irrespective of performance certificates issued by any third organization. |
| 4 | Technical Performance | Bidder should submit the performance certificates from at least 1 reputed company successfully completed 11kV & 33 kV or higher Electrical Distribution Project works. |  |
| 5 | HT License | The prospective Bidder(s) should be a registered Sole Proprietor Firm/ Partnership Firm/ Company, possessing valid HT Electrical License for working up to 33 KV level from the Government of Maharashtra. In case, the Bidder is not having HT license issued by Govt. of Maharashtra, the contractor should furnish the documents as a proof to MPSL, that they have applied for HT Contractor License to Govt. of Maharashtra along with an undertaking that HT license shall be submitted within 40 Days from the issue of contract. | Copy of Valid HT License / HT License along with Undertaking to be submitted by Bidder. |
| B | Financial Pre-Qualification Requirements |  |  |
| 1 | Commercial Capability | The bidder should have Average Annual turnover of at least Rs. 15 Cr. for last 3 Financial Year (FY 20-21, FY 21-22 & FY 22-23.) | Copy of audited P&L Account to be submitted in this regard |
| 2 | Statutory Requirement | The Bidder should possess the following: Valid EPF Registration Certificate. Valid ESI Registration Certificate. Valid GST Registration Certificate. Valid PAN No. | Certificate/ registration copy of the same to be submitted |
| 3 | No Insolvency and No Bankruptcy | The bidder has not been blacklisted/debarred by any central/state government institution/Electricity utilities and there are no pending proceedings against the bidder under the Insolvency and Bankruptcy Code, 2016 (“IBC”). | Undertaking for both the points as mentioned need to be submitted in this regard |
| 4 | No Litigation | The Bidder shall don’t have any Litigation pending with the CESC or its Group / Associates Companies. | Undertaking for both the points as mentioned need to be submitted in this regard |

- MANDATORY DOCUMENTS REQUIRED ALONG WITH THE BID

- Requisite Documents for compliance to Qualification Criteria mentioned in Clause # C).

- Duly signed and stamped ‘Schedule of Deviations’ as per Annexure I on bidder’s letter head.

- Duly signed and stamped ‘Schedule of Commercial Specifications’ as per Annexure II on bidder’s letter head.

- Proper authorization letter/ Power of Attorney to sign the tender on the behalf of bidder.

- Copy of PAN, GST, PF and ESI Registration (In case any of these documents is not available with the bidder, same to be explicitly mentioned in the ‘Schedule of Deviations’)

- PROCESS OF SUBMISSION OF TENDER:

Bidders are requested to submit their offer in line with this Tender document. MPSL shall respond to the clarification raised by various bidders and the replies shall be sent to all participating bidders through email.

Bids shall be submitted in 2 (Two) parts:

1st Part: “TECHNICAL BID” :

This part shall contain the techno-commercial particulars along with the following:

- A brief profile of the company stating the organizational pattern, Total manpower details, Office and other facility etc.

- Credentials of carrying out similar job at other places.

- PF, ESI License details with validity date.

- The audited balance sheets of last three (03) fiscal years

- Net worth statements duly certified by Chartered Accountant has to be submitted for last 3 years.

- Documentary evidence in support of qualifying criteria.

- No Deviation Certificate as per the Annexure I – Schedule of Deviations

- Acceptance to Commercial Terms and Conditions viz Payment terms etc. as per the Annexure II – Schedule of Commercial Specifications.

Technical Bids to be mailed to chandra.sahoo@rpsg.in , saurav.ganguli@rpsg.in

2nd Part: “PRICE BID” with commercial terms & conditions shall be submitted considering the Scope of Work as per Annexure-I

Bid shall be submitted only after complete understanding the tender terms & conditions and undersigned may kindly be contacted in case of queries in relation to the current tender. The Bid prepared by the Bidder, and all correspondence and documents relating to the Bid exchanged by the Bidder and the MPSL, shall be written in the English Language only.

Price Bid documents should be duly submitted as per “Price Schedule” attached only.

Detailed Price Schedule ie. Price Summary Sheet, Price Schedule for Manpower Cost, Price Breakup of Vehicle Cost, Price Schedule of Materials for Capex Jobs, Price Schedule of various Services for Capex Jobs should be duly filled up by the Bidder in all respect.

No deviations in the price schedule format provided shall be considered for evaluation.

Price Bid to be submitted in password protected format only to chandra.sahoo@rpsg.in & saurav.ganguli@rpsg.in .

Password shall be sought from technically qualified bidders and the same to be mailed to tender.rpsg@rpsg.in only when asked from our end.

Bidder shall not mark any copies of the email containing the password to any of us.

Technical & Price Bid to be submitted vide e-mail, clearly mentioning the subject line as –

“MPSL:DF:TN:068 Dated 27.05.25 - Tender for O&M & Capex Jobs at Malegaon Power Supply Limited”

- CONTACT INFORMATION

All the bidders are requested to send their pre-bid queries (if any) against this tender through e-mail within the stipulated timelines. In case of any clarification, the Bidders may contact the following officials of MPSL:

For Technical Issues:                                  For Commercial Issues:

Mr. Liladhar Sonule                                       Mr Chandrasekhar Sahoo

(Head, Technical), MPSL                            Email: chandra.sahoo@rpsg.in

E-mail: liladhar.sonule@rpsg.in             Mob - 7894441407

Mob: 8108600495

Mr Saurav Ganguli

E-mail : saurav.ganguli@rpsg.in

Mob: 9007170640

- EVALUATION CRITERIA

- The bids will be evaluated technically & commercially on the compliance to tender terms and conditions.

- The bids of technically qualified bidders shall be evaluated commercially on the overall lowest cost. MPSL reserves right to split the order line item wise and/or quantity wise into more than one Bidder. Hence all bidders are advised to quote their most competitive rates against each line item.

- Bidders have to provide breakup of the prices as quoted by them against line items “PRICE SCHEDULE”.

- Bidder have to mandatorily quote against each item as per “PRICE SCHEDULE” and strictly as per the defined format. Failing to do so, the bids are liable for rejection.

- AWARD DECISION

MPSL shall award the contract to the successful bidder whose bid has been determined to be the lowest-evaluated responsive. The Cost for the said calculation shall be taken as the all-inclusive cost quoted by bidder as “PRICE SCHEDULE”. The decision to place purchase order/LOI solely depends on MPSL on the cost competitiveness across quality of service and bidder’s capacity, in addition to other factors that MPSL may deem relevant.

MPSL reserves all the rights to award the contract to one or more bidders to meet the requirement or nullify the award decision without assigning any reason thereof.

In case any supplier is found unsatisfactory during the execution process, the award will be cancelled and MPSL reserves the right to award other suppliers who are found fit.

- POST AWARD CONTRACT CONDITIONS

- The contract shall be valid for a period of three (3) years. However, at the end of first 06 months, MPSL shall conduct an organization wide survey on the overall performance of the Bidder and shall further decide on the continuation/ termination of the contract accordingly. The decision of MPSL in this regard shall be final and binding on the Bidder. In case of termination of services, MPSL shall allow a suitable notice period of at least 30 days to the Bidder, however there shall not be any forfeiture of PBG in case of such termination for convenience of MPSL.

- Any change in statutory taxes, duties and levies during the contract period shall be borne by MPSL.

- Once Contract is awarded and the bidder shall deploy the required workmen and has to take Labour License.

- All the terms and conditions of MPSL GCC shall be applicable.

- MPSL shall conduct an interview for the O&M personnel to check the experience in the field operation (like operating of fire extinguisher, mob management etc.) before engagement at the workplace.

- VALIDITY OF BID

Offer shall be valid for at least 150 days from the date of submission.

- CONTRACT PERIOD:

Contract period shall be 3 (Three) years from the date of engagement of services at site

- CONFIDENTIALITY AND NON-DISCLOSURE:

- In the event of a Contract with MPSL, Bidder shall agree (unless otherwise required by law) that it shall not disclose to any other person information classified as proprietary, sensitive, or confidential in nature.

- The obligations of confidentiality undertaken during the Contract shall continue for the term of the Contract and for a period of 1 (one) year following the termination of the agreement.

- WAIVER

The failure of either Party (DF/Service Provider is herein referred as ‘Party in singular or “Parties” to denote both MPSL & Service Provider to enforce at any time any of the provisions of this Contract, or to require at any time performance by the other Party of any of the provisions hereof, shall in no way be construed to be a waiver of such provisions, nor in any way to affect the validity of this Contract or any part hereof, or the right of either Party thereafter to enforce each and every provision.

Waiver by either Party of any default, breach or non-performance hereunder shall not constitute nor be construed as a waiver of any succeeding default, breach, or non-performance, whether of the same type or kind as before or not.

- INSTRUCTION TO BIDDERS:

- MPSL may at his discretion, extend deadline for submission.

- Bidders are advised to study the bid document carefully. Submission of bids against the tender notice shall be deemed to have been done after careful study and examination of the procedure, terms and conditions stipulated in the bid documents with full understanding of its implications.

- The MPSL reserves the right to cancel any or all the bids without assigning any reason thereof.

- Before Submission of the Bid, the Bidder is advised to fully familiarize himself with the site

conditions and job requirements etc.

- Bidders shall be fully responsible for providing all equipment, materials, system, and services etc.

- PRICE BASIS

The quoted rates shall remain FIRM and fixed for the entire duration of the contract period of three (3) years. However, in case of any revision in minimum wages by the State Government through official notifications, the same shall be considered for adjustment. Such adjustments shall be limited to the component of minimum wages, supported by documentary evidence and further management approval. No other escalation shall be entertained during the contract period."

However for the List of Services of Capex jobs, as mentioned in Clause No. H.(iv) of Section 1A of “Scope of Work“,  the prices shall remain FIRM during the entire tenure of the contract period of 3 years. No price revision in terms of minimum wages shall applicable.

- PAYMENT TERMS:

Bills raised by the Service Provider will be paid within 30 (thirty) days from the date of submission of error free certified bills by user department subject to statutory deductions as per applicable rates.  Below supporting documents to be submitted to the designated official of MPSL along with the bill,

- Photocopy of Wages Register under Contract Labour (R & A) act, 1970, of the previous month, reflecting the names of those guarding Personnel.

- ESI and PF paid challans of the previous month.

- Photocopy of the prevailing Minimum Wages notification issued by the Labour Department, Govt. of Maharashtra.

- PERFORMANCE BANK GUARANTEE

- Bidder shall furnish Performance Bank Guarantee covering 5% of the Total Contract value and which shall remain valid throughout the entire tenure of the contract.

- In the event there is a delay in submission of Performance Bank Guarantee, the MPSL shall have the right to withhold equivalent amount of payment against Invoices at its discretion, till such Bank Guarantee is furnished as per requirement.

- The format of Performance Bank Guarantee shall be provided by the MPSL.

    - Damages for not furnishing the Performance Bank Guarantee shall be assessed and recovered from the Bidder at predetermined rates to be communicated by the MPSL. The predetermined rate shall be based on the sole discretion of MPSL and which shall be final.

    - The Performance Bank Guarantee shall be released and returned after expiry of Contract Period and after full realization by the MPSL of all recoverable amounts (if any) due from the Bidder in terms of the contract. Bidder shall be liable to pay to the MPSL such recoverable amounts or the same shall be deducted by the MPSL from the Bidder’s bill(s) before release and return of the Performance Bank Guarantee to the Bidder.

- PENALTY TERMS:

Besides, penalty for Non-Performance as per SLA for individual jobs, the Bidder will be liable for additional penalties as under :

  - Penalty for non-compliance of statutory obligations will be levied @ 1.5 times the value of non-compliance. Said amount will be retained from the monthly bill & will be refunded if compliance is made within 30 days failing which retained amount will be deducted as penalty

  - Penalty for not reporting the network tampering, theft of electricity, network elements prone to safety hazards, illegal shifting of network element, illegal construction/extension compromising the mandatory network clearance etc @ Rs. 25000/- (Rs. Twenty Five Thousand) per observation will be deducted from monthly bill which will increase no of times such instance is observed from same of different employee of the Bidder ( e.g. Rs. 50000/- for 2nd instance, Rs. 75000/- for 3rd instance) & possible termination in case of 4 or more instances.

  - Penalty for indulging in corrupt practices leading to loss of revenue to MPSL @ Rs. 25000/- (Rs. Twenty Five Thousand) per instance will be deducted from monthly bill which will increase no of times such instance is observed from same of different employee of the Bidder ( e.g. Rs. 50000/- for 2nd instance, Rs. 75000/- for 3rd instance) & possible termination in case of 4 or more instances.

  - Penalty for violation of safety norms @ Rs. 10000/- (Rs. Ten thousand) per instance will be deducted from monthly bill which will increase no of times such instance is observed from same of different employee of the Bidder ( e.g. Rs. 20000/- for 2nd instance, Rs. 30000/- for 3rd instance) & possible termination in case of 4 or more instances.

  - Penalty for working overtime without written permission of MPSL Engineer @ Rs. 5000/- (Rs. Five thousand) per instance will be deducted from monthly bill which will increase no of times such instances are observed (e.g. penalty for 2nd instance will be Rs. 10000/- & for 3rd instance will be Rs. 15000/-) & possible termination of contract in case of 4 or more instances.

  - Penalty for misconduct @ Rs. 5000/- (Rs. Five thousand) per instance will be deducted from monthly bill which will increase no of times such instances are observed (e.g. penalty for 2nd instance will be Rs. 10000/- & for 3rd instance will be Rs. 15000/-) & possible termination of contract in case of 4 or more instances of misconduct

Misconduct shall refer to

    - Disobedience of directions of or misbehaviour with MPSL Officers

    - Interaction with consumer in non-professional way including any form of verbal/physical abuse or not under the purview of task to be performed

    - Any form of harassment to the consumer i.e. asking for bribe, reaching consumer beyond duty hours, asking consumer for favour

    - Provide those consumers services with or without any charge/personal gain who have not been allocated

    - Not wearing uniform & not carrying I-card during duty time

  - The total penalty in the month will be limited to 10% of the monthly bill amount as per contract.

  - The concerned employee indulged in any above instance will have to be removed at first instance itself & replaced by suitable resource

- MAINTENANCE OF SAFETY GUIDELINES:

Bidder shall follow the standard safety guidelines provided by MPSL.

It is to be distinctly understood that Bidder shall have to strictly follow such guidelines during execution of their work

- OBLIGATIONS OF THE SERVICE PROVIDER:

- Bidders ought to be well acquainted and aware of the local conditions and factors through strict surveillance/monitoring, which may have any effect on rendering of services.

- Service Provider shall have contingency backup of manpower and equipment as per exigencies.

- Besides conditions as mentioned above, Bidder shall undertake to appoint a nodal person for monitoring activities related to quality, safety and time adherence of jobs. He would work as the co-coordinating person with MPSL.

- Service Provider shall maintain proper documentation as required in the job scope and further advised by MPSL.

- They shall comply with all applicable labour Laws/ model standing orders and other statutory provisions as applicable and fully observe all safety Rules and Regulations. It shall be their responsibility to ensure all related safety measures.

- Service Provider shall strictly adhere to all applicable environmental norms and avoid any violation of the same.

- Service Provider shall be directed to disburse prevailing Minimum Wages, as in force and revised from time to time, in accordance with the Minimum Wages Act, 1958 / Maharashtra O&M Guard Board Act 1981, to all the guarding personnel.

- Service Provider shall ensure actual payment given to the personnel on or before 10th every and shall produce evidence of payment of wages, PF, ESI etc. Income tax and other taxes, if any will be deducted from the bill as per applicable tax. The disbursement should be done in the presence of O&M and/ or uses & IR department of MPSL, if so desired. After making the payment the service provider will submit Payment Register as a proof thereof.

- Comprehensive & appropriate insurance policies must be arranged by Bidder in respect of all risks involved in execution of this Work Order, covering liabilities related to third party as well as Bidder’s own staff and Bidder shall keep MPSL indemnified against all eventualities in the matter. Bidder will cover their employees under ESIC/ Mediclaim/WC and for third party liabilities Bidder will take maximum one-month service charges liability; it would be decided after joint inquiry.

- Service Provider is required to submit a copy of the valid Labour License, as per Contract Labour (R & A) Act, 1970.

- Service Provider bear all incidental expenses.

- The Service Provider shall be responsible for providing the requisite man-hours as detailed above on round-the-clock basis on all days or as specified. If the persons falling sick avail leave or remains absent appropriate replacement should be made immediately. If at any time additional man-hours are required, the same will be provided by the service provider for which payment will be made on pro-rate basis.

- The Service Provider shall be responsible for providing the requisite man-hours as detailed above on round the clock basis on all days or as specified. If the person falling sick avail leave or remains absent appropriate replacement should be made immediately.

- COMPLIANCE OF LABOUR LAWS:

- Service Provider shall pay wages to his personnel, which shall not be less than those prescribed under the Minimum Wages Act, 1948 and subsequent amendments (if any).

- Service Provider shall pay wages to his personnel without any deductions of any kind except those specified by the Central Government or as permissible under the Payment of Wages Act, 1936 and subsequent amendments (if any).

- Service Provider shall comply with all relevant provisions of Employees’ Provident Funds and Miscellaneous Provisions Act, 1952, the Employees’ State Insurance Act, 1948 and the regulations made thereunder.

- Service Provider shall also be responsible for and shall pay full compensation to his personnel, payable against injury/accident on duty under the Workmen’s Compensation Act, 1923 and amendments thereto. Under no circumstances, MPSL shall be liable for any payment on such account to the Service Provider’s personnel. Bidder shall keep MPSL indemnified against the same and from all proceedings in respect thereof.

- In every case in which by virtue the provisions of Section 12 (1) of the Workmen Compensation Act, 1923, MPSL becomes obliged to pay compensation to a personnel engaged by the Service Provider, MPSL shall recover from the service provider, the amount of compensation so paid, and without prejudice to the rights of MPSL under Section 12 (2) of the said Act, MPSL shall be at liberty to recover such amount or any part thereof by deducting the same from any sum due to service provider whether under the concerned Contract or otherwise or as a debt payable by the Service Provider.

- Service Provider shall comply with and must ensure that all its personnel shall comply with all applicable laws and ordinances and all orders, rules and regulations issued by the State of Maharashtra from time to time.  In the event of non-compliance, Bidder shall take prompt corrective measures and shall keep MPSL indemnified against any loss that may arise against MPSL in this regard.

- Service Provider shall ensure full compliance of above (‘a’ to ‘f’) and MPSL shall not be responsible for any violation of the above by the Service Provider.

- REPRESENTATIONS AND WARRANTIES:

- Service Provider shall represent and warrant MPSL that it possesses all licenses, permits, clearances, approvals registrations to operate and maintain   the system as per scope.

- Service Provider shall represent and warrant MPSL that it has complied with all the eligibility criteria and conditions and further undertakes to comply with and fulfil the resource requirements from time to time.

- Service Provider shall further undertake and assure MPSL that it shall utilize its complete skills, capacity and expertise towards successful job execution adhering to safety norms and environmental measures, to the complete satisfaction of MPSL.

- GOVERNING LAW AND JURISDICTION:

The Contract will be governed, construed, and interpreted in accordance with the laws of India. The Courts at Mumbai, Maharashtra shall have the exclusive jurisdiction in respect of all matters pertaining to this Contract.

- ASSIGNMENT AND SUBLETTING OF CONTRACT:

Service Provider shall not assign this Contract wholly or in part, without first obtaining the written consent of MPSL. Such subletting shall not relieve it from any obligation, duty or responsibility under the Contract and it shall be and shall remain exclusively responsible to MPSL, with full responsibility on Service Provider for all acts, omissions and defaults of the Sub-Service Provider(s).

- INDEMNIFICATION

Service Provider shall indemnify, defend and hold harmless MPSL and all of their directors, officers, employees, agents and representatives, from and against any claim, demand, cause of action, liability, loss or expense arising:

                - By reason of Service Provider’s and / or its Sub-Service Provider’s (or their directors, employees etc.) failure to comply with any law, ordinance, regulation, rule or order, or with the Contract. This includes, but is not limited to, fines or penalties by government authorities and claims arising from Service Provider’s / Sub-Service Provider’s failure to pay taxes, wages and alike.

                - MPSL shall be entitled to retain from payments otherwise due to Service Provider such amounts as shall reasonably be considered necessary to satisfy any claims, suits or liens for damages that fall within Service Provider's indemnity obligations under this Clause, until such claims suits or liens have been settled and satisfactory evidence to that effect has been substantiated to MPSL.

- RISK PURCHASE:

In case of default or failure by the Bidder to carry out any supplies, work, replace and/or rectify any defective item of work despite follow up by MPSL, MPSL may employ and pay other persons or agencies to carry out the so referred supplies / works and all actual additional costs (over and above the agreed Contract issued to the first Bidder) which MPSL will incur / will have to incur in order to get the supply or job executed plus 20% of the additional costs for referred supplies / works towards MPSL’s administrative charges and expenses thereof, consequent thereon and incidental thereto shall be to the account of the Bidder and such costs and expenses etc. shall be recovered from the Bidder’s Performance Bank Guarantee/pending payments etc.

- GRAFTS AND COMMISSION:

Any graft, commission, gift or advantage given, promised or offered by or on behalf of service providers or its partner, agent, officers, director, employee or servant or any one on his or their behalf in relation to obtaining or to the execution of this or any other Contract with MPSL, shall, in addition to any criminal liability which it may incur, subject to the cancellation of this and all other Contracts and also to payment of any loss or damage to MPSL resulting from any such cancellation. MPSL shall then be entitled to deduct the amounts so payable from any money otherwise due to Service Provider under the Contract.

- NO PARTNERSHIP OR AGENCY:

Nothing in the Contract shall be deemed to constitute a joint venture or partnership between the Parties and the Parties acknowledge and agree that a principal-to-principal relationship exists between the Parties.

- COST RECOVERY:

For any cost recovery to be made by MPSL, in case the due payment being insufficient, Service Provider shall pay the difference to MPSL within 15 days of such advise by MPSL failing which MPSL shall be eligible to take action as deemed fit including charging interest @ 18% per annum for the delayed period.

- FORCE MAJURE

In the event of occurrence of any or all of the following events (Force Majeure events}, if the affected party is prevented from performing any or all of its obligations arising out of this work order, no adverse step shall be taken against the affected party by the other party, during subsistence of the event of Force Majeure: act of God namely fire, flood, epidemics, quarantine restrictions, war, hostility of public enemy, civil commotion, sabotage, explosions, strikes or severe labour unrest, earthquake and other events beyond the reasonable control of affected party.

The affected party shall forthwith, but in no case later than 24 hrs from the time of occurrence of any of the event of Force Majeure inform the other party indicating the obligations that may be prevented to be performed for such event of Force Majeure and shall continue to serve notice in every 3 days during subsistence of such event of Force Majeure. The affected party shall forthwith inform the other party the cessation of the event of Force Majeure and resume performing such obligations which were so long prevented due to event of Force Majeure. The affected party shall take all reasonable steps to prevent and/or early cessation of the event of Force Majeure. The affected party shall, however, perform all other obligations which are not affected by the event of Force Majeure. If the event of Force Majeure continues for a period of 15 days, the parties may be at liberty to re-negotiate this work order.

- TERMINATION OF CONTRACT:

- MPSL reserves the right to suspend and reinstate execution of the whole or any part of the Works without invalidating the provisions of the Contract. Orders for suspension or reinstatement of the Works shall be issued to the service provider in writing.

- MPSL reserves the right to terminate the Contract by giving 30 (thirty) days’ prior written notice to the Service Provider, even without assigning any reason whatsoever, and the Contract shall be terminated on expiry of the said notice period.

- Upon the occurrence of any of the Event of Service Provider's Default, as defined hereunder, MPSL shall be at liberty to serve 60 (sixty) days’ prior written notice specifying them Event(s) of Service Provider’s Default and if such Event(s) of Default is/are not rectified /remedied within 30 days from the date of such notice, to the full satisfaction of the MPSL, the Contract shall be terminated on expiry of the notice period.

Event of Service Provider’s Default - Each of the following Events shall constitute an Event of Service Provider’s Default:

                - The failure to perform any obligation under the Contract.

                - Any Bankruptcy or insolvency of the Service Provider

- MPSL may, at any time, withdraw the suspension of performance of the Works as to all or part of the suspended Works by written notice to Service Provider and Service Provider shall resume diligent performance of the works for which the suspension is withdrawn on the specified effective date of withdrawal.

- Service Provider shall not be entitled to any prospective profits or any damages because of such suspensions or withdrawals of suspension.

- If service provider’s performance is found to be unsatisfactory, MPSL reserves the right to terminate this Work Order, at any time during the above-mentioned period, by serving a notice of one month.

- If suspension continues for more than 180 (One Hundred Eighty) days, unless such suspension is:

                - By reason(s) of the default or failure on the part of the service provider

                - Is necessary for the proper execution of the Works or

                - Is for reason(s) of whether affecting the safety or quality of the work(s)

The reasons for the suspension stated by MPSL in any notice of suspension as aforesaid shall be final and binding upon the Service Provider, the parties shall review and decide on further course of action for the Contract.

- DISPUTE RESOLUTION AND ARBITRATION:

The Contract shall be governed by and construed in accordance with the laws of India. In the event of any dispute or difference between the Parties arising out of the Contract including the interpretation of the terms thereof, the Parties shall attempt to resolve the dispute in good faith through senior level negotiations.  In case any such dispute or difference is not amicably resolved within forty-five days of such referral, it shall be referred for arbitration to an arbitral tribunal comprising of a sole Arbitrator in accordance with the provisions of the Arbitration and Conciliation Act 1996 or any statutory amendment, modification or re-enactment thereof as may be in force at the material point of time of reference of the disputes.  The sole Arbitrator shall adopt a fast-track procedure mandated under the provisions of the Act.  The Arbitrator shall give a reasoned award which shall be binding upon the Parties.  The place of arbitration shall be Mumbai, Maharashtra and the language of the arbitration shall be English.

During settlement of disputes and pendency of the arbitration proceedings, both Parties shall be obliged to carry out their respective obligations under the Contract.

- CONTACT PERSON

- NODAL OFFICER

Head (O&M) shall will monitor the complete activities on day-to-day basis for specific jobs

- SUPERVISORY OFFICER

Chief Operating Officer (MPSL) shall be the supervisory officer for execution of this work order and they will be authorized to inspect the work carried out by Bidder from time to time.

- CONDUCT OF BIDDER’S STAFF

If any of the employees of the Bidder, in opinion of MPSL Officials, is guilty of any misconduct or incompetence or negligence, then if so directed by MPSL, the Bidder shall at once remove such employees and replace him by a qualified and competent substitute. The Bidder shall submit/intimate all records of the field staff to the nearest police station and acknowledgement thereof to MPSL, to avoid any mis-happenings. The Id-card will be issued only after furnishing a list of persons duly acknowledged by the police station.

- DEFECT LIABILITY PERIOD

- Defect Liability Period (DLP) shall be for a period of 6 months from the date of completion of Contract period and subsequent extensions (if any). Any defect in workmanship, will be covered under this clause. The Bidder will have to rectify such defects / poor workmanship within 10 (ten) days from the date when the same is communicated to the Bidder.

- In case the Bidder does not attend to the defects / poor workmanship within the specified time, MPSL will have the right to get the work completed on such defects / poor workmanship at the Bidder’s risk and cost and recover the same from the Bidder.

- COST OF REPAIRS

Loss or damage to the any equipment/material/structure/property of MPSL during the work due to negligence on the Bidder’s part or its persons during the contract period is to be on Bidder’s account.

- ELECTRICITY RULES AND REGISTRATION

All works shall be carried out in accordance with the latest provision of the Indian Electricity Act/Electricity Supply Act and Indian Electricity Rules made thereunder applicable in the State of Maharashtra.

- CORRESPONDENCE

All correspondence pertaining to this work order in respect of any clarification required on the terms and conditions, etc. should be addressed to the Chief Operating Officer, MPSL at our Corporate Office at Malegaon

- COMPLIANCE OF LABOUR LEGISLATION

- The Bidder shall pay wages to his personnel, which shall comply those prescribed under the Payment of Wages Act 1936 and Minimum Wages Act, 1948, The Payment of Bonus Act 1965 etc. and subsequent amendments.

- The Bidder shall pay wages to his personnel without any deductions of any kind except those specified by the Central Government or as permissible under the Payment of Wages Act, 1936.

- The Bidder shall comply with all relevant provisions of Employees’ Provident Funds and Miscellaneous Provisions Act, 1952, the Employees’ State Insurance Act, 1948 (in ESI  Implemented area), The Employees Compensation act 1923 (in non ESI implemented area), Contract Labour (R&A) Act 1970, or any other applicable Act and the regulations made thereunder.

- The Bidder shall also be responsible for and shall pay full compensation to his personnel, payable against injury/accident on duty under the Workmen’s Compensation Act, 1923 and amendments thereto without waiting for claim amount. Under no circumstances, MPSL shall be liable for any payment on such account to the Bidder’s personnel. The Bidder shall keep MPSL indemnified against the same and from all proceedings in respect thereof.

- The Bidder is required to get separate code under the provision of EPF and ESI Acts, if not already taken and deposit the employer’s contribution along with employee subscription, as per rule and submit copy of challans at the time of claiming payment, failing which an amount equivalent to employer’s contribution and employees subscription shall be deducted from each of Bidder’s bill and deposited with the concerned authorities. The Bidder shall be solely responsible for any consequences arising out of breach of any legislation.

- In every case in which by virtue the provisions of Section 12 (1) of the Workmen Compensation Act, 1923, MPSL becomes obliged to pay compensation to a personnel engaged by the Bidder, MPSL shall recover from the Bidder the amount of compensation so paid, and without prejudice to the rights of MPSL under Section 12 (2) of the said Act, MPSL shall be at liberty to recover such amount or any part thereof by deducting the same from any sum due from MPSL to the Bidder whether under the concerned Contract or otherwise or as a debt payable by the Bidder.

- The Bidder shall comply with and must ensure that all its personnel shall comply with all applicable laws and ordinances and all orders, rules and regulations issued by the State of Maharashtra from time to time.  In the event of non-compliance, the Bidder shall take prompt corrective measures and shall keep MPSL indemnified against any loss that may arise against MPSL in this regard.

- The Bidder shall ensure full compliance of above (‘a’ to ‘g’) and MPSL shall not be responsible for any violation of the above by the Bidder.

- REPRESENTATIONS AND WARRANTIES:

- The Bidder shall represent and warrant MPSL that it possesses all licenses, permits, clearances, approvals registrations to operate and maintain the system as per scope.

- The Bidder shall represent and warrant MPSL that is has complied with all the eligibility criteria and conditions and further undertakes to comply and fulfil the resource requirements from time to time.

- The Bidder shall further undertake and assure MPSL that it shall utilize its complete skills, capacity and expertise towards successful job execution adhering to safety norms and environmental measures, to the complete satisfaction of MPSL.

- INSURANCE

- Appropriate insurance policies must be arranged by the Bidder towards successful execution of this work order in appropriate fashion covering related risks, third party liabilities and those relating to its staff.

- It will be the responsibility of the Bidder to maintain all necessary insurance coverage to the extent both in time and amount to take care of all its liabilities either direct or indirect, in pursuance of the Contract.

- MPSL will not be responsible for any claim/demand arising out of any action/inaction attributable to its personnel. The Bidder shall keep MPSL indemnified against the same and from all proceedings in respect thereof.

- The Bidder will take insurance cover for the material issued to it from issuance till installation/commissioning including transit cum storage cum erection.

- LIABILITY FOR ACCIDENT AND DAMAGES

The Bidder shall indemnify, defend and hold and keep MPSL indemnified from all liabilities resulting out of this work order and act of Bidder’s employees, workmen, representatives, agents, etc. or for non-compliance with the applicable laws and regulations of the government and local authorities, not obtaining the relevant license and permits etc. for execution of the work order.

- INDEMNITY:

The Bidder shall indemnify, defend and hold harmless MPSL and all of their directors, officers, employees, agents and representatives, from and against any claim, demand, cause of action, liability, loss or expense arising:

- By reason of Bidder’s and / or its Sub-vendor (or their Directors, employees etc.) failure to comply with any law, ordinance, regulation, rule or order, or with the Contract. This includes, but is not limited to, fines or penalties by government authorities and claims arising from Bidder’s failure to pay taxes, wages and alike.

- MPSL shall be entitled to retain from payments otherwise due to the Bidder such amounts as shall reasonably be considered necessary to satisfy any claims, suits or liens for damages that fall within Bidder’s indemnity obligations under this Clause, until such claims suits or liens have been settled and satisfactory evidence to that effect has been furnished to MPSL.

- THE BIDDER SHALL SUBMIT COPY OF VALID STATUTORY DOCUMENTS INCLUDING BUT NOT LIMITED TO ELECTRICAL CONTRACTOR LICENSE, LABOUR LICENSE, REGISTRATION WITH STATE LABOUR WELFARE DEPTT, PF/ESI REGISTRATION, GST REGISTRATION, GROUP ACCIDENT INSURANCE POLICY, TERM INSURANCE POLICY, PERFORMANCE BANK GUARANTEE, INDEMNITY BOND AFTER AWARD & BEFORE COMMENCEMENT OF WORK.

The Bidder shall submit checklist declaring validity of above documents along with monthly invoices.

The Bidder shall also submit copy of following documents along with the monthly invoices :

- Attendance sheet

- Wage register

- Challans against payment of PF/ESI

- Challans against payment of GST

- Challans against payment of Professional tax

- FREE ISSUE MATERIALS FROM MPSL STORE

- MPSL shall maintain the inventory of the following items at their stores. These items shall be provided to Contractors by MPSL  stores against  specific job  instruction  (to  be  issued by the MPSL in writing to  the  Contractor)  as against approved vouchers for  carrying out the assigned activities.

- POWER TRANSFORMER

- DISTRIBUTION TRANSFORMER

- ELECTRONIC ENERGY METERS

- LT (1.1 KV) AND HT (11 & 33KV) CABLES

- 11 & 33 KV JOINTS & TERMINATIONS

- LT FEEDER PILLAR BOXES

- TRANSFORMER OIL

- POLES

- 12 KV VACCUM INTERRUPTER FOR OUTDOOR BREAKER

- 9KV & 30 KV OUTDOOR STATION CLASS HEAVY DUTY SINGLE PHASE POLYMERISED LA WITH CONNECTOR FOR ACSR DOG, STC 40KA FOR 3S

- VACCUM INTERRUPTER (FOR CGL OUTDOOR BREAKER OF 12 KV GRADE)

- POLE FOR 12 KV GRADE OUTDOOR BREAKER

- CONDUCTORS

- CT & PT

- ISOLATORS

- The    Contractor shall be   responsible for   collection of   such   inventory materials from MPSL stores by utilizing their own transport and workforce by submission of Issue Vouchers certified by MPSL officials.

- The   Contractor shall submit reconciliation statements to MPSL at specific intervals (period to be   specified by MPSL) as   per   specific   formats (to be specified by MPSL) towards reconciliation of proper usage  of  such inventory Materials against performed jobs assigned to them by MPSL.  In case   of  any shortage  or  discrepancy  of  such  inventory  materials  as   detected by  MPSL during the  process of job-wise reconciliation,  MPSL  shall deduct the  cost   of such  specific materials  from   the   existing bill(s)  of the   Contractor,  on  the basis of the   all-inclusive procurement  price(s)  of immediate last Purchase Order  of  MPSL,  against which materials were   received at  MPSL  stores. Such deduction from  the existing bill(s) of the  Contractor shall be  made by  MPSL  in the event the  concerned Contractor becomes unable  to  reconcile / return to  MPSL  stores (as  the case may be),  the disputed / unreconciled quantity of such materials within 24  hours of notification of such discrepancy by  MPSL to  the Contractor. The decision of MPSL regarding the rates of such items and the amount to be deducted shall be final and binding on the Contractor.

- For Cables, the Contractor shall return the unused lengths of cables in good order & condition (including cut-lengths / part unused drums) to MPSL Stores along with a "Material Return Voucher" certified by MPSL officials. Cable cut-lengths below 5 meter shall not be more than 5% of the length in cable drum). Quantity of cable cut-length (below 5 meter) beyond 5% of cable drum length will be deducted from Contractor’s invoice.

- In  the  event  any  unused  /   unreconciled material  returned  by  the Contractor to  MPSL  stores is  found to  be  damaged (including seals broken  / damaged), the same shall not  be  accepted by  MPSL  stores. In  such case,  the cost  of  such damaged materials shall be  deducted immediately from  their bill(s)  on  the basis of the  all-inclusive procurement price(s)   of  immediate last Purchase  Order of  MPSL,  against which materials were   received at  MPSL stores.  The   decision of MPSL   regarding the rates of such items and the amount to be deducted, shall be final and binding on the Contractor.

- In case the Contractor damages / misplaces such materials while enrooting to   the  work  site  or   during installation at  work site,   the  cost   of  such damaged /  misplaced materials shall be   deducted  immediately  from the bill(s)   of  the  Contractor,  on   the  basis  of  the  all-inclusive procurement price(s)   of immediate last  Purchase Order of  MPSL,  against which materials were received at MPSL  stores. The decision of MPSL regarding the rates of such items and the amount to be deducted shall be final and binding on the Contractor..

g.  The Bidder will take insurance cover for the material issued to it from issuance till

installation/commissioning including transit cum storage.

The bill of quantity and route length mentioned in this specification may vary during execution of the project. Therefore, bidders are requested to consider the same and note that no price variation will be allowed after award of contract to successful bidder.

- DUTIES & RESPONSIBILITIES OF THE CONTRACTOR

- The Bidder shall carry out all O&M & Capex jobs as per the defined and specified scope of work complying with IS Standards & in accordance with the directives and instructions of MPSL engineers.

- The Bidder shall keep competent and trained personnel at Malegaon to carry out all O&M activities and provide MPSL a list of authorized supervisors and workmen engaged by them. The supervisors shall be equipped with mobile handsets for communication with engineers of MPSL. All field staff should be provided with mobile handsets for job allocation & communication by the Bidder at its cost.

- The Bidder shall ensure competent supervision so that the assigned work is carried out in accordance with the provisions of all statutory rules/guidelines as well as safety precautions specified by MPSL.

- The Bidder shall make all arrangements for tools, tackles, related equipment and safety devices to be used by his personnel in course of discharging their work. The requisite transport arrangement for the Bidder’s crew for commuting within MPSL franchisee area shall be ensured by the Bidder.

- The personnel deployed shall strictly adhere to the instructions issued by the engineers of MPSL from time to time in the interest of providing the best standard of service.

- The Bidder shall make full efforts to ensure that the standards of service, including the service time for attending to complaints, line faults, restoration of supply as well as repair of machinery/equipment etc. are adhered to as per MPSL’s specifications and timelines.

- The Bidder shall maintain and regularly update O&M log records, Reports and allied documents pertaining to MPSL’s requirements in such formats as specified by MPSL and produce the same on demand.

- The Bidder shall submit periodic MIS reports to MPSL for various jobs undertaken by them at intervals to be specified by MPSL.

- At all points of time, the Bidder shall ensure that his personnel shall work under the overall supervision of MPSL’s engineers, who shall have to be kept informed of the activities undertaken and the progress made in attending to complaints and outages.

- Where necessary, as in the case of meter burn-outs, the Bidder’s personnel shall duly report the matter to MPSL and under no circumstances, shall undertake to restore the supply without explicit clearance of MPSL.

- The Bidder personnel shall report on mobile app with lat-long & photograph, any sort of illegal activity pertaining to supply of electricity (illegal construction/extension by the consumers compromising the applicable statutory network clearance, illegal shifting of network, pole, DTR etc, illegal hooking with network, meter tampering etc). It will be the responsibility of the Bidder to remove all illegal hooking from electrical network. Any illegal activity at site will be construed as running in connivance on part of the Bidder personnels & necessary action will be initiated by MPSL.

- The Bidder personnel shall make themselves acquainted with the complete electrical network in MPSL area. Where necessary, the Bidder’s personnel shall take explicit clearance from engineers of MPSL before commencing work on LT (1.1 KV) and HT (11 & 33 KV) feeder lines and shall not proceed without obtaining clearance from engineers of MPSL.

- Where necessary, the Bidder shall intimate MPSL engineers to take necessary shut downs before commencement of any work in live lines. In the event of Bidder’s failure to inform MPSL and in the event of any accident / casualty thereof, the same shall be the sole liability and responsibility of the concerned Bidder only.

- The personnel employed by the Bidder shall always be the employee of the Bidder and their working hours, rates of compensation and all other related matters concerning their employment shall be determined by the Bidder.

- The Bidder shall also conduct regular training sessions for its personnel with intimation to MPSL.

- The Bidder shall be responsible for managing the local site conditions/environment & should make itself acquainted with the same.

- The Bidder shall be liable / responsible in any manner, for any claims, demands etc. of his personnel and not involve MPSL in any manner in respect of such claims & demands. For any matter not resolved by the Bidder & which is escalated to MPSL management, the Bidder will be liable to comply with the directions of MPSL management.

- The Bidder shall ensure that his personnel follow the proper code of conduct and ethical practices in their dealings with all stakeholders. Under no circumstances, the personnel engaged shall indulge in any activity of improper or dishonest nature or take any action that may result in financial loss, reputation or otherwise to MPSL.

- In cases where a Bidder’s personnel are found not adequately qualified or found to be involved in improper / dishonest activities, the Bidder shall arrange for his removal forthwith and provide another qualified / trained personnel towards his replacement within a maximum time period of 24 hours with intimation to MPSL.

- Where necessary, the Bidder’s personnel shall also have to attend outages/breakdowns beyond the operating area of the Bidder but within the franchisee area of MPSL as per directions to be issued by MPSL engineers.

- No Bidder’s employee will be allowed overtime without written permission from MPSL Engineer

- It will be the responsibility of the Bidder to obtain necessary licenses, statutory permissions/approvals for performance of its services