NOTICE INVITING TENDER

For supply of 1-phase & 3-Phase Whole Current Meters for CESC - Kolkata for finalizing Rate Contract for 2 years (from Apr’25 to Mar’27)

TENDER NO. PUR:51813 DATED 03.02.2025

NOTICE INVITING TENDER

CESC Limited (CESC), a power utility in private sector and a flagship company under RP-Sanjiv Goenka Group, is engaged in generation and distribution of electricity in and around Kolkata & Howrah to a consumer base of 34 lakh spread over an area of 567 sq km.

CESC invites Tenders (Two-Part Bidding Process) from interested and eligible Vendors for Rate Contract of 2 Years for supply of 1-phase & 3-Phase Whole Current Meters for Kolkata (from Apr’25 to Mar’27):

- Scope of Supply:

Approx. quantity for different types of whole current meters:

| Sl. No. | Item Description | Annual Qty | Qty for 2 Years |
| --- | --- | --- | --- |
| 1 | 1P Whole Current Meters | 1,40,000 | 2,80,000 |
| 2 | 3P Whole Current Meters | 14,000 | 28,000 |
|  | Total Qty for 2 Years |  | 3,08,000 |

The quantity mentioned above is indicative which may vary to the extent of +/- 10%.

- Delivery Terms:

The above meters need to be supplied as per the actual requirement in multiple parts as and when required by CESC within 6-8 weeks from placement of Firm Orders.

Supplies shall be as per periodic delivery schedules issued against formal Purchase Orders.

- Price Basis

The offered price shall be FOR-Site basis (inclusive of freight & insurance, but excluding local warehousing charges).

GST shall be paid extra at actuals.

- Warranty

The Meters to be supplied shall be warranted against all design, manufacturing and workmanship defects and satisfactory performance for a period of 5 (Five) years from the date of delivery of the Meters at site(s) in good order and condition. You shall also be responsible for necessary replacement of the Meters on “Free of Cost” basis within the warranty period in case the same is found faulty due to the reasons mentioned above and also for any deviations from the approved specification detected during usage. Such replacement shall be affected within 4 weeks from the date of intimation of failure.

In case of pre-mature failure of the meters, the approximate cost of Rs.1250/- associated with the replacement of meters shall be levied on you.

- Terms of Payment:

Standard payment term is 90 days from submission of bill after supply & acceptance of meters at CESC designated local warehouse / store.

- Pre-qualification Criteria:

The Bidders shall essentially meet all the Qualification Requirements as under:

  - Bidder's Technical Capability to handle jobs detailed in the Tender

    - The bidder should have own manufacturing facility (in India) for manufacturing of meters under present Bid. Bidder shall submit the undertaking in this regard.

    - The bidder should have in-house testing facilities for acceptance test as per technical specification of CESC. Bidder shall submit the undertaking in this regard.

    - In case of new vendor not registered with CESC, factory inspection and evaluation may be carried out to ascertain bidder’s manufacturing capability and quality procedure. However, CESC reserves right to carry out factory inspection and evaluation for any bidder prior to technical qualification evaluation.

  - Bidder's Financial Capability to handle jobs detailed in the Tender

    - The bidder should have an average annual turnover of Rs.150 Crores in last 3 financial years. Bidder shall submit copy of audited P&L Account in this regard.

    - The bidder should have supplied average 5 Lacs nos. of whole current non-smart meters (considering both 1-Phase & 3-Phase) in last 3 financial years. Bidder shall submit copy of work order / completion certificate in this regard.

    - Bidder shall submit satisfactory performance certificates for the past 1-year experience from 2 reputed companies wherein the end user shall be Generation / Transmission / Distribution / utilities / SEB’s / PSU’s. In case the bidder has a previous association with RPSG Power Group for similar products and services, the performance feedback for that bidder by RPSG Power User Group shall only be considered irrespective of performance certificates issued by any third organization.

- Guidelines for Participating

Interested and eligible vendors can participate by submitting the following within the mentioned closing date.

Pre-Qualification Bid Submission:

Pre-Qualification Bids with supporting documents in Prescribed Format (Annexure I) are to be submitted over email to ushnish.basu@rpsg.in, pradipta.hati@rpsg.in as a .pdf file positively within 14.02.2025 up to 5.00 pm.

Price Bid Submission:

Price Bids are to be submitted through password protected .pdf file over email to ushnish.basu@rpsg.in. Password is to be submitted on request from CESC over email only to  tender.cesc@rpsg.in positively within 24.02.2025 up to 5.00 pm.

- General Terms & Conditions of NIT:

- CESC reserves the right to assess the capability/qualifications of the Bidder to satisfactorily perform the Contract. During such assessment the Bidder may inter alia be required to demonstrate past experience of completion of works of similar nature mentioned above.
 
CESC reserves the right to verify all or any of the above.	
	
CESC reserves the right to seek further documentary evidences from Bidders in support of fulfilment of the pre-qualification criteria, as above, and refuse to pre-qualify at the sole discretion of CESC, without assigning any reason.

- Subject to CESC being satisfied about the Bidder’s capability to execute the contract in totality, the above conditions may be relaxed at its discretion.

- CESC reserves the right to cancel/withdraw the Invitation for Bids without assigning any reasons and shall bear no liability whatsoever consequent upon such decision.

- CESC reserves the right to accept/reject any or all the bids without assigning any reason thereof.

- CESC reserves the right to split the order on multiple bidders based on capabilities / commercials.

- Liquidated Damages:

- Time is Essence of the Contract

- The successful bidder shall complete the entire supply covered under the Contract within time period specified and any delay in completion will attract Liquidated Damages (LD) as per LD Clause mentioned below

- In the event of failure to meet the agreed completion date, the successful bidder shall pay to CESC as Liquidated Damages a sum of 0.5(half)% of the FIRM PO value for per week of delay or part thereof subject to ceiling of 5(five) % of the FIRM PO Value.

- CESC reserves the right to deduct any applicable liquidated damages from payment due to the successful bidder.

- It is further agreed this Clause shall not constitute a waiver of any rights to damages and / or other remedies of CESC under the Contract or otherwise for the successful bidder’s improper performance or default in performance of any other aspect of the Contract.

- Risk Purchase

Any additional costs incurred by the Purchaser due to sourcing the materials from alternate sources in case of Supplier's default shall be charged to the Supplier. The amount shall be deducted from outstanding bills, & other payments lying with us or to be recovered from the Supplier.

- Other Terms & Conditions

  - Pre-Dispatch Instruction: Material shall be subject to inspection by a duly authorized representative of CESC. Inspection may be made at any stage of manufacture at the option of CESC and the equipment if found unsatisfactory as to workmanship or material, the same is liable to rejection. Bidder and/or its Principal Supplier shall grant free access to the places of manufacture to CESC representatives at all times when the work is in progress. Inspection by CESC or its authorized representatives shall not relieve the supplier of his obligation of furnishing equipment in accordance with the specifications. Material shall be dispatched after specific MDCC (Material Dispatch Clearance Certificate) is issued by CESC.

Following documents shall be sent along with material:

    - Test reports

    - MDCC

    - Invoice in duplicate

    - Packing list

    - Drawings & catalogue

    - Guarantee / Warrantee certificate

    - Delivery Challan

    - Other Documents (as applicable)

  - Packing: The material must be packed in suitable packing to suit the mode of transport and to ensure its safe receipt at point of delivery.

Any damage to material noticed at the time of delivery at site, due to improper packing or any other reason whatsoever shall be the responsibility of the Supplier. Such damaged goods shall be replaced within 14 days from intimation from the Purchaser.

  - Transportation & unloading at site: The Supplier shall deliver the Material(s) at site/ Stores as per the delivery address specified in the Purchase order. The unloading at delivery shall be organised by the Purchaser unless otherwise specified. The receipt of the material/ equipment is subject to inspection and rejection if Material(s) is found unsatisfactory or any of the clauses under this purchase order are violated.

- Termination of Contract

- CESC reserves the right to terminate the Contract (without cause and liability) by giving 15 (fifteen) days’ notice to the Supplier without assigning any reason whatsoever.

- In such event the Supplier shall not be entitled to any damages.

- Upon the occurrence of Supplier’s Default, CESC shall deliver a notice (depending upon severity of default) of Termination to Supplier specifying the Termination Date. Upon the Termination Date, the Contract shall be terminated and Risk Purchase shall be applied.

- Dispute Resolution & Arbitration

The Contract shall be governed by and construed in accordance with the laws of India. In the event of any dispute or difference between the Parties arising out of the Contract including the interpretation of the terms thereof, the Parties shall attempt to resolve the dispute in good faith through senior level negotiations. In case any such dispute or difference is not amicably resolved within forty-five days of such referral, it shall be referred for arbitration to an arbitral tribunal comprising of a sole Arbitrator in accordance with the provisions of the Arbitration and Conciliation Act 1996 or any statutory amendment, modification or re-enactment thereof as may be in force at the material point of time of reference of the disputes.  The sole Arbitrator shall adopt a fast-track procedure mandated under the provisions of the Act.  The Arbitrator shall give a reasoned award which shall be binding upon the Parties.  The place of arbitration shall be Kolkata, West Bengal and the language of the arbitration shall be English.

During settlement of disputes and pendency of the arbitration proceedings, both Parties shall be obliged to carry out their respective obligations under the Contract.

- Contact Person:

All correspondence/ inquiry with respect to above may be directed to:

Pradipta Hati

Asst. Manager (Materials)

CESC Limited

Mobile: 9163863172

Email: pradipta.hati@rpsg.in

------- xx -------

Annexure I

Company Profile

| 1. | Name of the organization |  |  |  |
| --- | --- | --- | --- | --- |
| 2. | Contact Details | Postal Address |  |  |
|  |  | Contact Person |  |  |
|  |  | Telephone nos. |  |  |
|  |  | Email id |  |  |
| 3. | Year of establishment (Proof of Incorporation to be submitted) |  |  |  |
| 4. | Status of the firm (Endorse copy) |  | Proprietary / Partnership / Pvt. Ltd / Public |  |
| 5. | Name of Directors / Partners / Proprietor |  | i) ii) iii) |  |
| 6. | Statutory Regulations/License |  | Trade license, PAN, GST, P/F, ESI, etc. (MENTION DETAILS – INDIVIDUALLY WITH SUPPORTING DOCUMENTS) - Trade license – - GST - - P/F - - ESI – |  |
| 7. | Manpower Strength (attach PF/ESI statement for last year) |  | Complete organization chart with no. of employees in each segment (supervisor, highly skilled, skilled, semi-skilled, un-skilled) needs to be furnished |  |
| 8. | Annual Turnover (Rs. Crores) for last 3 years (attach Profit & Loss accounts and Balance Sheet) |  | i) ii) iii) |  |
| 9. | Please mention if the bidder is having any litigation of any of the projects in last 5 years. |  |  |

*  Supporting documents needs to be submitted against all the above points.

SIGNATURE	 ___________________________

NAME		 ___________________________

DESIGNATION	____________________________

COMPANY SEAL	 ___________________________

DATE 		 ___________________________