NIT No. PUR

Open Tender Notification

FOR

02 Years Rate Contract for the Supply of HT and LT Cables in Kolkata, CESC.

Tender Enquiry No.:     Dated

Due Date for Bid Submission:

(Up to 17:00 Hrs)

CESC Ltd.

Purchase Department

97, Park Street, 3rd Floor

Kolkata – 700016, India

Website: www.cesc.co.in

TABLE OF CONTENTS

| SECTION NO. | DESCRIPTION |
| --- | --- |
| SECTION - I | Request for Quotation with calendar of events |
| SECTION - II | Instructions for Bidders (IFB) |
| SECTION - III | Special Terms & Conditions of Contract (SCC) |
| SECTION - IV | General Conditions of Contract (GCC) |
| SECTION - V | Price Bid format |
| SECTION - VI | General Format (Appendix) |
| SECTION - VII | Technical Specifications |

SECTION – I: REQUEST FOR QUOTATION

INVITATION FOR BIDS

CESC hereby invites bids for 02 Years Rate Contract for the supply of HT and LT Cables as per the detailed technical specifications provided in the bid document.

Prospective bidders are encouraged to manufacture the HT and LT Cables within India, aligning with the 'Make in India' initiative, to foster local industry growth, reduce delivery times, and ensure more efficient after-sales support.

Bidders are required to abide by all relevant environmental and safety regulations in India and to outline their waste, noise, and oil leak management measures.

- Event Information:

CESC Limited (“CESC”) invites bids for HT and LT Cables as per the Technical Specification as stipulated elsewhere in this tender document. BoQ is as below:

| Sl No | Voltage Level | Item Description | Qty | UoM |
| --- | --- | --- | --- | --- |
| 1 | HT | 11KV 3C 300 sq mm HDPE (Aluminium) | 300000 | Mtrs. |
| 2 |  | 11KV 3C 300 sq mm PVC (Aluminium) | 4000 | Mtrs. |
| 3 |  | 11KV 3C 150 sq mm PVC (Aluminium) | 500 | Mtrs. |
| 4 |  | 11 kV, 1CX630 SQ.MM (CU.) XLPE CABLE | 1 | Mtrs. |
| 5 |  | 11KV 1C 1000 sq mm XLPE (Aluminium) | 2000 | Mtrs. |
| 6 |  | 33 KV, 1CX400 SQ.MM (AL) XLPE CABLE | 55000 | Mtrs. |
| 7 |  | 33 KV, 1CX630 SQ.MM (CU) XLPE CABLE | 2000 | Mtrs. |
| 8 |  | 33 KV, 1CX1000 SQ.MM (AL) XLPE CABLE | 100000 | Mtrs. |
| 9 | LT | 1.1 KV 25 MM2 3.5C AL CONDUCTOR DRUM LENGTH OF 500 MTRS | 660000 | Mtrs. |
| 10 |  | 1.1KV 70SQMM 3.5C STRANDED AL CONDUCTOR CABLE | 200000 | Mtrs. |
| 11 |  | 1.1KV 240SQMM 3.5 CORE STRANDED AL COND.CABLE | 225000 | Mtrs. |
| 12 |  | 1.1KV 400SQ.MM 4 CORE STRNDED AL COND. CABLE | 30000 | Mtrs. |
| 13 |  | 10SQ MM SINGLE CORE 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | 220000 | Mtrs. |
| 14 |  | 1250 MM CUT LENGTH OF 10SQ MM S/C 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | 620000 | Mtrs. |
| 15 |  | 70SQ MM SINGLE CORE 600/1100V COPPER CONDUCTOR CABLE | 1700 | Mtrs. |
| 16 |  | AL COND PVC INSUL & SHEATHED W/P CABLE 650/1100V 16 SQ MM (7/1.7MM) S/C 100 MTSCOIL | 260000 | Mtrs. |
| 17 |  | 1.1KV GRADE 4 CORE X 16 SQ.MM UNARMOURED POWER CABLES HAVING STRANDED AL CONDUCTOR | 40000 | Mtrs. |
| 18 |  | 185 SQ MM S/C PVC INSULATED & OUTER SHEATHED AL CONDUCTOR UNARMOURED CABLE TO | 50000 | Mtrs. |
| 19 |  | LT XLPE AB CABLE HAVING 4 X 150 SQ MM ALUMINIUM PHASE & NEUTRAL CORE + 1 X 95 SQ MM ALUMINIUM ALLOY MESSENGER WIRE + 1 X 35 SQ MM ALUMINIUM STREET LIGHTING CORE WITH BLACK COLOURED INSULATION WITH RIDGES GENERALLY CONFORMING TO IS : 14255 | 90000 | Mtrs. |
| 20 |  | 3.5 Core 240 sq mm unarmourd coaxial cable | 55000 | Mtrs. |
| 21 |  | 3.5 Core 240 sq mm armourd coaxial cable | 6000 | Mtrs. |
| 22 |  | 4 core 70 sq mm coaxial cable | 16000 | Mtrs. |
| 23 |  | 4 core 25 sq mm coaxial cable | 10000 | Mtrs. |

  - The schedule of specifications with detailed terms & conditions can be obtained from the CESC website www.cesc.co.in

  - Calendar of Events:

Bids must be submitted within the stipulated “DATE & TIME IN HRS” as mentioned in the event calendar.

| Sl No | Event Details | Date & Time |
| --- | --- | --- |
| (A) | Sale/ availability of tender documents from Website | , 17:00 Hrs |
| (B) | Receipt of pre-bid queries, if any | , 17:00 Hrs |
| (C) | Posting Consolidated response to all the pre-bid queries as received | , 17:00 Hrs |
| (D) | Last date and time of receipt of Bids | , 17:00 Hrs |

1.03 CESC Limited reserves the right to accept / reject any or all Tenders without assigning any reason thereof in the event of following:

(i) The offer does not contain prices indicating break-up towards all taxes & duties in prescribed format.

(iv) Complete Technical details are not enclosed.

(v) Tender is received after due date and time.

(vi) Technical offer contains any prices.

2.0 Qualification Criteria: -

Technical Qualification Criteria:

Approved Makes:

| Sl No | Voltage Level | Item Description | Approved Make |
| --- | --- | --- | --- |
| 1 | HT | 11KV 3C 300 sq mm HDPE (Aluminium) | KEI, Laser, Gemscab, UCL, Havells, Sterlite, Polycab, Gloster, Dynamic, Torrent |
| 2 |  | 11KV 3C 300 sq mm PVC (Aluminium) |  |
| 3 |  | 11KV 3C 150 sq mm PVC (Aluminium) |  |
| 4 |  | 11 kV, 1CX630 SQ.MM (CU.) XLPE CABLE | KEI, Gemscab, UCL, Havells, Sterlite, Polycab, Torrent |
| 5 |  | 11KV 1C 1000 sq mm XLPE (Aluminium) | KEI, Laser, Gemscab, UCL, Havells, Sterlite, Polycab, Torrent |
| 6 |  | 33 KV, 1CX400 SQ.MM (AL) XLPE CABLE | KEI, Gemscab, UCL, Havells, Sterlite, Polycab, Torrent |
| 7 |  | 33 KV, 1CX630 SQ.MM (CU) XLPE CABLE |  |
| 8 |  | 33 KV, 1CX1000 SQ.MM (AL) XLPE CABLE |  |
| 9 | LT | 1.1 KV 25 MM2 3.5C AL CONDUCTOR DRUM LENGTH OF 500 MTRS | KEI, Laser, Gemscab, UCL, Havells, Polycab, Gloster, Dynamic, Torrent, Avocab, Apar, Prime, Lumino |
| 10 |  | 1.1KV 70SQMM 3.5C STRANDED AL CONDUCTOR CABLE | KEI, Laser, Gemscab, UCL, Havells, Polycab, Gloster, Torrent, Avocab, Apar, Prime, Lumino |
| 11 |  | 1.1KV 240SQMM 3.5 CORE STRANDED AL COND.CABLE |  |
| 12 |  | 1.1KV 400SQ.MM 4 CORE STRNDED AL COND. CABLE | KEI, Laser, Gemscab, UCL, Havells, Polycab, Gloster, Torrent, Avocab, Apar, Prime, |
| 13 |  | 10SQ MM SINGLE CORE 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | KEI, Laser, Gemscab, UCL, Polycab, Gloster, Avocab, Apar, Prime, HPL, Lumino |
| 14 |  | 1250 MM CUT LENGTH OF 10SQ MM S/C 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | KEI, Laser, UCL, Polycab, Apar, Prime, HPL, Lumino |
| 15 |  | 70SQ MM SINGLE CORE 600/1100V COPPER CONDUCTOR CABLE | Gloster, KEI, Apar, Dynamic, Havells, Gemscab, Prime, Torrent |
| 16 |  | AL COND PVC INSUL & SHEATHED W/P CABLE 650/1100V 16 SQ MM (7/1.7MM) S/C 100 MTSCOIL | Cabcon, Lumino, Laser, Dynamic, Gemscab, Havells, KEI, |
| 17 |  | 1.1KV GRADE 4 CORE X 16 SQ.MM UNARMOURED POWER CABLES HAVING STRANDED AL CONDUCTOR |  |
| 18 |  | 185 SQ MM S/C PVC INSULATED & OUTER SHEATHED AL CONDUCTOR UNARMOURED CABLE TO | KEI, Laser, Gemscab, Cabcon, Polycab, Torrent, Avocab, Apar, Lumino |
| 19 |  | LT XLPE AB CABLE HAVING 4 X 150 SQ MM ALUMINIUM PHASE & NEUTRAL CORE + 1 X 95 SQ MM ALUMINIUM ALLOY MESSENGER WIRE + 1 X 35 SQ MM ALUMINIUM STREET LIGHTING CORE WITH BLACK COLOURED INSULATION WITH RIDGES GENERALLY CONFORMING TO IS : 14255 | KEI, Laser, Polycab, Dynamic, Apar, Prime, |
| 20 |  | 3.5 Core 240 sq mm unarmourd coaxial cable | KEI, Havells, UCL |
| 21 |  | 3.5 Core 240 sq mm armourd coaxial cable |  |
| 22 |  | 4 core 70 sq mm coaxial cable |  |
| 23 |  | 4 core 25 sq mm coaxial cable |  |

Financial Qualification Criteria:

1. OEM must have an Average Annual Sales Turnover of Rs 500 Crores, considering the best three financial years out of the last four, i.e., FY2021-22, FY2022-23, FY2023-24, and FY2024-25. Audited Financial Statements / CA Certificate to be submitted in this regard.

2. Or if the bidder is an Authorized Channel Partner, they must have an Average Annual Sales Turnover of Rs 15 Crores, considering the best three financial years out of FY2021-22, FY2022-23, FY2023-24, and FY2024-25. Audited Financial Statements / CA Certificate to be submitted in this regard.

2. Bidder must submit an undertaking confirming that they have not been blacklisted or debarred by any Central or State Government department, Electricity Utility, or PSU.

3. Bidder must submit an undertaking confirming that no proceedings are pending against them under the Insolvency and Bankruptcy Code, 2016 (IBC).

4. Bidder must submit an undertaking stating that no litigation is pending with CESC or its group/associate companies.

5. The bidder must have a valid PAN No., GST Registration Number, in addition to other statutory compliances. The bidder must submit an undertaking that the bidder shall comply with all the statuary compliances as per the laws/rules etc. before the start of the supply/work. In case of MSME bidder, the bidder must submit a copy of MSME Certificate.

3.00 Bidding and Award Process

Bidders are requested to submit their offer in line with this Tender document.

All future correspondence regarding the tender, bid submission, bid submission date extension, Pre-bid query etc. shall be through CESC tender website.

3.01 Bid Submission

- Technical Bid to be submitted to ushnish.basu@rpsg.in, pushkar.basu@rpsg.in.

- Price Bid shall be submitted over email to tender.cesc@rpsg.in.

- Please ensure that the price bid is submitted as a password-protected file. Submitting the price bid without password protection may lead to rejection of your bid.

- Password to be submitted on request from CESC to the separate mail ID as per the instruction.

The bidders are required to submit the bids in 2 (two) parts.

# 3.01.1: First Part: Technical Bid

Techno-Commercial bid shall contain the following documents. Absence of any of these may attract bid rejection:

- Index Stating Document name & Page No./Document No. in bid. As illustrated below:

| Sr No | Document | Page No/Document No |
| --- | --- | --- |
| 1 | Type test Reports | 3 |
| 2 | Schedule of Deviations | 8 |
| 3 | … | … |

- Requisite Documents for compliance to Qualification Criteria

- Scan Copy of Tender Fee and EMD

- Duly Signed and stamped copy of complete bid document, amendment/Corrigendum if any, Technical Specifications, etc.

- Duly Signed and Stamped copy of filled annexures/form/appendix, which is to be submitted as per the bid document.

- Type Test Certificate of same or higher rating.

- Duly signed and stamped ‘No Deviation Certificate’ as per Enclosed Annexure on bidder’s letter head.

- Proper authorization letter / Power of Attorney to sign the tender on the behalf of bidder.

- Copy of PAN, GST registration (In case any of these documents is not available with the bidder, same to be explicitly mentioned in the ‘Schedule of Deviations’)

3.01.2:  Second Part: Price Bid

Price Bid shall contain only the price details and strictly in format as mentioned in Annexure I along with explicit break up of basic prices and Taxes & duties etc. In case any discrepancy is observed between the item description stated in Schedule of Items mentioned in the tender and the price bid submitted by the bidder, the item description as mentioned in the tender document (to the extent modified through Corrigendum issued if any) shall prevail. The price bids containing any deviations/conditions shall be liable to be rejected.

“Price Bid must be submitted in password protected file, and will be opened after techno-commercial evaluation and only of the qualified bidders. Password of price bid shall be asked from qualified bidders through separate email after technical evaluation.”

The Bid prepared by the Bidder, and all correspondence and documents relating to the Bid exchanged by the Bidder and CESC, shall be written in the English Language. Any printed literature furnished by the Bidder may be written in another Language, provided that this literature is accompanied by an English translation, in which case, for purposes of interpretation of the Bid, the English translation shall govern.

Bidder must ensure that Technical Bid should not contain any cost information whatsoever and shall be submitted within the due date.

Please follow below instruction for submitting bid at our email tender.cesc@rpsg.in

- One folder should contain complete set of techno-commercial bid documents.

- Second folder should contain only Price bid and price bid must be in password protected file.

All above folders should be in one folder and name of folder should our NIT No./Tender description.

3.02 Reverse Auction: Purchaser reserves the right to use Reverse Auction as an optional tool as an integral part of the entire tendering process. All techno-commercially qualified bidders shall participate in this event.

Notwithstanding anything stated above, the Purchaser reserves the right to assess bidder’s capability to perform the contract, should the circumstances warrant such assessment in the overall interest of the purchaser. In this regard the decision of the purchaser is final.

3.03 Price Bid Opening

Price Bids will be opened only for technically qualified bidders.

CESC reserves the right to conduct the reverse auction for the products / services being asked for in the tender instead of public opening of price bids. The terms and conditions for such reverse auction events shall be as per the Acceptance Form attached as Annexure of this document. The bidders along with the tender document shall mandatorily submit a duly signed copy of the Acceptance Form attached as Annexure as a token of acceptance for the same.

In case Reverse Auction is not concluded / conducted for any reasons, a "final no regret" financial bid in Password Protected file will be called for from all qualified bidders.

NOTE: BIDS RECEIVED AFTER DUE DATE AND TIME SHALL BE LIABLE FOR REJECTION

4.00 Award Decision:

4.01 Purchaser intends to award the Order/Contract on a lowest bid basis; however, the final decision will be based on a comprehensive evaluation of factors including cost competitiveness, compliance with technical specifications, quality, delivery, Commercial terms, bidder's capacity, and other relevant considerations as deemed by the Purchaser.

4.02 Splitting of Tendered Scope of works in two or more bidders: CESC reserves the right to split the tender scope amongst techno- commercially qualified bidders. The purchaser reserves all the rights to award the contract to one or more bidders to meet the timelines of the projects / scope of work or nullify the award decision without any reason.

4.03 In the event of a bid being selected by the purchaser and there is subsequent DEFAULT on the bid of the prospective bidder; the prospective bidder will be required to pay purchaser an amount equal to the difference in their bid and the next lowest bid on the quantity declared in NIT/RFQ.

4.04 In case any Bidder is found unsatisfied during the delivery process, the award will be cancelled and CESC reserves the right to award other Bidders who are found fit.

5.00 Market Integrity:

CESC provides a fair and competitive marketplace. The rules for bidders are outlined in the Terms & Conditions. Bidders must agree to these rules prior to participating. In addition to other remedies available, CESC reserves the right to exclude a bidder from participating in future markets due to the bidder’s violation of any of the rules or obligations contained in the Terms & Conditions. A bidder who violates the marketplace rules or engages in behaviour that disrupts the fair execution of the marketplace shall be restricted from bidding for a length of time, depending upon the seriousness of the violation. Examples of violations include, but are not limited to:

- Failure to honour prices submitted to the marketplace.

- Breach of the terms published in Request for Quotation/NIT.

6.00 Confidentiality:

All the technical, financial and legal information (as specified in Clause 30) being exchanged by the parties (Prospective Bidder and CESC) arising out of information contained in this RFQ Tender Notification is confidential and shall not be disclosed, published or advertised in any manner without written authorization from CESC. This includes all bidding information submitted.

All the technical, financial and legal documents (as specified in Clause 30) RFQ documents remain the property of CESC and all the prospective bidders are required to return these documents to CESC upon request.

Bidders who do not honour these confidentiality provisions will be excluded from participating in future bidding events.

7.00 Contact Information:

Technical or Commercial clarifications, if any, as regards to this Tender Notification shall be sought in writing and sent by post/courier/e-mail to the following address. The same shall not be communicated through phone etc.

|  | Technical | Commercial |  |
| --- | --- | --- | --- |
| Contact Person |  |  |  |
| Email ID |  |  |  |

-------------X-------------

SECTION – II: INSTRUCTION FOR BIDDERS

1.00 GENERAL:

CESC Limited, hereinafter referred to as “The Company/CESC” is intending to award the order for “Supply of HT and LT Cables” as per CESC Specifications enclosed as Annexure of Bid Document.

2.00 SCOPE OF WORK

The scope of the work is as per Bill of Quantity (“BOQ”) in the tender.

3.00 DISCLAIMER

This Document includes statements, which reflect various assumptions, which may or may not be correct. Each Bidder shall conduct its own estimation and analysis and should check the accuracy, reliability and completeness of the information in this Document and obtain independent advice from appropriate sources in their own interest.

Neither Purchaser nor its employees will have any liability whatsoever to any Bidder or any other person under the law or contract, the principles of restitution or unjust enrichment or otherwise for any loss, expense or damage whatsoever which may arise from or be incurred or suffered in connection with anything contained in this Document, any matter deemed to form part of this Document, provision of Services and any other information supplied by or on behalf of Purchaser or its employees, or otherwise arising in any way from the selection process for the Supply.

Though adequate care has been taken while issuing the Bid document, the Bidder should satisfy itself that Documents are complete in all respects. Intimation of any discrepancy shall be given to this office immediately.

4.00 COST OF BIDDING

The Bidder shall bear all cost associated with the preparation and submission of its Bid and the company will in no case be responsible or liable for those costs.

5.00 BIDDING DOCUMENTS

The Scope of Work, Bidding Procedures and Contract Terms are described in the Bidding Documents. In addition to the covering letter accompanying Bidding Documents, the Bidding Documents include:

Request for Quotation (RFQ) - Section - I

Instructions for Bidders (IFB) - Section - II

Special Conditions of Contract (SCC) - Section –III

General Condition of Contract (GCC-Supply) - Section –IV

Price Bid Format – Section-V

General Formats (Appendix)- Section-VI

Technical Specifications – Section-VII

The Bidder is expected to examine the Bidding Documents, including all Instructions, Forms, Terms and Specifications. Failure to furnish all information required by the Bidding Documents or submission of a Bid not substantially responsive to the Bidding Documents in every respect will result in the rejection of the Bid.

6.00 AMENDMENT OF BIDDING DOCUMENTS

At any time prior to the deadline for submission of Bids, the Company may for any reasons, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the Bidding Documents by amendment.

The Amendment shall form part of the Bidding Documents, pursuant to Clause 5.00, and it will be notified on the website www.cesc.co.in and will be binding on the prospective Bidders.

In order to afford prospective Bidders, reasonable time to make Amendment in preparing their Bids, the Company may, at its discretion, extend the deadline for the submission of Bids. The same shall be published as a corrigendum on the website www.cesc.co.in.

Purchaser shall reserve the rights to following:

- extend due date of submission

- modify tender document in part/whole

- cancel the entire tender

Bidders are requested to visit the Company website at www.cesc.co.in  regularly for any modification/clarification/ corrigendum/ addendum of the bid documents.

7.00 LANGUAGE OF BID

Refer Section – I: Request for Quotation

8.00 DOCUMENTS COMPRISING THE BID

Refer Section – I: Request for Quotation

9.00 BID FORM

Refer Section – I: Request for Quotation

10.00 BID PRICES

10.01 Bidders shall quote for the entire Scope of Supply / Work with a break-up of prices for individual items and Taxes & Duties. The total Bid Price shall also cover all the Supplier's obligations mentioned in or reasonably to be inferred from the Bidding Documents in respect of Design, Supply, Transportation to site, in accordance with the requirement of Bidding Documents. The Bidder shall complete the appropriate Price Schedules included herein, stating the Unit Price for each item & total Price with taxes, duties & freight up to destination.

10.02 The prices offered shall be inclusive of all costs as well as Duties, Taxes and Levies paid or payable during execution of the supply work, breakup of price constituents, should be there. The Bidder is required, at his expense, to obtain all the information he may require to enable him to submit his tender including necessary visits to the site to ascertain the local conditions, procurement of necessary materials, labour, etc., requirements of the local/government/public authorities in such matters.

10.03 Prices quoted by the Bidder shall be variable as per PV clause mentioned in bid document.

11.00 BID CURRENCIES

Prices shall be quoted in Indian Rupees Only.

12.00 PERIOD OF VALIDITY OF BIDS

12.01 Bids shall remain valid for 120 days from the due date of submission of the Bid & subsequent corrigendum / amendment / extension of due date of submission.

12.02 Notwithstanding anything in Clause 12.01 above, the Purchaser may solicit the Bidder‘s consent to an extension of the Period of Bid Validity. The request and the responses thereto shall be made in writing and sent by post/courier/e-mail.

13.00 ALTERNATIVE BIDS

Bidders shall submit Bids complying with the Bidding Documents. Alternative Bids will not be considered. The attention of Bidders is drawn to the provisions regarding the rejection of Bids in the terms and conditions, which are not substantially responsive to the requirements of the Bidding Documents.

14.00 FORMAT AND SIGNING OF BID

14.01 The original Bid Form and accompanying documents, clearly marked "Original Bid" and “Copy” must be received by the Purchaser at the date, time and place specified pursuant to Clauses 15.0 and 16.0. In the event of any discrepancy between the original and the copy, the original shall govern.

14.02 The original and copies of the Bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person or persons duly authorized to sign on behalf of the Bidder. Such authorization shall be indicated by written Power-of-Attorney accompanying the Bid.

14.03 The Bid should contain no interlineations, erasures or overwriting except as necessary to correct errors made by the Bidder, in which case such corrections shall be initialled by the person or persons signing the Bid.

15.00 SEALING AND MARKING OF BIDS

Refer Section – I: Request for Quotation

16.00 DEADLINE FOR SUBMISSION OF BIDS

16.01 The original Bid, together with the required copies, must be received by the Purchaser at the address specified earlier.

16.02 The Purchaser may, at its discretion, extend the deadline for the submission of Bids by amending the Bidding Documents, in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

17.00 ONE BID PER BIDDER

Each Bidder shall submit only one Bid by itself. No Joint Venture is acceptable. A Bidder who submits or participates in more than one Bid will cause all those Bids to be rejected.

18.00 LATE BIDS

Any Bid received by the Purchaser after the deadline for submission of Bids prescribed by the Purchaser, pursuant to Clause 16.0, will be declared "Late" and shall be rejected and returned unopened to the Bidder.

19.00 MODIFICATIONS AND WITHDRAWAL OF BIDS

19.01 The Bidder is not allowed to modify or withdraw its Bid after the Bid submission.

20.00 PROCESS TO BE CONFIDENTIAL

Information relating to the examination, clarification, evaluation and comparison of Bids and recommendations for the award of a contract shall not be disclosed to Bidders or any other persons not officially concerned with such process. Any effort by a Bidder to influence the Purchaser's processing of Bids or award decisions may result in the rejection of such Bidder's Bid.

21.00 CLARIFICATION OF BIDS

To assist in the examination, evaluation and comparison of Bids, the Purchaser may, at its discretion, ask the Bidder for a clarification of its Bid. All responses to requests for clarification shall be in writing and no change in the price or substance of the Bid shall be sought, offered or permitted.

22.00 PRELIMINARY EXAMINATION OF BIDS / RESPONSIVENESS

22.01	Purchaser will examine the Bids to determine whether they are complete, any computational errors have been made, required sureties have been furnished, the documents have been properly signed and the Bids are generally in order. Purchaser may ask for submission of original documents in order to verify the documents submitted in support of qualification criteria.

22.02 Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price per item that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price per item will be corrected. If there is a discrepancy between the Total Amount and the sum of the total price per item, the sum of the total price per item shall prevail and the Total Amount will be corrected.

22.03 Prior to the detailed evaluation, Purchaser will determine the substantial responsiveness of each Bid of the Bidding Documents including production capability and acceptable quality of the Goods offered. A substantially responsive Bid is one, which conforms to all the terms and conditions of the Bidding Documents without material deviation.

22.04	Bid determined as not substantially responsive will be rejected by the purchaser and may not subsequently be made responsive by the Bidder by correction of the non - conformity.

23.00 EVALUATION AND COMPARISON OF BIDS

The evaluation of Bids shall be done based on the delivered cost competitiveness.

23.01 The evaluation of the Bids shall be a stage-wise procedure. The following stages are identified for evaluation purposes: In the first stage, the Bids would be subjected to a responsiveness check. The Technical Proposals of the Bidders would be evaluated first.

23.02 Subsequently, the Financial Proposals along with Supplementary Financial Proposals (obtained through Reverse Auction and/or Final Negotiation), if any, of Bidders with Techno-commercially Acceptable Bids shall be considered for final evaluation.

23.03 The Purchaser while evaluating the Bid will also consider, in addition to the Bid price, the following factors, in the manner and to the extent indicated in this Clause:

- Delivery Schedule

- Conformance to Qualifying Criteria

- Deviations from Bidding Documents

Bidders shall base their Bid price on the terms and conditions specified in the Bidding Documents.

The cost of all quantifiable deviations and omissions from the specification, terms and conditions specified in Bidding Documents shall be evaluated. The Purchaser will make its own assessment of the cost of any deviation for the purpose of ensuring fair comparison of Bids.

23.04 Any adjustments in price, which result from the above procedures, shall be added for the purposes of comparative evaluation only to arrive at an "Evaluated Bid Price". Bid Prices quoted by Bidders shall remain unaltered.

24.00 CONTACTING THE PURCHASER

24.01 If any Bidder wishes to contact the Purchaser on any matter related to the Bid, from the time of Bid opening to the time of contract award, the same shall be done in writing only.

24.02 Any effort by a Bidder to influence the Purchaser and/or in the Purchaser‘s decisions in respect of Bid evaluation, Bid comparison or Contract Award, will result in the rejection of the Bidder‘s Bid.

25.00 THE PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The Purchaser reserves the right to accept or reject any Bid and to annul the Bidding process and reject all Bids at any time prior to award of Contract, without thereby incurring any liability to the affected Bidder or Bidders or without any obligation to inform the affected Bidder or Bidders of the grounds for the Purchaser‘s action.

26.00 AWARD OF CONTRACT

26.01 The Purchaser will award the Contract to the successful Bidder whose Bid has been determined to be the lowest evaluated responsive Bid, provided further that the Bidder has been determined to be qualified to satisfactorily perform the Contract. Purchaser reserves the right to award order to other bidders in the tender, provided it is required for timely execution of project & provided he agrees to come to the lowest rate.

26.02 Splitting of Tendered Scope of works in two or more bidders:

CESC reserves the right to split the tender scope amongst techno-commercially qualified bidders. The purchaser reserves all the rights to award the contract to one or more bidders to meet the timelines of the projects /scope of work or nullify the award decision without any reason.

26.03 The Purchaser intends to issue separate Purchase / Work Orders viz.

a) Purchase Order for Supply

b) Work Order for Installation, Testing & Commissioning

27.00 THE PURCHASER’S RIGHT TO VARY QUANTITIES

The Purchaser reserves the right to vary the quantity by +/- 25% i.e. increase or decrease the numbers/ quantities without any change in terms and conditions during the execution of this document and amendments thereof.

28.00 LETTER OF INTENT/ NOTIFICATION OF AWARD

The Letter of Intent / Notification of Award shall be issued to the successful Bidder whose bids have been considered responsive, techno-commercially acceptable and evaluated to be the lowest (L1). The successful Bidder shall be required to furnish a letter of acceptance within 7 days of issue of the letter of intent / Notification of Award by Purchaser. The date of LOI / LOA shall be treated as Start date of work.

29.00 PERFORMANCE BANK GAURANTEE

Within fifteen (15) days from the date of receipt of the Purchase Order / Work Order, the successful Bidder (either Authorized channel partner or OEM) shall furnish a Performance Bank Guarantee (PBG) towards the faithful performance of the contract, for an amount equal to 5% (Five percent) of the supply order value (inclusive of taxes). The PBG shall be submitted on a pro-rata basis, corresponding to the released order value, and shall remain valid until the expiry of the warranty period, plus an additional three (3) months as a claim period.

30.00 CORRUPT OR FRADULENT PRACTICES

30.01	The Company requires that the Bidders observe the highest standard of ethics during the procurement and execution of the Project. In pursuance of this policy, the Company:

- Defines, for the purposes of this provision, the terms set forth below as follows:

- "Corrupt practice" means behaviour on the part of officials in the public or private sectors by which they improperly and unlawfully enrich themselves and/or those close to them, or induce others to do so, by misusing the position in which they are placed, and it includes the offering, giving, receiving, or soliciting of anything of value to influence the action of any such official in the procurement process or in contract execution; and

- "Fraudulent practice" means a misrepresentation of facts in order to influence an award process or the execution of a contract to the detriment of the Company, and includes collusive practice among Bidders (prior to or after Bid submission) designed to establish Bid prices at artificial non-competitive levels and to deprive the Company of the benefits of free and open competition.

- Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

- Will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a contract.

30.02 Furthermore, Bidders shall be aware of the provision stated in the Terms and Conditions of Contract.

31.00 DELIVERY PERIOD

For LT Cable:

Bidders shall supply material within 6 to 8 Weeks from the date of issuance of LOI / Release Order/manufacturing Clearance against Rate Contract. However, firm delivery dates will be mentioned in the LOI / Order.

For HT Cable:

Bidders shall supply material within 8 to 10 Weeks from the date of issuance of LOI / Release Order/manufacturing Clearance against Rate Contract. However, firm delivery dates will be mentioned in the LOI / Order.

##### PRIORITY OF CONTRACT DOCUMENTS

The several documents forming the Agreement are to be taken as mutually explanatory of one another, but in case of ambiguities or discrepancies, the same shall be explained and adjusted by the Company, who shall, accordingly, issue suitable instructions thereon to the Bidder/Supplier. In such event, unless otherwise provided in the agreement or explained by way of instructions by the Company, as mentioned above, the priority of the documents forming the Agreement shall be as follows:

    - Contract Agreement / Purchase Order. (a) Special Conditions of Contract (b) General Conditions of Contract;

    - The Tender document, including all Appendices and/or Addenda, Corrigendum the latest taking precedence;

    - The Letter of Acceptance / Intent;

    - Agreed Minutes of the Tender Negotiation Meeting;

    - Agreed Minutes of the Tender Technical Meetings;

    - The Priced Bill of Quantities;

    - The Technical Specifications / Scope of work;

In the event of any conflict between the above-mentioned documents, the more stringent requirement or conditions which shall be favorable to the Company shall govern and the decision of CESC shall be final and binding upon the parties.

--------------X--------------

Section – III: SPECIAL TERMS AND CONDITIONS OF CONTRACT

Special conditions of contract, if any shall be communicated along with issuance of LOI /PO.

Section – IV: GENERAL TERMS AND CONDITIONS OF CONTRACT (GCC)

Table of Contents

- Definition of Terms

- Price Basis

- Taxes & Duties and Statutory Variation

- Variation in Taxes, Duties and Levies

- Taxes & Duties on Raw Materials & Bought Out Components

- Packing & Forwarding Charges

- Freight Charges

- Transit Insurance

- Unloading Charges

- Documentation

- Purchase Order Amendments

- Product Specifications

- Subcontracting

- Quality Assurance and Inspection

- Rejection

- Delivery

- Dispatch Documents

- Contract Performance Bank Guarantee

- Payment Terms

- Transfer of Title

- Warranty/Defect Liability Period

- Liquidated Damages

- Demurrage on non/Delayed Collection of Rejected and Excess Material

- Limitation of Liability

- Force Majeure

- Supplier’s Default & Risk Purchase

- Suspension

- Termination

- Arbitration

- Confidentiality

- Recoveries

- Compliance with Applicable Laws

- Governing Law and Jurisdiction of Contract

- Indemnification

##### Termination for Convenience of Purchaser

##### Purchase Order Acceptance

##### Following Annexures Enclosed With GCC

##### Annexure 1: Acceptance Form for Participation in Reverse Auction Event

##### Annexure 2: Manufacturer Authorization Form

##### Annexure 3: Deviation Sheet

##### Annexure 4: Format for Contract Performance Bank Guarantee

##### Annexure 5: Format of Warranty/Guarantee Certificate

##### Annexure 6: Mutual Non-Disclosure Agreement

##### DEFINITION OF TERMS

i) “Contract” means the Contract agreement entered into by the Company and the

Supplier together with all the contract documents from the tender to the final signing of

Purchase Order/ agreement

ii) “Company” or “Purchaser” means CESC Limited a Company registered under the

Indian Companies Act 1956 and having its registered office at CESC House, Chowringe

Square, Kolkata -700001, India and includes its legal successors and assignees.

iii) “Bidder” or “Tenderer” means the individual, firm or company who has submitted a

valid Bid /Tender.

iv) “Supplier” means the “Successful Bidder”/ “Successful Tenderer” i.e. the individual,

firm or company etc. whose Bid has been accepted and on whom Purchase Order has

been placed and who enters into the Contract to supply the material. The term includes

the Supplier’s authorized representatives, legal successors and permitted assigns.

v) “Stores “shall mean the materials contracted for supply as per quantities and

specifications indicated in the contract.

vi) Terms / Conditions & expressions not herein defined shall have the same meaning as

assigned to them in the Indian Contract Act 1872 & Sale of Goods Act 1930, as amended

from time to time.

##### PRICE BASIS

After finalization of the tender, Rate Contract shall be issued to the successful bidder with a validity period of Two Years. Release order shall be placed as per the requirement of CESC.  The price shall be variable and price variation clause shall be as per latest IEEMA price variation formula. However, the current applicable PV clause is mentioned below;

For LT Cable: Reference No: 35/DIV/CAB/05, Dated 24.04.2018: (Attached Separately)

For HT Cable: Reference No: 91/DIV/CAB/05, Dated 09.10.2019: (Attached Separately)

All #0# denoted input prices in the formula (Al0, Cu0, Fe0, CC0, PVC0 etc.) shall be as per IEEMA Circulars of August 2025 (Published in September 2025)

All input prices in the formula (Al, Cu, Fe, CC, PVC etc.) shall be as per IEEMA Circular for the month of manufacturing clearance/delivery confirmation (published in subsequent month) There will be no cap on Positive side and negative side.

The Bidder shall indicate the applicable taxes and duties on the finished supplies separately in the Price Schedule. However, the quoted price shall be inclusive of all the taxes, duties and cess of any kind levied by any central, municipal or other government authority on raw materials & components including imports, if any.

The Bidder shall be deemed to have understood all technical, commercial, general and special purchase conditions for the Supply. The Bidder shall not, except as expressly provided in the Purchase Order, be entitled to any extension of the delivery Schedule or to any adjustment of the Contract Price on grounds of misinterpretation or misunderstanding of any such matter.

Prices and discounts, if any, must remain the same for any additional quantities of similar items required, if repeat order is placed within Six (6) months of the original Purchase Order.

Unit prices and discounts, if any, shall be applicable for ordering without any stipulation of minimum order value or on the basis of total order for items tendered.

- Authority of person signing documents:

- A person signing the Tender Form or any document forming part of the contract on

behalf of the Supplier shall be deemed to warranty that he has authority to sign such

documents.

- In case of e-procurement, the submission of On-Line Quotation / Bid through the E-Procurement System of the Purchaser by any authorized representative of the Tenderer who logs on to the system with the valid ID and password shall be taken as valid and the Tenderer shall be fully responsible for the execution of the Contract arising there from.

- Conditions of contract:

The quotation/tender submitted by the Supplier will be accepted by

CESC subject to the acceptance of “General Conditions of Contract” and Tender Conditions, if any, relevant for the particular tender.

The conditions include that the purchase order together with “General Conditions of

Contract” shall be the sole repository of transactions between the supplier and CESC.

- Responsibility for Performance of Contract:

The Supplier shall be entirely responsible for the performance of the contract in all

respects in accordance with the terms and conditions as specified in the Contract.

The Supplier shall not sublet, transfer or assign the contract without the written

permission of the Purchaser. In case permission is given by the purchaser, Supplier shall

be liable to any loss or damage which the Purchaser may sustain in consequence or

arising out of such subletting of the contract.

- Price: Prices and other charges (excluding statutory taxes/ duties/ levies) shown/mentioned

in the purchase order is firm and fixed for the entire tenure of order.

##### TAXES & DUTIES AND STATUTORY VARIATIONS

The prices are subject to all direct tax and indirect tax provisions as applicable on the date of transaction.

However, the same would be paid at actuals provided the material is delivered as per the original/ extended delivery schedule provided in the Purchase Order. CESC shall not be liable to pay any increase in taxes & duties beyond the delivery schedule provided in the Order, however, benefit due to any downward revision in statutory rates shall be passed on to CESC.

8.  Inspection:

a. All items shall be supplied with Supplier’s self certified inspection report.

  - For all items where the Purchase Order contains inspection clause, inspection

request to be sent to the dealing officer of the Purchase Department minimum one

week in advance.

  - CESC has the right to waive pre-dispatch inspection and such confirmation to be

attached with the final invoice.

  - Items to be inspected after receipt at stores: inspection shall be carried out by

QA/user department and their decision shall be final and binding on the Supplier.

e. In case of third party inspection: Inspection request shall be sent directly to the

designated inspection agency under intimation to the dealing purchase officer.

9) Guarantee/Warranty:

The Supplier shall stand guarantee/warrantee for materials and

workmanship for the supplied items for a period of 18 months from the date of supply in

general, despite the materials being inspected and accepted prior to dispatch. All supplies

are considered to have covered by the said guarantee/warranty unless specific overriding

conditions in this regard are indicated in the purchase order.

10. Delivery:

- Timely delivery is the essence of the contract & must be completed as per the dates

specified therein.

ii) The Supplier shall deliver items preferably on F.O.R. Stores basis of the Purchaser

indicated in the Contract and in accordance with the delivery terms indicated therein.

iii) Notification of delivery or dispatch in regard to each and every consignment shall be

made to the authorities named in the Contract.

11. Dispatch:

a. The Supplier shall invariably paint or write in indelible ink the purchase order

number on the surface of all packages/materials if delivered unpacked.

b. Materials shall be dispatched through bank approved authorized transporters on:

‘freight paid, door delivery basis unless otherwise specified in the purchase order.

Transshipment en-route shall be avoided to the extent possible.

c. Transit Insurance shall be arranged by Supplier at their own cost unless otherwise

specified in the order.

d. In the event of CESC’s normal course of business being interrupted, restricted,

hindered or delayed by any cause whatsoever, CESC will issue revised delivery

schedule as mutually agreed with the Supplier.

  - The materials shall be dispatched/delivered at the destination mentioned in the

purchase order or as amended subsequently.

  - All consignments shall be received in the Company’s stores/ sites during the

following hours only :

Weekdays - 8.00 a.m. to 12.00 Noon

&

2.00 p.m. to 3.00 p.m.

Saturdays – 8.00 a.m. to 11.30 am

g) The Supplier shall forward their application towards requirement of Way Bills

minimum one week before the scheduled dispatch. Way bills will be issued by CESC

after reconciliation of the previous issued way bills. The Supplier shall return counter

foils of used way bills together with photocopy of tax invoice & consignment note

maximum within 3 (three) days after delivery of consignment to CESC. In case the

counterfoil of the used Way Bill is misplaced by the Supplier, it is mandatory on the

part of the Supplier to complete the statutory formalities as per Commercial Tax

Rules and submit all relevant documents to CESC.

12. Inspection Rejection: The Supplier shall offer the materials for inspection as per terms

indicated in the purchase order. In case of any rejection of materials on receipt at CESC’s

stores or while in use, CESC will:

- advise the Supplier to make free replacement or repair of the material as the case

may be OR

- to procure the rejected material from alternate sources at the risk and cost of the

Supplier OR

- terminate the contract.

Losses, if any, shall be recovered from the Supplier’s pending or future bills with CESC or

with any other associated companies within the RPG group.

13. Returns/Removal of Rejected Materials: The supplier shall arrange for collection of rejected

material at his risk and cost within a maximum period of 30 calendar days of intimation of

such rejection, failing which, CESC reserves the right to dispose off such materials as deemed

fit by CESC without any further reference to the supplier.

14. Supplies beyond delivery schedule: The Supplier shall adhere to the stipulated delivery

schedule indicated in the purchase order, failing which, CESC will have the right to exercise

any/all of the following options:-

a. to recover from the supplier as agreed and not by the way of penalty 1% (one

percent) per week or part thereof of the order value subject to a maximum of 10%

(ten percent).

b. to procure the material from alternate sources at the risk and cost of the Supplier,

c. to terminate the contract,

d. In case risk purchase action is taken against the Supplier, in the event of failure by

any Supplier in executing the Purchase Order as per CESC’s delivery schedule and

other terms and conditions, CESC Limited shall reserve the right to purchase the

same material from other source(s) at the cost and risk of the Supplier, either whole

or part, which the Supplier failed to deliver within the stipulated time. In such case,

CESC shall reserve the right to cancel the Purchase Order on the supplier in full or part and recover from the defaulting supplier, the differential cost between the alternative arrangements and the initial order value, with all incidental charges, as deemed fit. In case the procurement cost through alternative source(s) becomes lower, no benefit on this account shall be passed on to the defaulting Supplier.

e. Notwithstanding the actions as stated above, CESC reserves the right to terminate

business dealings with the Supplier.

f. Supplier shall obtain extension of delivery period prior to dispatch of materials

wherever the delivery period has expired four months back. In case of materials are

dispatched after four months of expiry of the delivery period without obtaining further extension of the delivery period, CESC shall have the liberty not to accept such consignment. This is without prejudice to its right to take action as per the contract wherever the Supplier fails to supply the materials as per purchase order terms.

15. CESC reserves the right to remove from their approved list of suppliers or terminate business

dealings if a Supplier has been found to have committed misconduct. Also business dealings

may be suspended with the Supplier or its subsidiary.

16.  In the event of detection by CESC at a later date (after execution of any purchase orders by

the Supplier), that the prices charged by the supplier was abnormally high as compared to

the then prevailing market price, CESC shall reserve the right to recover the differential

amount from the pending bills of the Supplier.

17.  Governing Law: The Contract entered into between the Company and the Supplier shall

be governed by and interpreted in accordance with the Laws of India. The place of

jurisdiction shall be the place where the Purchaser is located, unless otherwise

specified.

18. Order acceptance: Purchase order shall be taken as accepted by the Supplier unless CESC

hear to the contrary within ten days after release of the order.

19. Weighment: For bulk material to be accepted by weight, all the trucks / wagons / trailers /

tankers etc. shall be weighed at the destination at the Purchaser’s weighbridge(s).

Supplier’s challan weight for each truck / wagon / trailer / tanker etc. shall be accepted

as final, if the weighment at purchaser’s premises for that truck / wagon / trailer / tanker

etc. is within the tolerance range of 0.5%. If the weighment at Purchaser’s

weighbridge(s) is found to be more than the challan weight, the payment shall be

restricted to the challan weight.

In case the weighment at Purchaser’s weighbridge(s) is found to be less than challan

weight even after allowing the tolerance range indicated in the contract, the weighment

at Purchaser’s premises shall be final for the purpose of payment.

20) All Correspondences shall be made with the dealing officer of the purchase department.

21) Termination at Purchaser’s Discretion: The Purchaser may, at any time, terminate the

contract for any reason by giving the Supplier notice of termination. Upon receipt of the

notice of termination, the Supplier shall either immediately or upon the date specified in

the notice of termination, cease all further work except for such as the Purchaser may

specify in the notice of termination. In the event of termination of the Contract the

Purchaser shall only pay to the Supplier, the Price for the parts executed by the Supplier

as of the date of termination.

22. Waiver: Failure to operate or to enforce any provision under this GCC / Contract shall in

no way be construed to be a waiver of such provision itself or any subsequent breach

thereof.

23. Indemnity: The Supplier shall at all times indemnify the Purchaser against all claims

which may be made in respect of the stores for infringement of any right protected by

Patent, Registration of design or Trade Mark and shall take all risk of accidents or

damage which may occur or failure of the supply from whatever cause arising. The

Supplier shall be entirely responsible for the sufficiency of all the means used by them

for the fulfillment of the contract.

24. Force Majeure: If at any time during the currency of the Contract, the performance in

whole or in part by either party of any obligation under this Contract shall be prevented

or delayed by reasons of War, Hostility, Acts of Public Enemy, Civil Commotion(s),

Sabotage, Fire(s), Flood(s), Explosion(s), Epidemic, Quarantine Restrictions, Acts of State

CESC Limited | General Conditions of Contract Ver: R4 | Page 7 of 7

or Acts of God, hereinafter referred to as eventualities, then the Contract period will get

extended for the period of Force Majeure, provided Notice of the happenings of any

such eventualities is given, supported by a certificate of appropriate authority or

Chamber of Commerce by either party to the other within 15 days from the date of

occurrence thereof. Neither party shall by reason of such eventualities be entitled to

terminate this contract nor shall either party have any claim for damages against the

other in respect of such non performance or delay in performance. Work under this

contract shall resume as soon as practicable after such eventualities have come to an

end or ceased to exist and the decision of the Company as to whether the work has to

be resumed shall be final and conclusive. Should one or both parties be prevented from

fulfilling their contractual obligations by state of Force Majeure lasting continuously for a

period of at least three months, the parties shall consult each other regarding further

continuation of the Contract.

25. DISPUTE REDRESSAL & ARBITRATION

i. If at any time, any questions, disputes or differences arise between the parties, in

connection with or related to this Purchase Order, both parties at first instance shall

attempt to resolve the dispute through dialogue and/or written correspondence. The

mutually agreeable decision through such process shall be minuted & signed by

authorized representatives of both the parties and shall be given effect to.

ii. If at any time, any questions, disputes or differences arise between the parties in

connection with or related to this Purchase Order, which could not be resolved through

the process of Dispute Redressal as in 25 (i) above, either party shall, as soon as

reasonably practicable, give to the other party notice in writing of the existence of such

question, dispute, or difference specifying its nature and the points at issue, and the

same shall be referred to arbitration in accordance with the provisions of the Arbitration

& Conciliation Act, 1996 by three Arbitrators, one each to be nominated by us and the

you and the third Arbitrator shall be nominated by the two Arbitrators so nominated by

the parties. The award shall be speaking award accepting or rejecting full or in part, the

claims and counter claims of the parties item-wise with reasons. The language of

arbitration shall be English and venue shall be at Kolkata, West Bengal, India.

ANNEXURE 2:

ACCEPTANCE FORM FOR PARTICIPATION IN REVERSE AUCTION EVENT

(To be signed & stamped by the bidder along-with bid)

CESC Limited (CESC) may conduct reverse auction through online tool as an integral part of entire tendering process. All techno-commercially qualified bidders shall participate in the reverse auction.

The following terms and conditions are deemed as accepted by the bidder on participation in the bid:

- In case of bidding through Internet medium, bidders are advised to ensure availability of all associated infrastructure as required to participate in the reverse auction event. Inability to bid due to telephone glitch, internet response issues, software & hardware hangs/failures, power failures or any other reason shall not be the responsibility of CESC.

- In case bidder fails to participate in the reverse auction event due to any reason whatsoever, it shall be presumed that the bidder has no further discounts to offer and the initial bid submitted by them as a part of tender shall be considered as bidder’s Final No Regret offer. Any off-line price bids received from a bidder in lieu of non-participation in the reverse auction event shall be rejected by CESC.

- The bidder is advised to understand the auto bid process to safeguard themselves against any possibility of nonparticipation in the reverse auction event.

- The bidder shall be prepared with competitive price quotes during the day of reverse auction event.

- The prices quoted by bidder in reverse auction event shall be on FOR Landed cost CESC Store/site basis inclusive of all relevant taxes, duties, levies, transportation charges etc on line item wise or on total lumpsum basis, this shall be communicated to bidders before conducting RA.

- The prices submitted by the bidder during reverse auction event shall be binding on the Bidder.

- The bidder agrees to non-disclosure of trade information regarding bid details e.g. purchase, Identity, bid process/technology, bid documentation etc.

- CESC will make every effort to make the bid process transparent. However, award decision of CESC will be final and binding on the bidder.

- The prices submitted during reverse auction event shall be binding on the bidder.

- No request for Time extension of the reverse auction event shall be considered by CESC.

- CESC shall provide the user id and password to the authorized representative of the bidder. Authorization letter in lieu of the same shall be submitted along with the signed and stamped acceptance form.

- The original price bids of the bidders shall be reduced on pro-rata basis against each line item based on the final all-inclusive prices offered during conclusion of the reverse auction event for arriving at contract amount.

##### ANNEXURE-3

##### MANUFACTURER AUTHORIZATION FORM

(To be submitted on OEM’s Letter Head)

Date:-

Tender No.:

To

Dy. General Manager (Materials)

Purchase Dept.

CESC Limited

97, Park Street, 3rd Floor

Kolkata - 700016

Sir,

WHEREAS M/s. [name of OEM], who are official manufacturers of _______________________	having factories at [address of OEM] do hereby authorize M/s [name of bidder] to submit a Bid in relation to the Invitation for Bids indicated above, the purpose of which is to provide the following Goods, manufactured by us

……………………………………………………………………………………………………and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with the Conditions of Contract or as mentioned elsewhere in the Tender Document, with respect to the Goods offered by the above firm in reply to this Invitation for Bids.

We hereby confirm that in case, the channel partner fails to provide the necessary services as per the Tender Document referred above, M/s [name of OEM] shall provide standard warranty on the materials supplied against the contract. The warranty period and inclusion / exclusion of parts in the warranty shall remain same as defined in the contract issued to our channel partner against this tender.

Yours Sincerely,

For ……………..

Authorized Signatory

##### ANNEXURE-4:

##### DEVIATIONS SHEET

Vendor shall refrain from taking any deviations on this TENDER. Still, in case of any deviations, all such deviations from this tender shall be set out by the Bidder, Clause by Clause in this schedule and submit the same as a part of the Technical Bid.

Unless specifically mentioned in this schedule, the tender shall be deemed to confirm the CESC’s specifications:

Technical Deviations: -

| SL No. | Clause No. | Page No. | Clause Descriptions | Details of Clarification/deviation with justifications |
| --- | --- | --- | --- | --- |

Commercial Deviations: -

| SL No. | Clause No. | Page No. | Clause Descriptions | Details of Clarification/deviation with justifications |
| --- | --- | --- | --- | --- |

By signing this document, we hereby withdraw all the deviations whatsoever taken anywhere in this bid document and comply with all the terms and conditions, technical specifications, scope of work etc. as mentioned in the standard document except those mentioned above.

Seal of the Bidder:

Signature:

Name:

ANNEXURE-5

FORMAT OF CONTRACT PERFORMANCE BANK GUARANTEE

[Stamp paper]

PERFORMANCE BANK GUARANTEE

M/s. CESC Limited

CESC, 4th Floor, SCO 33 to 35,

Sector 34A, Chandigarh, 160022

Whereas CESC Limited. (hereinafter referred to as the “Purchaser”, which expression shall unless repugnant to the context or meaning thereof include its successors, administrators and assigns) has awarded to M/s ________, (Name of Vendor) ____________________(Address of Vendor) (hereinafter referred to as the “Supplier” which expression shall unless repugnant to the context or meaning thereof include its successors, administrators, executors and assigns), a Purchase/Work Order(whichever is applicable) No. __________ dt. ________ for supply/implementation(whichever is applicable) of ____________________________ (the Contract).

And whereas the value of the Contract is Rs. _______ (Rupees______________________Only).

(the contract value).

And whereas it is a condition of the contract that the supplier shall provide a Performance Bank Guarantee for the due and faithful performance of the entire Contract for a sum equivalent to 10% of the Contract Value i.e. Rs. ____________/-(Amount of Bank Guarantee) (Rupees _______________________ Only) to the Purchaser on or before _______

(Date of validity).

And whereas the Bank under instructions from the Supplier has agreed to guarantee the due performance of the Contract.

Now it is agreed as follows :

- We, __________(Name of issuing Bank), _______________________(Address of Issuing Branch) having its Head Office at ________(Address of Head office) (hereinafter referred to as the Bank, which expression shall unless repugnant to the context or meaning thereof, include its successors, administrators, executors and assigns) shall indemnify and keep indemnified the Purchaser for, and guarantee and undertake to pay to the Purchaser immediately on demand, a sum equivalent to 10% i.e. Rs. _____________/-(Amount of Bank Guarantee) (Rupees __________________________ Only) of the contract value as aforesaid at any time upto _____________(Last Date of validity) without any demur, reservation, contest, recourse or protest and/or without any reference to the Supplier, against all losses, damages, costs and expenses that may be caused to or suffered by the Purchaser by reason of any default on the part of the Supplier in performing and observing any and all the terms and conditions of the Contract or breach on the part of the Supplier of terms or conditions of the Contract.

- The demand shall consist only of an original letter issued by Purchaser stating that the Supplier has failed to fulfill its obligations under the Contract.  Such demand made by the Purchaser on the Bank shall be conclusive and binding notwithstanding any difference or dispute between the Purchaser and the Supplier or any difference or dispute pending before any Court, Tribunal, Arbitrator or any other authority.

- The Bank Guarantee undertakes not to revoke this guarantee during its currency without previous written consent of the Purchaser and further agrees that the guarantee herein contained shall continue to be enforceable during the period that would be taken for satisfactory performance and fulfillment in all respects of the contract or in the event of any dispute between the Purchaser and Supplier until the dispute is settled (provided that the claim/demand under this guarantee is lodged/referred during the currency of this guarantee) or till the Purchaser discharges this guarantee whichever is earlier.

- The Purchaser shall have the fullest liberty without affecting in any way the liability of the Bank under this guarantee from time to time to extend the time for performance of the Contract by the Supplier.  The Purchaser shall have the fullest liberty, without affecting the liability of the Bank under this guarantee, to postpone from time to time the exercise of any powers vested in them or of any right which they might have against the Supplier, and to exercise the same at any time in any manner, and either to any other course or remedy or security available to the Purchaser. The bank shall not be released of its obligations under these presents by any exercise of the Purchaser of its liberty with reference to the matters aforesaid or any of them or by reason of any other act or forbearance or other acts of omission or commission on the part the Purchaser or any other indulgence shown by the Purchaser of by any other matter or thing whatsoever which under law would, but for this provision, have the effect of relieving the Bank.

- The Bank agrees that the Purchaser at its option shall be entitled to enforce this guarantee against the Bank as a principal debtor, in the first instance without proceeding against the Supplier and notwithstanding any security or other guarantee that the Purchaser may have in relation to the Supplier’s liabilities.

- Any payment made hereunder shall be made free and clear of, and without deduction for or on account of any present or future taxes, levies, imposts, duties, charges, fees, deductions, or withholdings of any nature whatsoever and whomsoever imposed. We unconditionally acknowledge that any such demand by purchaser of the amount payable by us up to the aggregate maximum amount of this guarantee as mentioned above, to the purchaser during this guarantee’s validity shall be final, binding and conclusive evidence in respect of amount payable by the supplier to the purchaser.

- Confirmation of this Bank guarantee may be obtained by the beneficiary from the following :-

Name 			-

Designation		-    Most Important if not  mentioned reject the BG

Contact No.		-

Email ID		-

- This Performance Bank Guarantee shall be governed by the laws of India.

NOTWITHSTANDING anything contained in herein above:

- Our liability under this Bank Guarantee is restricted to a maximum of Rs. _________/- (Amount of Bank Guarantee) (Rupees ________)

- This Bank Guarantee shall be valid upto ________(Last Date of validity).

- We are liable to pay the guaranteed amount or any part thereof under this Bank Guarantee only and only if you serve upon us a written claim or demand on or before ____________(Last Date of claim).

Dated this………..day of ……………2016 at ……………………….

Witness

1.

2.

ANNEXURE-6:

FORMAT OF WARRANTY/GUARANTEE CERTIFICATE

Ref. Purchase Order No.:

Dear Sir,

We hereby confirm that the (item name) dispatched vide invoice no. ____ dated ____ is warranted / guaranteed against defective material & faulty workmanship, for a period of ____ months from date of installation / commissioning and ____ months from date of delivery, whichever is earlier.

If the supplied equipment found defective under normal operating condition during this period it will be replaced or repaired free of charge if returned to us.

For __________________________

AUTHORISED SIGNATORY

Date :

Company Seal :

Vendors Name & Signature

ANNEXURE -7

Mutual Non-Disclosure Agreement

This Non-Disclosure Agreement is between CESC Limited (CESC) having its principal place of business at SCO 33-35, 4th Floor, Sector 34-A Chandigarh - 160022, India and __________(Name of the Party)_____________________________ (Company) having its principal place of business at __________(Address)____________________________________ and is effective as of _____________(date)_______________.

CESC and Company are hereinafter jointly referred to as the “Parties” or individually as “Party”.

- Confidential Information

Confidential Information is any information that is disclosed by one party and/or its affiliates (“Discloser”) to the other party and/or its affiliates (“Recipient”) and is either:

- conspicuously marked as confidential, proprietary or the like;

- clearly identified as confidential, proprietary or the like at the time of oral disclosure, and confirmed as confidential, proprietary or the like in writing within 14 days by Discloser; or

- information concerning Discloser's products or services, plans or roadmaps, current or future business, network architecture and systems, financial information, and such other information disclosed for the purpose of evaluating a potential business relationship between the parties, that Recipient knows or reasonably ought to know, is Discloser's confidential information.

- information which has been conveyed by either party as the confidential information.

However, Confidential Information excludes any information that is:

- publicly available without breach of this agreement by Recipient;

- known by Recipient without confidentiality obligations; or

- independently developed by or for Recipient for its own use.

- Disclosure of Confidential Information

Recipient may disclose Discloser's Confidential Information only on a need-to-know basis and only to its Employees, to other companies engaged by Recipient to perform services, and to individuals working for Recipient or for these other companies.  However, each of these other companies and individuals who receives Discloser's Confidential Information must have written confidentiality obligations in place with Recipient that protect Discloser's Confidential Information at least as much as this agreement.  Recipient may also disclose Discloser's Confidential Information when required by a court or government order if Discloser is given written notice prior to the disclosure and an opportunity to oppose such disclosure.

- Protection

Recipient must protect Discloser's Confidential Information to the same degree and standard of care that Recipient protects its own confidential information of like nature.

- Use

Recipient may use Discloser's Confidential Information only:

- to evaluate opportunities to do business with Discloser;

- for the purpose that Discloser conspicuously marked upon its Confidential Information, if any; or

- in accordance with a written, signed agreement, if any, between Recipient and Discloser that includes an express license or permission to use specific Confidential Information of Discloser.

- Return or destruction

Recipient must, within 30 days, comply with Discloser's written requests, made to Recipient's legal, compliance, or like department, to return or destroy specific Confidential Information of Discloser.

Within seven (7) days of a written request by the Disclosing Party, the Receiving Party shall return/destroy (as may be requested in writing by the Disclosing Party or upon expiry and or earlier termination) all originals, copies, reproductions and summaries of Confidential Information provided to the Receiving Party as Confidential Information.  The Receiving Party shall certify to the Disclosing Party in writing that it has satisfied its obligations under this paragraph.

- Termination

The obligations and restrictions in Sections 2 (Disclosure of Confidential Information), 3 (Protection), 4 (Use) and 5 (Return or destruction) terminate, with respect to specific disclosures of Confidential Information, 5 years after the date Discloser first made such disclosure to Recipient.  Either party may terminate the rest of this agreement by written notice to the other party's legal, compliance or like department. However, Section 7 (Retained rights) survives any termination.

- Retained rights

Discloser retains all rights to its Confidential Information. This agreement does not grant any express or implied license to any trademark, copyright, patent or similar right other than the limited right to make exact copies upon disclosure in accordance with section 2 (Disclosure of Confidential Information). Confidential Information is disclosed "AS IS" under this agreement.  Discloser is not liable under this agreement for the accuracy or completeness of its Confidential Information. There are no express or implied representations or warranties by Discloser or Recipient under this agreement, including those with respect to the infringement of any intellectual property, privacy or third-party rights.

- Limitations

This agreement does not:

- prohibit Recipient from independently developing products, services, solutions and technologies similar to, or competitive with, those contemplated by Discloser's Confidential Information;

- require Recipient to limit its work assignments;

- give Recipient or Discloser assurances of future revenue, profit or business; or

- create relationships of partnership, agency or the like.

- Miscellaneous

The laws of the Republic of India govern all matters arising out of or related to this agreement.  No party may assign any rights under this agreement.  Each party acknowledges that monetary remedies may be inadequate to protect Confidential Information and that Discloser may seek injunctive relief in the event of any threatened or actual breach of this agreement without prejudice to other remedies available in equity and in law. This agreement is the entire agreement on the matters contemplated by this agreement, and all negotiations, discussions and agreements on these matters are expressly merged into, and superseded by, this agreement.  Failure to enforce any part of this agreement is not a waiver.  This agreement may be modified or amended by only a written agreement by the parties.  The parties must comply with all laws and regulations that apply to their disclosure and receipt of Confidential Information, including those applicable to export and import.  The parties may assent to this agreement electronically or sign this agreement manually and may do so in counterparts.  Each individual electronically assenting to or manually signing is authorized to do so on behalf of his or her respective party and bind the party to this agreement.

The parties are signing this Mutual Non-Disclosure Agreement.

| Agreed by: | Agreed by: |
| --- | --- |
| ______________________ (“CESC”) | _________________“Company”) |
| By _____________________________________ Authorized Signature | By __________________________________ Authorized Signature |
| Name: | Name: |
| Date: | Date: |

SECTION – V: PRICE BID FORMAT

| Sl No |  | Item Description | Qty | UoM | Basic Price (Rs.) | Freight (Rs.) | GST (Rs.) | Unit Landed Rate (Rs.) | Total Landed Price (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Q |  | A | B | C=(A+B)*18% | D=A+B+S | E=QXD |
| 1 | HT | 11KV 3C 300 sq mm HDPE Outer Sheath (Aluminium) | 300000 | Mtrs. |  |  |  |  |  |
| 2 |  | 11KV 3C 300 sq mm PVC Outer Sheath (Aluminium) | 4000 | Mtrs. |  |  |  |  |  |
| 3 |  | 11KV 3C 150 sq mm PVC (Aluminium) | 500 | Mtrs. |  |  |  |  |  |
| 4 |  | 11 kV, 1CX630 SQ.MM (CU.) XLPE CABLE | 1 | Mtrs. |  |  |  |  |  |
| 5 |  | 11KV 1C 1000 sq mm XLPE (Aluminium) | 2000 | Mtrs. |  |  |  |  |  |
| 6 |  | 33 KV, 1CX400 SQ.MM (AL) XLPE CABLE | 55000 | Mtrs. |  |  |  |  |  |
| 7 |  | 33 KV, 1CX630 SQ.MM (CU) XLPE CABLE | 2000 | Mtrs. |  |  |  |  |  |
| 8 |  | 33 KV, 1CX1000 SQ.MM (AL) XLPE CABLE | 100000 | Mtrs. |  |  |  |  |  |
| 9 | LT | 1.1 KV 25 MM2 3.5C AL CONDUCTOR DRUM LENGTH OF 500 MTRS | 660000 | Mtrs. |  |  |  |  |  |
| 10 |  | 1.1KV 70SQMM 3.5C STRANDED AL CONDUCTOR CABLE | 200000 | Mtrs. |  |  |  |  |  |
| 11 |  | 1.1KV 240SQMM 3.5 CORE STRANDED AL COND.CABLE | 225000 | Mtrs. |  |  |  |  |  |
| 12 |  | 1.1KV 400SQ.MM 4 CORE STRNDED AL COND. CABLE | 30000 | Mtrs. |  |  |  |  |  |
| 13 |  | 10SQ MM SINGLE CORE 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | 220000 | Mtrs. |  |  |  |  |  |
| 14 |  | 1250 MM CUT LENGTH OF 10SQ MM S/C 600/1100V NON WEATHER PROOF PVC INSULATED STRANDED COPPER CONDUCTOR CABLE | 620000 | Each |  |  |  |  |  |
| 15 |  | 70SQ MM SINGLE CORE 600/1100V COPPER CONDUCTOR CABLE | 1700 | Mtrs. |  |  |  |  |  |
| 16 |  | AL COND PVC INSUL & SHEATHED W/P CABLE 650/1100V 16 SQ MM (7/1.7MM) S/C 100 MTSCOIL | 260000 | Mtrs. |  |  |  |  |  |
| 17 |  | 1.1KV GRADE 4 CORE X 16 SQ.MM UNARMOURED POWER CABLES HAVING STRANDED AL CONDUCTOR | 40000 | Mtrs. |  |  |  |  |  |
| 18 |  | 185 SQ MM S/C PVC INSULATED & OUTER SHEATHED AL CONDUCTOR UNARMOURED CABLE TO | 50000 | Mtrs. |  |  |  |  |  |
| 19 |  | LT XLPE AB CABLE HAVING 4 X 150 SQ MM ALUMINIUM PHASE & NEUTRAL CORE + 1 X 95 SQ MM ALUMINIUM ALLOY MESSENGER WIRE + 1 X 35 SQ MM ALUMINIUM STREET LIGHTING CORE WITH BLACK COLOURED INSULATION WITH RIDGES GENERALLY CONFORMING TO IS : 14255 | 90000 | Mtrs. |  |  |  |  |  |
| 20 |  | 3.5 Core 240 sq mm unarmourd coaxial cable | 55000 | Mtrs. |  |  |  |  |  |
| 21 |  | 3.5 Core 240 sq mm armourd coaxial cable | 6000 | Mtrs. |  |  |  |  |  |
| 22 |  | 4 core 70 sq mm coaxial cable | 16000 | Mtrs. |  |  |  |  |  |
| 23 |  | 4 core 25 sq mm coaxial cable | 10000 | Mtrs. |  |  |  |  |  |

NOTE:

- The prices mentioned above shall be on an F.O.R basis at CESC Store/Site.

- The prices shall be variable as per Latest IEEMA Price Variation formula.

- The bidders are advised to quote prices strictly in the above format. Failing to do so, bids shall be liable for rejection.

- The bidder must fill every column of the above format. Mentioning “extra/inclusive”/other conditions in any of the column may lead to rejection of the price bid.

- No cutting/ overwriting in the prices is permissible.

- The quantity mentioned above is for evaluation purposes only and may vary as per actual site requirement.

We declare that the following are our quoted prices in INR for the entire project/schemes.

Date:

Bidder Name:

Place: Bidders Address:

Name & Signature …………………………………………………….

Designation: ………………………………………………………………

Common Seal: …………………………………………………………….

SECTION-VI

GENERAL FORMATS (APPENDIX)

Appendix- I

COMMERCIAL TERMS AND CONDITIONS – SUPPLY

| SR. NO. | ITEM DESCRIPTION | AS PER CESC | BIDDER’S CONFIRMATION |
| --- | --- | --- | --- |
| 1 | VALIDITY |  |  |
| 2 | PRICE BASIS |  |  |
| 3 | PAYMENT TERMS |  |  |
| 4 | COMPLETION TIME |  |  |
| 5 | DEFECT LIABILITY PERIOD |  |  |
| 6 | LIQUIDATED DAMAGES |  |  |
| 7 | CONTRACT PERFORMANCE BANK GUARANTEE |  |  |

APPENDIX II

BID FORM

Deputy Manager

Purchase Department,

CESC Limited

SCO 33-35, 4th Floor, Sector 34-A

Chandigarh - 160022, India

Sir,

1. We understand that CESC is desirous of execution of

………………………………………………………………………………………………… (Name of work).

2.  Having examined the Bidding Documents for the above-named works, we the undersigned, offer to deliver the goods in full conformity with the Terms and Conditions and technical specifications for the sum indicated in Price Bid or such other sums as may be determined in accordance with the terms and conditions of the contract. The above amounts are in accordance with the Price Schedules attached herewith and are made part of this bid.

3. If our Bid is accepted, we undertake to deliver the entire goods as) as per delivery schedule mentioned in Section IV from the date of award of purchase order/letter of intent.

4. If our Bid is accepted, we will furnish a Contract performance bank guarantee as per Bid document for due performance of the Contract in accordance with the Terms and Conditions.

5. We agree to abide by this Bid for a period of 120 days from the due date of bid submission & subsequent corrigendum/amendment/extension of due date of submission. It shall remain binding upon us and may be accepted at any time before the expiration of that period.

6. We declare that we have studied the provision of Indian Laws for supply of equipment / materials and the prices have been quoted accordingly.

7. Unless and until Letter of Intent is issued, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

8. We understand that you are not bound to accept the lowest, or any bid you may receive.

9. There is provision for Resolution of Disputes under this Contract, in accordance with the Laws and Jurisdiction of Contract.

Dated this............................... day of................................................. 20….

Signature................................ In the capacity of ………………………………. duly authorized to sign for and on behalf of (IN BLOCK CAPITALS) ..................................................................

APPENDIX III

FORMAT FOR EMD BANK GUARANTEE

(To be issued in a Non-Judicial Stamp Paper of Rs.50/-purchased in the name of the bank)

Whereas [name of the Bidder] (herein after called the “Bidder”) has submitted its bid dated [date of submission of bid] for the supply of [name and/or description of the goods] (here after called the “Bid”).

KNOW ALL PEOPLE by these presents that WE [name of bank] at [Branch Name and address], having our registered office at [address of the registered office of the bank] (herein after called the “Bank”), are bound unto CESC Limited, with its Corporate Office at SCO 33-35, 4th Floor, Sector 34-A Chandigarh - 160022, India, (herein after called —the “Purchaser”) in the sum of Rs. ……………/- (Rupees ……………………………….. only) for which payment well and truly to be made to the said Purchaser, the Bank binds itself, its successors, and assigns by these presents.

Sealed with the Common Seal of the said Bank this_____ day of________ 20____.

THE CONDITIONS of this obligation are:

1 If the Bidder withdraws its Bid during the period of bid validity specified by the Bidder on the Bid Form; or

2. If the Bidder, having been notified of the acceptance of its Bid by the Purchaser during the period of bid validity:

(a) Fails or refuses to execute the Contract Form, if required; or

(b) Fails or refuses to furnish the performance security, In accordance with the

Instructions to Bidders/ Terms and Conditions;

We undertake to pay to the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that is its demand the purchaser will note that amount claimed by it is due to it, owing to the occurrence of one or both of the two condition(s), specifying the occurred condition or condition(s).

This guarantee will remain in force up to and including One Hundred Twenty (120) days after the due date of submission bid, and any demand in respect thereof should reach the Bank not later than the above date.

(Stamp & Signature of the bank)

Signature of the witness

APPENDIX – IV

LITIGATION HISTORY

| Year | Name of client | Details of contract & date | Cause of Litigation / arbitration | Disputed Amount |
| --- | --- | --- | --- | --- |

APPENDIX – V

CURRENT CONTRACT COMMITMENTS/ WORK IN PROGRESS

| Year | Name of client | Details of contract & date | Value of Outstanding Work | Estimated Completion Date |
| --- | --- | --- | --- | --- |

APPENDIX – VI

FINANCIAL DATA

(Duly Certified by Chartered Accountant)

|  | FY 21-22 | FY 22-23 | FY 23-24 | FY 24-25 |
| --- | --- | --- | --- | --- |
| Total assets |  |  |  |  |
| Current assets |  |  |  |  |
| Total Liability |  |  |  |  |
| Current Liability |  |  |  |  |
| Profit before taxes |  |  |  |  |
| Profit after taxes |  |  |  |  |
| Sales Turnover |  |  |  |  |

APPENDIX VII

CHECK LIST

| Sr. No. | Description | Compliance |
| --- | --- | --- |
| 1 | Index | Yes/No |
| 2 | Covering Letter | Yes/No |
| 3 | Bid Form Duly Signed | Yes/No |
| 4 | Documents in Support of Qualification Criteria | Yes/No |
| 5 | Technical Bid | Yes/No |
| 6 | Acceptance to Commercial Terms and Conditions | Yes/No |
| 7 | Financial Bid (in password Protected File) | Yes/No |
| 8 | EMD | Yes/No |
| 9 | Tender Fee | Yes/No |
| 10 | Power of Attorney/Authorisation Letter for Signing the Bid | Yes/No |
| 11 | Financial Data in Tabular Format | Yes/No |
| 12 | List of Current Commitments/ Work in Progress | Yes/No |
| 13 | Bank Solvency Certificate | Yes/No |
| 14 | No Litigation Certificate | Yes/No |

APPENDIX VIII

TECHNICAL BID SUBMISSION CHECKLIST

##### Submission of this duly filled checklist along with the bid is mandatory. The Order of Documents shall be as follows:

Bids with incomplete/ wrong information are liable for rejection.

| S. No. | Description | CESC Requirement | Bidder's Compliance (Yes/No/ Not Applicable) |
| --- | --- | --- | --- |
| 1 | Tender No. | Required |  |
| 2 | Tender Fee, EMD & Signed Bid Form as mentioned in the tender, if applicable | Required |  |
| 3 | Bidder Details |  |  |
| 3.1 | Name of the Bidder | Required |  |
| 3.2 | Company Profile/Organogram | Required |  |
| 3.3 | Name of duly Authorized contact person (along with Authorizations to submit the Bid) | Required |  |
| 3.4 | Contact No. of duly Authorized contact person | Required |  |
| 3.5 | E-mail Id of duly Authorized contact person | Required |  |
| 4 | Documents Submission Format |  |  |
| 4.1 | Documents shall be submitted in Scan copy of Original pdf for online mode. Any other format is not acceptable | Required |  |
| 4.2 | Index of documents with page numbers for each document | Required |  |
| 5 | Signed Copy of tender as an unconditional acceptance | Required |  |
| 6 | Qualification Criteria Requirement Compliance, If applicable |  |  |
| 6.1 | Summary of compliance of qualifying criteria in tabular form along with details of documentary proof provided | Required |  |
| 6.2 | Detailed Documents supporting compliance of qualifying criteria | Required |  |
| 7 | Technical Specification reference number | Required |  |
| 8 | Drawings/ Documents as per Technical Specification |  |  |
| 8.1 | Signed copy of technical specification | Required |  |
| 8.2 | Type Test reports of offered model/ type/ rating | Required |  |
| 8.3 | Guaranteed Technical particulars (GTP) | Required |  |
| 8.4 | Deviation Sheet – Technical (along with soft editable copy) | Required |  |
| 8.5 | Detailed Drawings | Required |  |
| 8.6 | Manufacturer's quality assurance plan | Required |  |
| 8.7 | Other drawings/ documents mentioned in technical specification | Required |  |
| 9 | Deviation Sheet – commercial (along with soft editable copy) | Required |  |
| 10 | Samples as per technical specification if applicable | Required |  |

SECTION-VII

TECHNICAL SPECIFICATION

Drafting Note: On Non Judicial Stamp Paper of Appropriate Value as per Stamp Act relevant to the place of execution